## Slide 1: Suspension Thermal Noise modeling
Michele Punturo

## Slide 2: Suspension thermal noise in GWINC
In the advanced Virgo current modeling the suspension wires have a ribbon geometry (GWINC heritage)
We need to use the cylindrical geometry (implemented in GWINC)
In the Virgo sensitivity curve the suspension thermal noise is modeled by a single pendulum stage
In advanced (and ET) we need to model all the last stage
GWINC implements it, but for a different geometry

## Slide 3: Some reference
In this presentation we consider:
  Index i=1  Mirror
  Index i=2  Reference mass
  Index i=3  Marionette
All the geometrical computations are extracted from:
For reference and cross-checks are also useful:
  E. Majorana, Y. Ogawa, PLA 233 (1997) , 162-168
  M. Punturo, VIR-NOT-PER-1390-240 (2003)

## Slide 4: Lagrangian modeling
Pendulum oscillation
Vertical oscillation

## Slide 5: Pendulum equation of motion
Solving the Eulero-Lagrange equations
it is possible to find the equation of motion
“In angle”
“In displacement”

## Slide 6: Matrix equations
The previous system of equations can be generalized and written in matrix format:
Where, in the pendulum case
and d2/dt2 is the double derivative operator

## Slide 7: … Matrix equations
If we consider a thermal stochastic force and we pass to the frequency domain:
The transfer function is:
The impedance matrix is:

## Slide 8: Application of the FDT
Application of the Fluctuation-Dissipation Theorem:
How to implement it?
Since all the computation tools (Matlab. Mathcad,…) implement the matrix algebra it is better to leave as it is
  Valid for any pendulum geometry
  It is easy to compute the fluctuations of the other bodies

## Slide 9: Example of the Mathcad code
Example of the compactness of the code using matrix algebra

## Slide 10: Explicit computation
If the term <x>11 is explicitly computed:
To be compared with a simple pendulum:

## Slide 11: How dissipation is introduced
Fused silica suspension wires:
A.M. Gretarsson et al, PLA 270 (2000), 108-114
Cagnoli G and Willems P A Phys. Rev. B, 65, 17
Mirror FS suspension wire (r=200mm)
RM steel suspension wire
(r=300 mm)

## Slide 12: Dilution factor
Losses only in the elastic force:
Should we do it also for the RM wires?
  fth(max)~10-3, Dilution factor ~ 200, but Qmax=104 (G. Cagnoli et al, RSI, 71 (5), 2206)
  If, to be conservative, we consider QRM=103 – 104 any frequency dependence of the losses for the RM can be neglected

## Slide 13: Payload thermal noise
m/sqrt(hz)
Payload thermal noise
Pendulum thermal noise

## Slide 14: Effect of the Marionette losses

## Slide 15: Effect of the RM losses

## Slide 16: Effect of the Mirror suspension losses
Thermoelastic effect is by far the dominant component with r=300mm
The thermoelastic effect is minimized if r~400mm

## Slide 17: …Effect of the Mirror suspension losses
Simple pendulum noise benefits of this new selection, but the payload thermal noise is totally insensitive

## Slide 18: Strategy
To benefit of the improvements in thermal noise, we need to optimize the losses both on the RM and on the Marionette
Are we sure that to search for the minumum of the thermoelastic is a good strategy, anyhow?

## Slide 19: Vertical Fluctuations
The formalism adopted for the pendulum modes works equally for the vertical fluctuation

## Slide 20: Vertical frequencies
The Mirror (1) and RM (2) natural vertical frequencies are easy to compute:
The elastic constant of the marionette suspension is, instead, dominated by the magnetic anti-spring compliance. To evaluate it a natural frequency of 0.4Hz is hypotized

## Slide 21: Dissipations
Dilution Factor don’t help the vertical mode
The dissipation component in w3 could be huge (10-2-10-1) because of the magnetic suspension and the so-called junction box
The dissipation component in w2 could be large (10-3-10-2) because of the friction between the wires and the RM grows
These numbers are (in some sense) confirmed by the Q measured by P. Ruggi in the Virgo payload

## Slide 22: Horizontal-to-Vertical coupling
Earth Radius limit
Typical good value
Typical normal value

## Slide 23: Total suspension thermal noise
Parameters:
Vertical
Simple pendulum
Payload

## Slide 24: Role of the mirror suspension wire tickness
R1=300mm
R1=400mm

## Slide 25: GWINC – Lagrangian model comparison

## Slide 26: What is the effect in Virgo
This new model affects also the evaluation of the nominal Virgo sensitivity.
Because of the reduced pendulum Q the impact is smaller, but not completely negligible

## Slide 27: Conclusions
A more complete model is presented
  Further steps possible considering the angular modes
An important effect on the low frequency sensitivity could occur
If the results of this model are confirmed (see next talks) it is important to further increase the efforts to optimize the design of the payload to minimize the dissipation effects of the other components of the payload.
An effort to understand the effects on the current Virgo sensitivity should be done.

## Slide 28: Discussion points
Implementation in GWINC
Angular fluctuations
How to evaluate the many dissipation parameters
Measure the Vertical-Horizontal coupling
Extract from here an optimization strategy
Use the model also for the seismic transfer function