## Slide 1
SuperB EMC TB:
Time Resolution
06/04/2011
Stefano Germani & Matteo Cardinali
Università di Perugia
INFN Sez. Perugia

## Slide 2
Summary
Development of an algorithm to measure TIME RESOLUTION from EMC data
Test the capability of the system, using Cern Teast Beam data
Data Analysis
Outlooks
Conclusions
2

## Slide 3
Linear Fit
Peak Fit
Linear Fit: time from the extrapolation to the baseline using a linear fit (pol 1)
Peak Fit: time from the mean value of signal gaussian fit
Arrival time of the signal
Time measure
3

## Slide 4
Delta_t
tXX
t0(=t12)
Relative Time
Needs of a reference time t0 :
  external clock
  time of one of the 25 crystal
Drawing histograms of time difference Delta_t = tXX-t0 (with data from one or a lot of
runs) we should find a gaussian distribution where time resolution is
4

## Slide 5
12
7
6
8
11
13
18
17
16
Linear Fit: Run350 (20264 events) t0=txtal12
Threshold
10 ADC
50 ADC
100 ADC
5

## Slide 6
12
7
6
8
11
13
18
17
16
Linear Fit: Run350 (20264 events) t0=txtal12
6

## Slide 7
12
7
6
8
11
13
18
17
16
Peak Fit: Run350 (20264 events) t0=txtal12
Threshold
10 ADC
50 ADC
100 ADC
7

## Slide 8
12
7
6
8
11
13
18
17
16
Peak Fit: Run350 (20264 events) t0=txtal12
8

## Slide 9
4 | 3 | 2 | 1 | 0
9 | 8 | 7 | 6 | 5
14 | 13 | 12 | 11 | 10
19 | 18 | 17 | 16 | 15
24 | 23 | 22 | 21 | 20
ADC 0
ADC 3
ADC 2
ADC 1
Trigger Problem
9

## Slide 10
Trigger Problem 2
distance between peaks about
4 adc sample
1 adc sample = 4 ns
4x4 = 16 ns
Master 1720
ADC 0
ADC 3
ADC 1
ADC 2
62.5MHz
250MHz
250MHz
250MHz
250MHz
16ns
4 phase locked loop
JITTER PROBLEM!
When ADC X lost phase, there is a 16 ns shift, which could be positive or negative
Cern TB
10

## Slide 11
8 | 7 | 6
13 | 12 | 11
18 | 17 | 16
Investigated Runs: 350,351,361,362,369,370,371,390,391,407,408,409,410,411,412,413,414,415,419,420,421,422,429,430,431,432,435,437,438,439,440,441
Let's focus on crystal 12 centred runs ( 1, 1.5, 2, 3 GeV) and plot:
tXX vs # events
tXX-t12 vs # events
"All-Runs check"
11

## Slide 12
All Runs on Crystal 12: tXX vs events
12

## Slide 13
All Runs on Crystal 12: tXX-t12 vs events
13

## Slide 14
ProfileX ( t_XX vs events )
xtal12
xtal13
run limits
14

## Slide 15
"All runs" 166400 events (step =500)
t12 from gaussian fit
15

## Slide 16
Delta_t vs Amplitude
Testing amplitude dependence from Delta_t
XTAL 07
XTAL 13
16

## Slide 17
Problems with ADC n.2
Delta_t vs Amplitude
17

## Slide 18
List of problems
Asynchrony between ADC modules (Jitter-16ns)
Asynchrony between ADC channels
Degradation of signal in ADC 2
Pulser
ADC 0
ADC 3
ADC 1
ADC 2
Fan in/out
Possible solution (test setup at INFN laboratory, Roma1)
Reproduce problems
Offline correction algorithm?
Try to solve with Fan In Out
18

## Slide 19
Time Resolution
Considering only crystal in the same ADC unit, however it's possible to extimate the time resolution of the system.
σ= (1.82± 0.06 ) ns
σ= ( 1.92 ± 0.07 ) ns
RUN 350 centered on crystal 12
Delta_t = t08-t12
RUN 357 centered on crystal 7
Delta_t = t07-t12
19

## Slide 20
Conclusions
Need of an experimental test of the trigger system (fan in/out configuration)
Try to investigate a possible offline solution to synchronize the times
Time Resolution is about 2 ns but it needs to be fixed for the whole system
20