## Slide 1
Forward PID
DIRC like TOF detector

## Slide 2
SuperB setup for FTOF
Close to the DCH and with 12 sector granularity

## Slide 7
p = 2 GeV/c
q = 20 degrees
f = 0 degrees
Kaon map, 10 photons/track
Pion map, 13 photons/track
Arrival time vs. channel number
Number of bkg photons
 0
 5
 10
 20
Zone in which the bkg photons
are randomly generated
Could we work with complicated configurations in presence of background ?
Preliminary answer
Preliminary studies (Annecy) shown that
we expect ~1 event of background in FPID
It seems that the PID starts to
really suffer if background is ~20events
In terms of k/p separation
* 0 bkg -> 5.4 * 5 bkg -> 4.8 * 10 bkg -> 4.3 * 20 bkg -> 3.6

## Slide 8
s(det) ~ 50 ps
10ps
O sT0 O sTrack O sdcb
+
+
+
This term should be divided
approximately by sqrt(Nphe)

## Slide 9
Test at the SLAC Telescope
Prototype of the DIRC-like TOF detector
Proof of principle
We want to the test the system : detector + PMs + electronics
We want to extract the overall single photoelectron time resolution
Of course in this case the s(det) will be different than in the SuperB
detector and depends on the geometry of the experiment

## Slide 14
408 ps
100 ps
The resolution is
100/sqrt(2) ps ~ 75 ps
Example for time difference
expected In the simulation
between two channels
The expected resolution is
rather the same when you look
at different couple of channels
Time resolution considering all muons entering into the detector
The expected resolution is
not changing significantly
when considering muons in
a given portion of the detector

## Slide 15
Look at DATA

## Slide 20
No Kinematical cuts
With some Kinematical cuts
Similar resolution
but tails reduced
Fraction of first
photoelectron
increased

## Slide 21
Conclusions
We have a SuperB TOF set up which guarantee a
time resolution of about 30-40ps
 All the solid angle of SuperB will be covered with the same PID quality as with DIRC
The background seems not to spoil the PID using TOF technique (work in progress)
This technology (detector + PM + electronic) has been tested in the SLAC CRT
convincing results from DATA in
agreement with simulation.
Total time resolution/photoelectron :
SuperB
CRT-TESTS
Proof of principle
~75ps