## Slide 1: PId Front End Chip: PIF
V. Tocut,
LAL/IN2P3 Orsay
H. Lebbolo
LPNHE/IN2P3 Paris

## Slide 2: Requirement reminder
Time measurement :
  100ps resolution max
    Considering 70ps TDC resolution
  1MHz background rate max
  50ns double pulse resolution min
Charge measurement :
  dynamic range of 10
  8 bits
  run always

## Slide 3: Charge Measurement
Charge measurements will improve the resolution

## Slide 4: PIF: Babar like FE chip
 ‘Constant Fraction Discriminator’ like
IN
16
Low walk discriminator
Charge
measurement
To TDC
*16
To ADC

## Slide 5: PIF: Babar like FE chip
+++
No walk correction if walk < 50ps (depending on PM dynamics)
Charge measurement to improve resolution
---
Need « Time + charge » data synchronization
2 different chips developed:
analog front end -> {PIF }: CFD like and charge measurement
 time measurement -> {SCATS}

## Slide 6: PIF proposal
Charge
Amplifier
Mux
State
Machine
Charge output
(To ADC)
Pseudo
CFD
Synchronization
with
TDC data
To TDC
In00
Sample
& Hold

## Slide 7: CFD on silicon
Delay + Fraction  Gain + Integrators

Fast comparator
Fast comparator
Classical CFD
Proposed pseudo CFD

## Slide 8: Spice Simulations

## Slide 9: CFD Implementation
Amplifier
Delay / Filter
Amplifier
Fast
Comparator
Threshold
DAC
Fast
Comparator
LVDS
D flip flop
outp
outn
Reset
D
C
PM
Charge
Amplifier
To ADC

## Slide 10: Simulations with AMS CMOS 0.35µ

## Slide 11: Simulations with AMS CMOS 0.35µ
Difference between amplified signal and
delayed amplified signal

## Slide 12
Parametric simulation : amplitude from 1 to 100
70ps walk
Resolution:
  70ps for a dynamic of 100
    100ps total resolution

## Slide 13
Parametric simulation : amplitude from 1 to 10
45ps walk
Resolution:
  50ps for a dynamic of 100
    86ps total resolution

## Slide 14: Milestones
PIF the Chip :
  Design & Simulations with CMOS AMS 0.35µ
  Submission by the end of 2011

## Slide 15: CRT Test Bench FE
V. Tocut,
LAL/IN2P3 Orsay
H. Lebbolo
LPNHE/IN2P3 Paris

## Slide 16: CRT Test Bench
Up to 16 channels on Discri mezzanine
Several architecture could be implemented:
  Classical CFD and Charge Amp Channel
  Simple discri and Charge Amp Channel
  PIF-like CFD and Charge Amp Channel

## Slide 17: Classical CFD and Charge Amp Channel

## Slide 18: Simple discri and Charge Amp Channel

## Slide 19: PIF-like CFD and Charge Amp Channel