## Slide 1: Update on Lab activities @ LNF
DCH–I Parallel session
1st SuperB Meeting – London, 13 September 2011
G. Finocchiaro - LNF

## Slide 2: Prototype 2
Full-length prototype to:
  study cluster counting under realistic conditions (discrete-cathode cells, L=2.5m)
  serve as a test bench for the final FEE
  test implementation of 1st level DCH trigger Track Segment Finding
    Read-out boards provide independent analog output for the trigger system
28 square cells (1.4cm side, Rfs=3:1), on 8 staggered layers (3-4-3-4-3-4-3-4 cells)

## Slide 3: Proto2 Status
All HV distribution and read-out boards commissioned
Inserted inside the tracking telescope
Still only 4 channels read-out at the moment, with DRS4 evaluation board

## Slide 4: Sample waveforms
“#1 cells"
90%He-10%iC4H10
HV=1775V
Run “A”

## Slide 5: Sample waveforms
“#1 cells"
90%He-10%iC4H10
HV=1775V
Run “A”

## Slide 6: Sample waveforms – noise level
“#1 cells"
90%He-10%iC4H10
HV=1775V
Run “A”

## Slide 7: Preliminary space-time relations
“#1 cells"
90%He-10%iC4H10
HV=1775V
Run “A”
5.5mV threshold to determine the time of the 1st electron

## Slide 8: Integrated amplitude
“#1 cells"
90%He-10%iC4H10
HV=1775V
Run “A”

## Slide 9: Clusters from “threshold algorithm”
“#1 cells"
90%He-10%iC4H10
HV=1775V
Run “A”

## Slide 10: The “cut variable”
“#1 cells"
90%He-10%iC4H10
HV=1775V
Run “A”

## Slide 11: Spurious clusters
“#1 cells"
90%He-10%iC4H10
HV=1775V
Run “A”
Clusters found when track |DOCA| > 3cm
  proto2 cells ∈[-2.8,+2.8] cm

## Slide 12: Clusters: simulating 10-cell tracks
“#1 cells"
90%He-10%iC4H10
HV=1775V
Run “A”

## Slide 13: What we had on the 17mm-Brass Tube
@ HV=1575V

## Slide 14: Sample waveforms – a different run
“#1 cells"
90%He-10%iC4H10
HV=1775V
Run “B”
Amplification of
board #2 looks
way too low

## Slide 15: Sample waveforms
“#1 cells"
90%He-10%iC4H10
HV=1775V
Run “B”

## Slide 16: Integrated amplitude, counted clusters
“#1 cells"
90%He-10%iC4H10
HV=1775V
Run “B”

## Slide 17: Sample waveforms – 4 different cells
“#7 cells"
90%He-10%iC4H10
HV=1775V
Run “C”

## Slide 18: Summary and Plans
The commissioning of Prototype 2 is still ongoing
Encouraging results from first data
  e.g., noise level not as high as one could fear because of the full scale detector size (2.5m long wires, discrete cathode structure, 28 channels…), and faster preamps
  roughly, the same (not high) cluster efficiency as in the square tubes
Next steps
  Fix problem with board #2
  Precise alignment of proto2 and external tracker
  Acquire all the 28 waveforms with CAEN VME module
  Prepare setup with 2.5m long scintillators as trigger (anticipate increase of usable rate in proto2 by x10)
  Prepare rotating support for test beam

## Slide 19: Test Beam Plans
One week of beam time at the BTF assigned on Nov 28th – Dec 4th
  electron gun cathode not delivered to Frascati yet
Financial request submitted to run a beam test in 2012
  PSI? CERN? TRIUMF?