## Slide 1
New Development of Silicon Drift Detectors for Gamma-ray Astronomy
Research activity supported by European Space Agency
(contract n. 4000102940/11/NL/NR)
C.Fiorini, R.Peloso, P.Busca, L.Bombelli, A.Marone, R.Quaglia
Politecnico di Milano and INFN, Milano, Italy
P.Bellutti, M.Boscardin, F.Ficorella, G.Giacomini, A.Picciotto, C.Piemonte, N.Zorzi
Fondazione Bruno Kessler - FBK, Trento, Italy
N.Nelms, B.Shortt
European Space Agency, ESTEC, The Netherlands
Notes: B

## Slide 2
Outline
Motivation of the work
The detector architecture
Design issues
  Energy resolution
  Electronics noise
  Effect of the SDD drift time
  single-side biasing of the detector
Experimental set-up and preliminary results
in X and g-ray spectroscopy
Conclusions and future work

## Slide 3
Motivation of the work
Development of large volume gamma-ray spectrometer for planetary observations
Energy range: 150keV – 15MeV
Energy resolution @662keV ~ 3%
Use of LaBr3:Ce scintillator
Use of PMTs, although limitations as: low QE, size, high bias voltage, saturation effects in the target energy range
mettere ref.
Interest in exploring the use of Silicon Drift Detectors as LaBr3:Ce photodetector

## Slide 4
Key features of the development
SDDs arrays to cover the scintillator surface:
  optimization of single SDD area and number of units in the array (noise evaluations, dead area, yield, assembly issues, …)
‘Standard’ SDD technology (i.e. without FET integrated in the SDD), with QE optimized for LaBr3 readout
‘CUBE’ CMOS preamplifier connected close to the SDD
  as readout alternative to conventional front-end JFETs

## Slide 5
Solution to readout 3” and 2” LaBr3 scintillators
Ø = 3 inches
81 units (69 active with signals)
dead area ~ 15%
monolithic array
of 3x3 SDDs with 8x8mm2
area each
chip area: 26x26mm2
(1mm dead area on
the perimeter)
8mm
Ø = 2 inches
36 units (32 with signals)

## Slide 6
Each SDD is readout by a ‘CUBE’ CMOS preamplifier
78mm
26mm
assembly of 9 monolithic arrays
78mm
26mm
Each monolithic array is composed by 9 SDDs

## Slide 7
SDD layout

## Slide 8
Cube: a low-noise CMOS preamplifier for SDDs
Features:
Preamplifier signal available already close to the SDD.
No long loop between FET and remaining stage of the preamplifier.
Possibility to drive “long” connection.
Better noise vs. conventional/integrated JFETs
A full CMOS preamplifier with optimized input PMOSFET replaces the conventionally used JFET+Cf+reset component
It is mounted close to the SDD anode
SDD
CUBE

## Slide 9
Readout electronics (1)
81 SDDs+CUBEs

## Slide 10
DAQ board
ASICs board
Readout electronics (2)
27 analog channels (7th order semig. shaper, peak stretcher, discr.)
27:1 multiplexer running at 10MHz
SPI programming (gain, shaping times, thresholds, ..)

## Slide 11
Energy resolution
Photodetector parameters:
QE: SDD quantum efficiency (incl. dead areas)
NSDD: number of SDDs which read scintillator light
ENC: electronics noise of each SDD
intrinsic
Poisson
electronics noise

## Slide 12
The SDD electronics noise
A: scintillator area
CD: SDD capacitance
CG: FET input capacitance
a: FET thermal noise
c: FET 1/f noise
t : peaking time
Leakage current=2nA/cm2@20°C
8mmx8mm SDD
T= -20°C

## Slide 13
Effect of the drift time inside the SDD
equipotential lines in a cross section of the device
anode
last ring
entrance window
e- path
theoretical estimation supposing constant field

## Slide 14
drift time vs. injection point of the charge simulated along the short path on the SDD
(L/2=4mm length)
calculated waveform of the current signal at the anode of the SDD, in correspondence of a uniform illumination of photons on the entrance window of the device

## Slide 15
Ballistic deficit due to SDD real current signal
Ballistic deficit (BD) calculated as normalized to ideal pulse amplitude

## Slide 16
ENCeffective = ENC/(1-BD)
Worsening of the electronics noise due to ballistic deficit
ENC without ballistic deficit (blue line) and with ballistic deficit (green line).
ballistic deficit calculated for a 8mmx8mm SDD as a function of the peaking time of the shaping amplifier (6th order real poles)

## Slide 17
Expected energy resolution

## Slide 18
Interference of bonding wires on electrodes coupled to scintillator

## Slide 19
Single-side biasing only (no bonding on back side)
C. Fiorini, A. Longoni, P. Lechner, IEEE Trans. on Nucl. Sci., Vol. 47, n° 4, p. 1691-1695, August 2000
punch-
through

## Slide 20
anode
drift rings
back electrode
electrons current density
holes current density

## Slide 21
Experimental setup
ceramic board
Biasing electronics
Copper block
and Peltier cell
SDD

## Slide 22
Measured quantum efficiency
LaBr3:Ce emission spectrum

## Slide 23
Experimental characterization of single 8x8mm2 SDD
2nA/cm2
1.5nA/cm2
ENC simulations
T= -20°C
ENC = 13.8e- rms

## Slide 24
T= -40°C
ENC = 5.5e- rms

## Slide 25
Gamma-ray measurements with LaBr3 on single SDD
cylindrical LaBr3: 6mm diameter, 9mm thickness
no back bonding (single side biasing)

## Slide 26
The same crystal sample measured with a PMT (S.Gobain)
provides 7.3%@122keV
122keV
136keV
5.6% FWHM
T=-20°C
6ms peak. time
28e-/keV
57Co spectrum

## Slide 27
32 KeV
122 KeV
662 KeV
57Co+137Cs spectra
662 KeV
2.7% FWHM
T=-20°C
8ms peak. time

## Slide 28
3x3
SDDs array
Holes for bondings
Cube preamplifier
Experimental characterization of the 3x3 SDDs array

## Slide 29
55Fe spectra measured with the SDD array
T=-20°C
2ms peak. time

## Slide 30
Conclusions and future work
First run of production of SDDs at FBK for the ESA project has been successful
Preliminary X and gamma-ray measurements and a single SDD show state-of-the-art performances
Development of the complete gamma-ray detection module and electronics is under way
Other application opportunities:
  X-ray spectroscopy detectors for SIDDHARTA2 experiment (INFN)
  imaging and spectroscopy gamma-ray detectors for nuclear physics experiments (GAMMA exp. INFN)
  development of a multimodality SPECT/MRI imaging system for medical diagnostics (EC-funded project starting in 2013)