## Slide 1
M. Assié (IPNO) on behalf of
N. de Séréville (IPNO) & A. Corsi (CEA Saclay) & M. Labiche (STFC Daresbury)

## Slide 5
d(132Sn,p)133Sng.s. @ 10 MeV/A
p(134Sn,t)132Sng.s. @ 10 MeV/A
Pitch of < 1 mm is OK in all cases
Importance of pitch for 1st layer of Si

## Slide 7: Particles and g spectroscopy with GASPARD
GASPARD
DSSD+Si+Si
PARIS LaBr3+NaI
EXOGAM
HPGe
MUST2
DSSD+
Si:Li+CsI
AT GANIL:
AT GANIL/SPIRAL2:
Notes: Also agata
Know wich beam intensity needed for Q and transfer
Thin Si 20 um

## Slide 8
PARIS
+2mm Al
+GASPARD
+2mm Al
+GASPARD
+2mm Al+ 4mm Cu
+GASPARD
Transparency to gamma : PARIS

## Slide 9: Gamma detection : ExoGam vs PARIS
 | EXOGAM | PARIS
energy res (FWHM; %) | 5% | 4%
efficiency (%) | 43% | 50%
1 MeV gamma, b=0.14
opening angle ≈ 13° (Paris)
≈ 30° (ExoGam)
Intrinsic resolution: LaBr3= 8.5keV
HPGe=2keV
ExoGam
PARIS
CONCLUSIONS:
Significative improvement in efficiency
Detectors at larger distance -> no geometrical constraint on particle detections
Notes: LaBr crystals can’t be tapered means that we have to design an array which is further away from a perfect spherical shell.Similar eff if 1.3pi agata (20 clovers) forward and 2pi of gaspard
Worse res with exogam explained by larger aperture: about 30 vs 13deg

## Slide 10
N. de Séréville, IPNO
CROSS-SECTIONS
FRESCO (ZR-FRC)
2f7/2
YIELDS
10 MeV/u
3p3/2
(5 MeV/u)
(10 MeV/u)
0 40 80 120 160
0 40 80 120 160
3p3/2
2 f7/2
lab
lab
Simulations for 132Sn(d,p)133Sn
Importance of angular coverage
MUST2
17%
132Sn (d,p) @ 10 MeV
GASPARD
70%
proton yield
Same E* resolution as MUST2
Gain in efficiency by a factor of 4 with Gaspard
angles of interest
Notes: Now concerning the design of future arrays, I show this slide to illustrate the interest of large angular coverage
through full simulation of the standard reaction at 2 incident energies
full simus require realistics diff cross-section

## Slide 12
GAmma SPectroscopy and PArticle Detection
array : Gain in efficiency
The
4p silicon array fully integrable in PARIS, AGATA
Efficiency gain ~20 for p-g coincidences for 132Sn(d,p) @ 10 MeV/u
w/r to previous MUST2 + EXOGAM setup (target moved backward -> EXOGAM= 10%)
Gamma Resolution: ~40 keV at 10 MeV/u with 2mg/cm2 CD2 target (comparable to EXOGAM)
4p PARIS cubic configuration
Large improvement in particle/gamma efficiency
50%
Photopeak efficiency
1 2 3 4 5
Energy (MeV)
LaBr
NaI
Total
spherical config.
Notes: This is why Si-based projects usually aim 4 pi

## Slide 13
Efficiency of 20 AGATA+ 12 PARIS
Gain of a factor of 2 w/r EXOGAM