## Slide 1: Working Group 3 Summary Electron beams from electromagnetic structures, including dielectric and laser-driven
Manoel Conde
James Rosenzweig
EAAC 2013

## Slide 2: Enhanced Cerenkov-Wake Amplification by Active Medium
Miron Voin Department of Electrical Engineering Technion - IIT, Haifa 32000 ISRAEL | Wayne D. Kimura STI Optronics, Inc. 2755 Northup Way, Bellevue, Washington 98004 USA | Levi Schächter Department of Electrical Engineering Technion - IIT, Haifa 32000 ISRAEL

## Slide 3: Structure-less Active Medium
In the Laser-driven plasma-based accelerators - an intense laser pulse is injected in a plasma and the particles are accelerated by the trailing space-charge wake
In the Beam-driven plasma-based accelerators intense electron beam is the energy source
A third possibility is to store the energy within the medium and the particles being accelerated by the field associated with the polarization Cerenkov-wake they generate
Plasma
Plasma
Active medium

## Slide 4: Proof of Principle Experiment
A 45MeV electron beam was velocity modulated by a 0.5GW CO2 laser in a wiggler
The beam was left to drift for 2.5m providing density modulation
The resulting beam was injected in a 30cm long vessel filled with [CO2:N2:He(2:2:3)] mixture at 0.25atm
A fraction of electrons gained 200keV corresponding to an accelerating gradient of slightly less than 1MV/m

## Slide 5
Fibre Laser Based Dielectric Gratings Accelerator
A. Aimidula, C.P. Welsch, Cockcroft Institute and the University of Liverpool, UK
G. Xia, The University of Manchester, UK
K. Koyama, Y. Matsumura, M. Uesaka, The University of Tokyo, Japan
T. Natsui, M. Yoshida, High Energy Accelerator Research Organization (KEK), Japan
Motivation
In order to investigate fundamental processes of radiation effect and evaluate risks of manifestation of secondary cancer after the radiation therapy, well defined ultra-short beam pulses are required.
Beams can be manipulated under optical microscopes.
Electron bunch or X-ray pulse
Several hundreds keV
Sub-micron, sub-femtosecond
The basic working principle of dual-grating structures is based on decreasing the phase velocity of the electric field, thereby synchronizing it with non-relativistic and relativistic electrons [1].
Laser field in vacuum
Simulated laser field in structure
Illustration of dual-gratings structure.
Objectives
Acceleration mechanism
[1] T. Plettner, P. P. Lu, and R. L. Byer, Phys. Rev. ST Accel. Beams 9, 111301 (2006)

## Slide 6
Illustration of dual-gratings
structure with walls.
Simulated laser field in structure
When electrons travel along the channel, the space charge effect scatters the beam. The charges collected on the wall then provide a Coulomb force on the beam which pushes the charges back to the axis. Field distributions calculated by CST Microwave Studio.
Proposed new structure for better beam confinement
Optimized structure dimensions
Accelerate low energy electrons:
Note minimum requirement for particle beam’s initial energy.
2. Multi-stage acceleration scheme:
Design of entire structure is under investigation.
Beam loading:
Focus and inject particles in hundreds-nm-wide vacuum cavity is a future challenge.
Code benchmarking
Compare CST output with results from Tech-X Vorpal code.
Future Outlook

## Slide 7: Helical Self Focusing and Beam Cooling (HSFC) Accelerating Structure
E – accelerating field (synchronous with particles)
transverse field components
(far from Cherenkov synchronism)
HSFC = Accelerating structure + RF undulator + beam lens
Appealing features:
Non-synchronous transverse field components might provide: 1) emittance control (beam cooling due to synchrotron radiation of particles); 2) near axis beam focusing.
The structure allows high enough accelerating gradient normalized on maximum surface field (>0.3). Shunt impedance is about 20 MOhm/m.
A new structure has smooth shape of constant circular cross-section (no expansions or narrowings) and big aperture (no small irises)
A new technology of the mass production seems possible which allows avoiding junctions inside long accelerating section
Sergey Kuzikov (Institute of Applied Physics, Russian Academy of Sciences)

## Slide 8
taper
Transverse particle momentums
Simulation of particle motion in 100 MV/m HSFC accelerating structure by CST Microwave Studio
Total length =10 periods
regular part
taper
TM01
Normal wave
taper
regular part

## Slide 9
Bunch population during acceleration.
The blue color (at input) corresponds to low particle energy.
The red color (at output of structure) means the higher energy of the accelerated particles.
Simulation of ponderomotive force focusing in HSFC accelerating structure
by CST Microwave Studio
bunch
Parameters: initial energy 10 GeV, bunch length 1 ps, bunch diameter 3 mm, charge 100 nC, gradient 100 MV/m.

## Slide 10
Towards a full C-band
multi-bunch/high rep. rate/high gradient injector linac
D. Alesini
(LNF-INFN, Frascti, Italy)
With the contribution of:
A. Bacci, T. Ronsivalle, L. Serafini, M. Ferrario, M. Migliorati, A. Mostacci (Beam Dynamics)
L. Piersanti, L. Palumbo (RF design)
V. Lollo (mechanical design)

## Slide 11
OUTLINE
1. C-BAND ACCELERATORS (SPARC, PSI, SCSS, ELI_NP) AND C-BAND TECHNOLOGY
2. ELI-NP C-BAND ACCELERATING STRUCTURES FOR MULTI-BUNCH OPERATION
3. C-BAND GUN DESIGN
4. FULL C-BAND INJECTOR: THE NEXT AND DEFINITIVE STEP

## Slide 12
CONCLUSIONS
C-Band accelerators all over the world have made the C-Band technology accessible and commercial.
Gradients >50 MV/m in accelerating structures have been reached in several structures.
Damped C-band structures for multi-bunch acceleration of >100 Hz rep. rate linac have been developed for ELI-NP and are now under construction.
A C-Band RF GUN at gradients >170 MV/m has been designed.
The full C-band injector (>100 Hz, Multi-bunch) is now the “state of the art” and allows reaching excellent beam qualities usable in several applications.

## Slide 13
MUFFIN RF gun based on TM010-TM011 f+2f cavity
TM011 eigen mode (E-field)
f=2.6 GHz, Q=2104
Cathode-like fields
Anode-like fields
Time dependence of electric field in MUFFIN gun
ASTRA simulation of a force experienced by an electron)
Cathode wall
Anode wall
TM010 eigen mode (E-field)
f=1.3 GHz, Q=2104
Sergey Kuzikov (Institute of Applied Physics, Russian Academy of Sciences)

## Slide 14
The TM010-TM011 f+2f MUFFIN has high acceleration gradient. This allows using 0.5-cell design instead of classical 1.5 cell design.
The MUFFIN gun in comparison with reference single-mode gun provides optionally:
- two times smaller transverse emittances at regime of 3 ps bunch in case of similar cathode field,
- better transverse and longitudinal emittances, and two times smaller energy spread at regime of 3 ps bunch in case of higher cathode field,
- smaller transverse emittances at regime of 20 ps bunch in case of similar cathode field.
3. Fast semiconductor switch, controlled by ~GHz repetition rate gun laser, allows to provide phase locking of the feeding RF source.

## Slide 15
Dielectric laser acceleration of 28 keV electrons with the inverse Smith-Purcell effect
J. Breuer, P. Hommelhoff
Univ. of Erlangen & Max Planck Institute of Quantum Optics
transparent
grating
laser
Principle: phase synchronous acceleration of electrons with an optical surface mode co-propagating with the electrons at the transparent grating structure

## Slide 16
Ep=2.85GV/m
Ep=2.36GV/m
Demo of scalable acceleration of non-relativistic electrons. Compatible with relativ. dielectric laser accelerator structure.
Maximum acceleration gradient observed:
25 MeV/m for 28 keV electrons.
3 MHz, 800nm, 300mW avg. power, peak field 2.8 GV/m, 3rd spatial harm. (750nm grat. per.)
With relativistic e- (simulations so far):
1.7 GeV/m
Excellent agreement with simulations
Sketch of a future coherently driven dielectric laser accelerator. B1-B3: non-relativistic stages, C: relativistic.
(Byer group, SLAC: demo of 300 MeV/m accel. w/ 60MeV electrons)

## Slide 17: Argonne Wakefield Accelerator (AWA): a Facility for the Development of High Gradient Accelerating Structures and Wakefield Measurements
Manoel Conde, S. Antipov, D.S. Doran, W. Gai, C. Jing, R. Konecny, W. Liu, J.G. Power, E. Wisniewski, Z. Yusof
Argonne National Laboratory
Euclid Techlabs LLC
Illinois Institute of Technology
2b
2a
e
Q
Cu

## Slide 18: AWA Facility
15 MeV witness beam:
RF gun with Mg photocathode & one linac tank; bunch charge 0.1 – 150 nC; generated 100 MV/m in dielectric wakefield structure
75 MeV drive beam:
RF gun with Cs2Te photocathode & six linac tanks; bunch train, up to 32 bunches spaced at 1.3 GHz; charge per bunch up to 100 nC
Beamline switchyard
(under construction)

## Slide 19: Overview of AWA Beamlines
EEX & bunch compression
15 MeV witness beam
collinear & TBA
75 MeV drive beam
witness beam U-turn
experimental area
Higher gradient excitation: ~ 0.5 GV/m
Acceleration of witness beam: ~ 100 MeV
Higher RF power extraction: ~ GW level
Goals

## Slide 20: UCLA Bragg DWA experiment at ATF
E = 50 MeV
sx, sy = 60 µm
Q ~ 200pC
st ~ 1ps
ZTA – SiO2 layers
SiO2 “matching” layer
First exploration of photonic confinement in DWA
OOPIC Slab Simulation
J.B. Rosenzweig, et al.

## Slide 21: Experimental results and 3D sims
Confined mode near 165 GHz,
per prediction of theory,
2D and 3D simulations
CCR
autocorrelation
VORPAL 3D
Simulation

## Slide 22: New E201 DWA results from FACET
Excellent metal cladding developed at UCLA
Applied to 10 cm tubes!
U=20 GeV
Q=3 nC
sz=40 um
Expected wake amplitude in tubes=1.2 GV/m.
10 cm long, 450 um ID SiO2 tube assy.
Alumina slabs, with beam induced
scoring on metal boundary

## Slide 23: Recent results
Correct fundamental
l=750 um
Several 100 mJ energy
Massive narrow band THz
signal detected
Median energy loss observed! Consistent
=with expected GV/m fields
Systematics analysis underway at UCLA
Next steps: longer, narrower tubes under
construction at UCLA (15-20 cm, 300 um ID)
-> 100 MeV average energy change
-> 2 beam experiments for acceleration

## Slide 24
Dielectric Based Accelerator: Subpicosecond Bunch Train Production and Tunable Energy Chirp Correction
A.Kanareykin for
Euclid TechLabs LLC, Gaithersburg MD USA
in collaboration with ANL/AWA, BNL/ATF, UCLA and Eltech Universtity “LETI” , St.Petersburg, Russia
Presentation at EAAC, Elba, Italy June 2-6 2013

## Slide 25
presented materials available for the DLA applications and brief summary of the recently tested materials (quartz, ceramic, diamond)
presented software developed for the DLA analysis
recent experiments on the diamond based DLA structures at 26 GHz and 300 GHz ranges
- results on energy chirp compensation at BNL/ATF; factor of 5 compensation has been demonstrated
subpicosecond bunch train production at THz frequency range, BNL/ATF
Presented of the concepts of the beam based undulator: undulator is based on an electron bunch train powering a mm-wave/THz waveguide; the drive bunch train propagates towards the undulating beam inside a dielectric loaded structure
Dielectric accelerator:

## Slide 26
Rectangular
Multibunch
Annular
Multizone.
Beam Breakup
(BBU)
Waveguide
Diamonds (E6) ...scratched
Software:
300 MV/m at 36 ns pulse
Diamond test at 26 GHz

## Slide 27
First Beam Test of the Diamond Accelerating Structure
Energy chirp correction

## Slide 28
Energy Modulation Experiment
Beam Based DLA Undulator
a train of 4×75 MeV bunches of 25 nC each
λu=2.9 mm, Bu=24kG K=1.1

## Slide 29
Analytical and Numerical Studies of Underdense and Overdense Regimes in Plasma-Dielectric Wakefield Accelerators
G.V. Sotnikov, R.R. Kniaziev, O.V. Manuilenko,
P.I. Markov, T.C. Marshall, I.N. Onishchenko
Filling up the dielectric waveguide vacuum transport channel with isotropic plasma having a specific density sets up a focusing wakefield for drive and witness bunches, and a witness bunch can be accelerated.
For the case of a linear plasma (“overdense” regime), the focusing of witness bunch particles is provided by the plasma wave, and acceleration is provided by the eigen waves of the empty dielectric waveguide.
The focusing mechanism is charge symmetrical in case (2): it can be used both for accelerating electron bunches and for accelerating positron bunches.
For the case of nonlinear plasma, focusing is provided by the plasma ions remaining in the transport channel after pushing out the plasma electrons. Acceleration, as before, is provided by the dielectric wave.
Analytical studies and PIC simulations of wakefields excited by an electron bunch in a single-channel Plasma Dielectric Wakefield Accelerator (PDWA) showed:

## Slide 30
Overdense regime of PDWA: Axial profile of the axial force (black line) and transverse force (red line) at the distance r=0.45mm. Cyan rectangle shows possible location of electron witness bunch and green rectangles show possible location of positron witness bunch. OD=1.2mm. ID=1mm, nb/np=1/3, np=4.5∙1014 cm-3. Bunch energy is 5 GeV, bunch charge is 3nC. The focusing force amplitude is approximately 300MeV/m, which equals a focusing magnetic field induction ~1T. Drive bunch, which moves right to left, is shown as a yellow rectangle
Underdense regime of PDWA: Axial profile of the axial force (black line) and transverse force (red line) in the case of underdense (“blowout”) excitation regime of PDWA: Drive bunch moves from left to right, its location is shown as a green rectangle. OD=1.0mm. ID=0.4mm, Plasma density np=∙1014 cm-3 , nb/ np=30. Bunch energy is 5 GeV, bunch charge is 3nC. At plasma density np=4.5∙1014 cm-3 it is possible to expect amplitude of the focusing force ~530 MeV/m , corresponding to a focusing magnetic field ~1.8 T.