## Slide 1
PART 1
PHOTON DETECTION AND IMAGING WITH GASEOUS COUNTERS
Fabio Sauli
TERA Foundation and CERN
EDIT 2015 Laboratori Nazionali di Frascati, October 20-29, 2015

## Slide 2: PHOTON ABSORPTION
E
E- EK
EK-EL
E
EC
Ee
C
e
E
e+
e-
Photoelectric
Compton
I0
I
x
I0 : Incoming flux
I : Outgoing flux
Absorption coefficient (cm-1):
r: density (g cm-3)
N: atoms (molecules) cm-3
s: absorption cross section (cm2)
A: Avogadro number
Absorption length (cm):

## Slide 3: XENON PHOTON ABSORPTION CROSS SECTION AND LENGTH
1 Mbarn=10-18 cm2
http://xdb.lbl.gov/
http://henke.lbl.gov/optical_constants/
http://www.nist.gov/pml/data/xraycoef/
For gases at STP:
@ Eg=10 keV
l ~ 1 cm (STP)
EI
UV
SOFT X-RAYS
HARD X-RAYS

## Slide 4: WINDOWS TRANSPARENCY – visible to ultraviolet
UV GLASS AND FLUORIDE CRYSTALS:
THIN POLYMER FOILS:

## Slide 5: WINDOWS TRANSPARENCY – SOFT x rays
ABSORPTION LENGTH VS ENERGY:
TRANSPARENCY VS ENERGY:

## Slide 6: A CURIOUS OBSERVATION: MWPC INFRARED SENSITIVITY?
STUDY OF GLOW DISCHARGES IN MWPCs
Rutherford Lab (1979)
J.B. Marsh, K.H. Souten and B. O’Hagan
RL-79-038 (1979)

## Slide 7: PHOTON DETECTION IN THE VISIBLE
Bialkali (K-Cs)
Trialkali (S-20)
ULTRAVIOLET
VISIBLE
SPECTRAL RESPONSE OF PHOTOCATHODES (IN VACUUM):
VACUUM PHOTODIODE:
GAS PHOTODIODE:
- Damaged by impurities (O2, H2O,…)
- Backscattering reduces Quantum Efficiency
GAS DETECTOR WITH GAIN:
- Photon feedback
- Positive ions damage of photocathode
I
I

## Slide 8: CAESIUM IODIDE PHOTOCATHODES
CsI QUANTUM EFFICIENCY (IN VACUUM):
IN GASES:
FIELD DEPENDENCE OF THE PHOTOELECTRON EXTRACTION EFFICIENCY:
J. Seguinot et al, Nucl. Instr. and Meth. 297(1990)133
C. D. R. Azevedo et al., 2010 JINST 5 P01002

## Slide 9: VISIBLE PHOTOCATHODES IN GASEOUS COUNTERS
Quantum Efficiency of Bi-alkali Photocathode in Ar-CH4 (90-10):
F. Tokanai et al, Nucl. Instr. and Meth. A610(2009)164
MICRO-PATTERN GAS DETECTORS: GEM, MICROMEGAS, GLASS CAPILLARY
Photoelectron Collection Efficiency in several gases at increasing fields:

## Slide 10: UV PHOTONS ABSORPTION
NOBLE GASES: PHOTOIONIZATION THRESHOLD
MOLECULAR GASES:
TOTAL AND IONIZATION CROSS SECTIONS:
H. S. W. Massey, Electronic and Ionic impact Phenomena (Oxford Press 1969)
G. Marr, Photoionization Processes in Gases
(Academic Press NY 1967)

## Slide 11: UV PHOTONS ABSORPTION
HYDROCARBONS
OXYGEN, OZONE, WATER:
F. Sauli, Gaseous Radiation Detectors
Cambridge University Press (2014)

## Slide 12: LOW THRESHOLD PHOTOIONIZING VAPORS
TOT
QE
Triethylamine (TEA) (C2H5)3N
Ei = 7.5 eV
Tetrakis-dimethilamino-ethylene (TMAE)
C[(CH3)2N]4
Ei = 5.3 eV
R. Holroyd et al, Nucl. Instr. and Meth.A261(1987)440

## Slide 13: PHOTOELECTRIC CROSS SECTION: SOFT X-RAYS
DETECTION EFFICIENCY
1 cm GAS @ STP (00C, 1 ATM):
ABSORPTION CROSS SECTION:

## Slide 14: ABSORPTION LENGTH: SOFT X-RAYS IN XENON

## Slide 15: SOFT X-RAYS: PHOTOELECTRIC
K SHELL FLUORESCENCE:
L-SHELL:
E
E-EL
EL-EM
E
E-EK
EK-EL
EL-EM
E
E-EK
ESCAPE
NON-RADIATIVE (AUGER)
E
~ E
LINEAR ATTENUATION COEFFICIENT (STP):

## Slide 16: FLUORESCENCE YIELD
FY = Probability of Fluorescence / Total
Ar
FY~10%
Xe
FY~90%

## Slide 17: SOFT X-RAYS: FLUORESCENCE YIELD AND ESCAPE PEAKS
5.9 keV
~ 3 keV
5.9 keV 55Fe SOURCE IN ARGON:
22-25 keV 109Cd SOURCE IN XENON:
ESCAPE
TOTAL ENERGY:
L+K, AUGER

## Slide 18: ANGULAR DISTRIBUTION AND RANGE OF PHOTOELECTRONS
q
e
Eg 5.9 keV
ELECTRON RANGE:
PHOTOELECTRON EMISSION ANGLE:
200 µm
5.9 keV X-ray
Ee=Eg-EK= 2.7 keV in Ar

## Slide 19: COMPUTED POSITION RESOLUTION LIMITS
42 keV PHOTONS ON XENON
600 µm
2 mm
POSITION RESOLUTION FOR A POINT-LIKE COLLIMATED BEAM:
J.E. Bateman et al, RL-75-140

## Slide 20: COMPUTED POSITION RESOLUTION LIMITS
C. Azevedo et al., Phys. Lett. B 741(2015)272
X-Rays in He, Ne, Ar, Kr and Xe AT STP
36 keV in Ar:

## Slide 21: hard x and gamma rays: converters
DETECTION EFFICIENCY:
s: converter thickness
l: absorption length
e
g
e
CONVERTER
GAS DETECTOR
s
USEFUL CONVERTER THICKNESS AND ELECTRON RANGE
100 µm converter --> e ~ 1%

## Slide 22: hard x and gamma rays: internal converters
HEAVY DRIFT CHAMBER
Stack of converter Grids at graded potentials
A. Jeavons et al, IEEE Trans. Nucl. Sci. NS-23 (1978)41
MWPC
HV
e
EFFICIENCY vs CONVERTER ATOMIC NUMBER:
140 keV
360 keV

## Slide 23: hard x and gamma rays: internal converters
GOLD-COATED GAS ELECTRON MULTIPLIER (GEM)
DETECTION EFFICIENCY
T. Koike et al,
Nucl. Instr. and Meth. A648(2011)180

## Slide 24: hard x and gamma rays: internal converters
D. Watts et al, J. Rad. Res. 54 (2013)i136
DETECTION OF 511 keV g FOR PET
MULTI-GAP RESISTIVE PLATE CHAMBER
+HV
- HV
400 µm HIGH RESISTIVITY GLASS PLATES

## Slide 25: AVALANCHE CHARGE MULTIPLICATION
CHARGE MULTIPLICATION IN UNIFORM FIELD
l
E
x
Ions
Electrons
Multiplication factor or Gain:
Incremental increase of the number of electrons in the avalanche:
Maximum avalanche size before discharge (Raether limit):
QMAX ≈ 107 e
H. Raether, Electron Avalanches and Breakdown in Gases (Butterworth 1964)
Mean free path for ionization:
N: molecules/cm3
Townsend coefficient:
Ionizing collisions/cm
S.C. Brown, Basic Data of Plasma Physics (MIT Press, 1959)
(PART 2)

## Slide 26: SINGLE electron avalanche: FURRY statistics
SINGLE ELECTRON
AVALANCHE SIZE DISTRIBUTION
N ELECTRONS:
MAXIMUM PROBABILITY FOR n=1!

## Slide 27: SINGLE electron avalanche: POLYA statistics
H. Sclumbohm, Zeit. Physik 151(1958)563
H. Schindler, S.F. Biagi, R. Veenhof
Nucl. Instr. and Meth. A624(2010)78
AVALANCHE DISTRIBUTION AT INCREASING GAINS (FIELDS)
POLYA DISTRIBUTION
EXPERIMENTAL:

## Slide 28: THE MULTISTEP CHAMBER
PREAMPLIFICATION
GAIN 103
MWPC
GAIN 105
TRANSFER
10%
TOTAL GAIN 107
SINGLE ELECTRON PH DISTRIBUTIONS:
R. Bouclier, et al.,
Nucl. Instr. and Meth. 205 (1983) 403
] G. Charpak and F. Sauli, Phys. Letters 78B(1978)523

## Slide 29: CHERENKOV RING IMAGING
R. McCarty, et al,
Nucl. Instr. and Meth. A248(1986)69
OVERLAPPING CHERENKOV RINGS
He-CH4-TEA (92-5-3)
E-605 RICH
5-PHOTONS RING
PARTICLE IDENTIFICATION

## Slide 30: UV PHOTONS DETECTION: MWPC
CsI-coated cathode pads
MWPC
Window
E. Albrecht et al, Nucl. Instr. and Meth. A502(2003)112
COMPASS RING IMAGING CHERENKOV COUNTER (RICH)

## Slide 31: single electron avalanche in MPGDs
GAS ELECTRON MULTIPLIER (GEM)
F. Sauli, Nucl. Instr. and Meth. A553(2005)18
TRIPLE-GEM
CsI Photocathode
EDRIFT ~ 0
e
CsI LAYER
MORE GEMS
- No photon feedback
- Strong suppression of ions feedback

## Slide 32: UV PHOTON DETECTION AND LOCALIZATION
F. Sauli et al, IEEE NSSS 2004 Conf. Rec.Vol. 1, 12
TRIPLE GEM WITH HEXABOARD READOUT
MATRIX OF HEXAGONAL PADS INTERCONNECTED ALONG THREE DIRECTIONS
TWO-PHOTONS EVENT:

## Slide 33: single electron avalanche in MPGD
MICROMEGAS
Ne-iC4H10 95-5
M=6.104
Polya: q=2.3
T. Zerguerras et al, Nucl. Instr. and Meth. A608(2009)397
MICROMEGAS
WINDOW
PHOTOCATHODE
e-
UV PHOTON

## Slide 34: SINGLE ELECTRON AVALANCHE
J. Melai et al, Nucl. Instr. and Meth, A628(2011)133
CsI-COATED MICROMEGAS WITH TIMEPIX READOUT

## Slide 35: THICK GEM
MECHANICAL DRILLING OF METAL-CLAD PC BOARD:
SELF-SUPPORTING
HIGH GAIN
P. Janneret, Thesis at Neuchatel University (2001)
ALSO NAMED LARGE ELECTRON MULTIPLIER (LEM)
R.Chechik et al,
Nucl. Instr. and Meth. A535(2004)303
Breskin et al,
Nucl. Instr. And Meth. A623(2010)132
A. Badertscher et al, Nucl. Instr. And Meth. A617(2010)188

## Slide 36: UV PHOTONS DETECTION: THICK GEM
DEVELOPMENT FOR THE COMPASS RICH UPGRADE
LARGE RIM:
HIGH GAIN
CHARGING UP
GAIN
V (kV)
0
10 µm
100 µm
0.1 mm rim
No rim
RIMLESS:
LOW GAIN
STABLE
M. Alexeev et al, Nucl. Instr. and Meth. A695(2012)159

## Slide 37: COMPASS RICH UPGRADE
M. Alexeev et al, Nucl. Instr. and Meth. A732(2013)264
COMPASS RICH UPGRADE PROTOTYPE
TRIPLE-THICK GEM CsI-COATED 30x30 cm2
9-PHOTONS RING

## Slide 38: SINGLE ELECTRON AVALANCHE
- G > 10⁶
- collection efficiency ~100%
- Rp(anode)= 60 μm
- Rp(top) = 90 μm
- only a few discharges for several months even for high photon flux
J.F.C.A.Veloso et al
Nucl. Instr. and Meth. A639(2011)
THICK COBRA
F. Amaro et an JINST5 (2010)

## Slide 39: VISIBLE PHOTOCATHODES WITH GASEOUS COUNTERS
IBF: 3 x 10 -4
IBF: ~ 10 -2
A.V.Lyashenko et al., 2009 JINST 4 P07005
GEM+MICRO-HOLE AND SRIP PLATE
GEM-MHSP:
NEW STRUCTURES:
COBRA, MICRO-HOLES AND STRIPS, PACEM….
R. Chechik, A. Breskin,
Nucl. Instr. and Meth. A595(2008)116

## Slide 40: cryogenic CsI PHOTOCATHODES
S. Duval et al,. JINST 6(2011)P04007
LIQUID XENON
THICK-GEM with CsI Photocathode + MICROMEGAS

## Slide 41: VISIBLE PHOTOCATHODES WITH GASEOUS COUNTERS
Bi-alkali Photocathode in Ar-CH4 (90-10)
T. Sumiyoshi et al Nucl. Instr. and Meth. A639(2011)121
GAIN VS VOLTAGE
GasPMT with Pyrex glass CP
KAPTON AND PYREX GEM DETECTORS

## Slide 42: SOFT X-RAYS: ENERGY RESOLUTION
Ai : single electron avalanche size
Average gain:
Gain variance:
Furry statistics:
Polya statistics:
Furry: b=1 Polya:
Ar 0.19
Xe <0.17
Ne+0.5%Ar 0.05
Ar-CH4 0.19
GAS F
Energy resolution:
Ionization
Avalanche statistics
Ionization variance:
F: Fano factor
FANO FACTORS

## Slide 43: SCINTILLATION PROPORTIONAL COUNTERS
PHOTON EMISSION BEFORE CHARGE MULTIPLICATION:
NO AVALANCHE DISPERSIONS
NOBLE GASES SCINTILLATION SPECTRA ~1bar

## Slide 44: SCINTILLATION PROPORTIONAL COUNTERS
SCINTILLATION COUNTERS
A. Policarpo et al, Nucl. Instr. and Meth. 102(1972)337
ENERGY RESOLUTION:
CLOSE TO STATISTICAL LIMIT

## Slide 45: ELECTRON COUNTING
A. Pansky et al, Nucl. Instr. and Meth. A330(1993)150
LOW PRESSURE (10 Torr) PROPORTIONAL COUNTER
676 eV
110 eV

## Slide 46: SOFT X-RAYS ENERGY RESOLUTION
GAIN
RESOLUTION %
NOISE
IONIZATION
AVALANCHE
TOTAL
H. Sipilä and E. Kiuru, Adv. X-Ray Analysis 21(1978)
fwhm 1.3 keV
5.9 keV

## Slide 47: MICROMEGAS ENERGY RESOLUTION
INGRID: MICROMEGAS WITH TIMEPIX READOUT
M. Chefdeville et al,
Nucl. Instr. and Meth. A591(2008)147
5.9 keV 55Fe in Ar-CH4 90-10
14% fwhm
GAP INDEPENDENCE OF GAIN

## Slide 48: GEM WITH SILICON PIXEL READOUT
X-RAY POLARIMETER
R. Bellazzini et al, Nucl. Instr. and Meth. A623(2010)766

## Slide 49: GEM WITH SILICON PIXEL READOUT
R. Bellazzini et al, Nucl. Instr. and Meth. A581(2007)246

## Slide 50: GEM WITH SILICON PIXEL READOUT
s ~ 4 µm
R. Bellazzini et al, Nucl. Instr. and Meth. A581(2007)246
END OF PART 1