## Slide 1
PART 2
PROBLEMS AND SOLUTIONS
WITH
GASEOUS COUNTERS
Fabio Sauli
TERA 20-29, 2Foundation and CERN
EDIT 2015 Laboratori Nazionali di Frascati, October 015

## Slide 2: MULTIWIRE PROPORTIONAL CHAMBER (MWPC)
G. Charpak et al, Nucl. Instr. and Meth. 62(1968)262
CHARGE INDUCTION ON CATHODE PLANES:
2-D LOCALIZATION
G. Charpak and F. Sauli
Nucl. Instr. and Meth. 113(1973)381
THIN ANODE WIRES BETWEEN TWO CATHODES:

## Slide 3: TIME PROJETION CHAMBER (TPC)
D.R. Nygren and J. N. Marx, Physics Today No.31 Vol. 10(1978)
ALEPH TPC
D. Decamp et al,Nucl. Instr. and Meth. A294(1990)125

## Slide 4: TIME PROJETION CHAMBER (TPC)
0
4
8 mm
-4
-8
8 mm
Y: ANODE WIRE
DY ~ 4 mm
Z: DRIFT TIME
DZ ~ 10 mm (200 ns)
X: PAD ROWS
DX ~ 10 mm
TPC: FULL 3-D LOCALIZATION
Volume resolution
DV~ 50 mm3

## Slide 5: RATE-DEPENDENT GAIN REDUCTION
SPACE CHARGE NEAR THE ANODE:
BUILDUP OF SLOW POSITIVE IONS MODIFIES THE ELECTRIC FIELD
e-
~ 100 ns
I+
~ 100 µs
RELATIVE GAIN AS A FUNCTION OF RATE:
A. Breskin et al, Nucl. Instr. and Meth. 124(1974)189
~ 104 mm-1s-1

## Slide 6: POSITIVE ION BACKFLOW
+
e
D. Friedrich, et al, Nucl. Instr. and Meth. 158(1979) 81
LATERAL DISPLACEMENT OF ELECTRONS DRIFTING NEAR A POSITIVE IONS COLUMN
55Fe SOURCE 1 cm FROM ION COLUMN , 10 cm DRIFT
Charge density
Displacement

## Slide 7: POSITIVE ION BACKFLOW
SLOW POSITIVE IONS ACCUMULATE IN THE DRIFT VOLUME AND MODIFY THE FIELD RESULTING IN TRACKS DISTORTIONS:
PERCENTAGE DRIFT FIELD MODIFICATION (ALEPH MWPC-TPC)
ID
IA
ONLY POSSIBLE AT SMALL RATES:
Maximum electron drift time
< Time between events
GATING:
ADD A WIRE MESH WITH VOLTAGE-CONTROLLED TRANSPARENCY
IONS BACKFLOW RATIO
MWPC: IBF ~ 30%
THE WISH:

## Slide 8: SECONDARY PROCESSES
PHOTONS FEEDBACK:
AVALANCHE SPREAD
e
e
IONS FEEDBACK:
CATHODE DAMAGE, AGING, …..
+

## Slide 9: TRANSITION FROM PROPORTIONAL TO STREAMER
N. Koori et al, Jap. J. Appl. Phys. 25(1986)986

## Slide 10: THE RAETHER LIMIT
Maximum avalanche size before transition or breakdown:
QMAX=(Primary ionization)x(Gain) ~ 107 e
Multiwire structures:
Cathode pre-amplification of field emitted electrons
103
104
P. Giubellino et al, Nucl. Instr. and Meth. A245(1986)155
Fast particles DE ~ 2 keV:
Q=(100)x(104)=106
Neutrons DE ~ 2 MeV
Q=(105)x(104)=109
MC
MA
M=MC x MA
Typical proportional gain ~ 104

## Slide 11: BREAKDOWN
Spark damages in MWPCs:
Fabio’s Museum of Horrors

## Slide 12: AGING
Polymerization of organic compounds with formation of deposits on thin wires:
O. Ullaland, LBL-21170 (1986)107
I. Juric and J. Kadyk, LBL-21170 (1986)141
I. Juric and J. Kadyk, LBL-21170 (1986)141
M. Binkley et al,
Nucl. Instr. and Meth. A515(2003)53

## Slide 13: MICRO-STRIP GAS COUNTER
Anton Oed, 1988
A. Oed, Nucl. Instr. and Meth. A263(1988)351
10 µm wide anode strips, 50 µm cathode strips at 100 µm pitch on glass substrate:

## Slide 14: AGING
R. Bouclier et al, Nucl. Instr. and Meth. A367(1995)163
Single track signal width (two-track resolution):
200 µm pitch
FW ~ 400 µm

## Slide 15: RATE CAPABILITY
106 mm-2 s-1
Fast signals ~ 30 ns (1.5 mm)
Rate capability: 1 MHz/mm2
Volume resolution
DV ~ 1 x 1 x 2= 2 mm3

## Slide 16: MSGC AGING
MSGC GAIN vs COLLECTED CHARGE
EXTREME SENSITIVITY TO CONTAMINATIONS
R. Boucler et al, Nucl. Instr. and Meth. A367(1995)163
R. Boucler et al, Nucl. Instr. and Meth. A348(1994)109

## Slide 17: MSGC DISCHARGES
Pre-amplification of electrons emitted by cathode strip edges
T. Beckers et al, Nucl. Instr. and Meth. A346(1994)95
Fabio’s Museum of Horrors
MINIMUM IONIZING PARTICLES
Q= 100 x104=106
n ~ MeV p
Q ~ 104 x 104 = 108
p
Field emission
~ 104 x 104 = 108
DISCHARGES IN MICROSTRIP CHAMBERS

## Slide 18: MICROMEGAS
Y. Giomataris et al,
Nucl. Instr. and Meth. A 376(1996)29
HIGH/LOW FIELD REGIONS SEPARATED BY A MESH
50-100 µm
200 V/cm
50 kV/cm
100 µm pitch
Signal distribution: 200 µm fwhm
J. Derré et al,
Nucl. Instr. and Meth. A459(2001)523

## Slide 19: GAS ELECTRON MULTIPLIER (GEM)
F. Sauli, Nucl. Instr. and Meth. A386(1997)531
Thin (50 µm) metal-coated polymer foil with high density of holes:
FAST ELECTRON SIGNAL ONLY
ON ANODE STRIPS
GEM
INDUCTION
DRIFT

## Slide 20: GEM TWO-TRACK RESOLUTION
30 ns ~ 1.5 mm
10 ns
M. Ziegler, PhD Zürich Univ. (2002)
TWO-TRACK RESOLUTION
(DRIFT TIME):
TWO-TRACK RESOLUTION
(PROJECTION):
400 µm fwhm
A. Bressan et al, Nucl. Instr. and Meth. A425(1999)262
VOLUME RESOLUTION
~ 1 mm3

## Slide 21: GEM RATE CAPABILITY
J. Benlloch et al, IEEE NS-45(1998)234
GEM GAIN vs RATE (SOFT X-Rays)

## Slide 22: GEM RATE CAPABILITY
A STRANGE OBSERVATION: GAIN INCREASE AT VERY HIGH RATES
(2006, UNPUBLISHED)
Peter Everaerts, PhD Gent University (2006)

## Slide 23: GEM RATE CAPABILITY
A RECENT SIMULATION
S. Franchino et al, Subm. IEEE Nucl. Sci. Symposium (San Diego, Oct. 31, 2015)
COMSOL Finite Element Analysis
GARFIELD

## Slide 24: discharges: micromegas
MICROMEGAS: SPARK PROBABILITY IN HADRON BEAM
FOR A GAIN OF 5.103 , 106 PARTICLES s-1:
~ ONE DISCHARGE / SECOND
A. Delbart et al, Nucl. Instr. and Meth. A478(2002)205
10-6
5 103

## Slide 25: discharges: resistive micromegas
SPARK RATES IN NEUTRON BEAM EXPOSURE:
T. Alexopolous et al, Nucl. Instr. and Meth. A640(2011)110
BUILT ON A HIGH-RESISTIVITY POLYMER

## Slide 26: discharges: resistive micromegas
J. Galán et al, Nucl. Instr. and Meth. A732(2013)229
GAIN REDUCTION AS A FUNCTION OF RATES:

## Slide 27: discharges: multi-gem
TRIPLE-GEM (TGEM): CASCADED GEM ELECTRODES
C. Büttner et al, Nucl. Instr. and Meth. A409(1998)79

## Slide 28: discharges: multi-gem
S. Bachmann et al,
Nucl. Instr. and Meth. A479 (2002) 294
WHAT ABOUT THE RAETHER LIMIT?
GAIN VS VOLTAGE – 5.9 keV
IN MULTI-GEMS, THE CHARGE SPREADS OVER MANY INDEPENDENT HOLES!
DISCHARGE RATE ON ~ 5 MeV a
Q~107
Q~108
Q~109
DISCHARGE PROBABILITY VS GAIN:
Q~107
Q~108
Q~109

## Slide 29: positive ions backflow: micromegas
EA~ 40 kV cm-1
FIELD RATIO
1%
5%
THE IONS BACKFLOW DEPENDS ON AVALANCHE SPREAD, BUT CANNOT BE SMALLER THAN THE FIELD RATIO:
ED~ 400 V cm-1
EA~ 40 kV cm-1
Ar-CH4 97-3
P. Colas et al, Nucl. Instr. and Meth. A535(2004)226

## Slide 30: positive ions backflow: multi-gem
THE IBF VALUE RESULTS FROM THE INTERPLAY OF GEOMETRY, FIELDS, DIFFUSION:
MAGNETIC FIELD:
2 10-3
M. Killenberg et al, Nucl. Instr. and Meth. A530(2004)251
THE WISH:
5 10-3
A. Bondar et al, Nucl. Instr. and Meth. A496(2003)325
2 10-2
Gain

## Slide 31: positive ions backflow: gem with offset holes
EXPLOIT THE DIFFERENCE BETWEEN IONS’ AND ELECTRONS’ DIFFUSION IN AN OFFSET DOUBLE THICK-GEM
F. Sauli et al, Nucl. Instr. and Meth. A560(2006)269
TRANSVERSE DIFFUSION:
OFFSET SCAN:

## Slide 32: alice tpc gem upgrade
Ar-CO2 70-30: ~ 0.8%
Ne-CO2 (ALICE): ~ 5%
B. Ketzer et al, Nucl. Instr. and Meth. A732(2013)237
BASELINE: FOUR OFFSET GEMs

## Slide 33: alice tpc gem upgrade
QUAD-GEM WITH ALTERNATING DIFFERENT PITCH
IBF AND ENERGY RESOLUTION VS VOLTAGE ON THE FIRST GEM:
ALICE TDR CERN-LHCC-2013-020

## Slide 34: alice tpc gem upgrade
F.W. Bohmer et al,Nucl. Instr. and Meth. A719(2013)101
SIMULATION STUDIES FOR PANDA: TRIPLE GEM OPERATED IN Ne-CO2 90-10
2 107 p-p ANNIHILATIONS GAIN M=2000 IBF 2.5 10-3
SPACE CHARGE DENSITY:
ELECTRIC FIELD DISTORTIONS:

## Slide 35: radiation resistance: micromegas
SYSTEMATIC IRRADIATION OF SMALL PROTOTYPES:
G. Iakovidis, MPGD 2013
20 C cm-2
~ 4 1014 MIPS cm-2
F. Hartjes, MPGD 2009

## Slide 36: radiation resistance: gem
M. Alfonsi et al, Nucl. Instr. and Meth. A518(2004)106
20 C/cm2
~ 4 1014 MIPS cm-2
LHCb TRIGGER:
A. Sharma and M. Tytgat,
CMS Technical Design Report, (2014).

## Slide 37: BUY ME ACHETE-MOI COMPRAMI KAUFEN SIE MICH купить мне
36
AND IF YOU WANT TO KNOW MORE…
http://www.cambridge.org/F4GASEOUS
F. Sauli
The gas electron multiplier (GEM): Operating principles and applications
Nucl. Instr. and Meth. In Press (7 Aug. 2015)

## Slide 38: THE END
THE END
THANKS FOR YOUR ATTENTION