## Slide 1: Detection of extensive air showers with the NEVOD-EAS cluster type detector
25th European Cosmic Ray Symposium (ECRS-2016)
Torino, Italy, September 4 - 9, 2016
I.A. Shulzhenko1, M.B. Amelchakov1, N.S. Barbashina1, A.G. Bogdanov1,
Chiavassa2,3, N.E. Fomin1, N.N. Kamlev1, S.S. Khokhlov1, R.P. Kokoulin1,
K.G. Kompaniets1, V.Yu. Kutovoy1, O.I. Likiy1, G. Mannocchi4, V.V. Ovchinnikov1,
A.A. Petrukhin1, O. Saavedra2, V.V. Shutenko1, G. Trinchero4, I.I. Yashin1
1 National Research Nuclear University MEPhI, Scientific and Educational Center NEVOD, Moscow, Russia
2 Dipartimento di Fisica dell’ Università degli Studi di Torino, Turin, Italy
3 Sezione di Torino dell’ Istituto Nazionale di Fisica Nucleare - INFN, Turin, Italy
4 Istituto di Fisica dello Spazio Interplanetario – INAF, Turin, Italy

## Slide 2
NEVOD-EAS array

## Slide 3
Counter and detector station (DS) of the NEVOD-EAS array

## Slide 4
Local Post tasks:
- summation of standard PMTs signals;
- digitizing of PMTs signals;
- event selection according to triggering conditions;
- operation in exposition and monitoring modes;
- DS power supply;
- control of temperature inside DS and LP.
Local Post of the cluster

## Slide 5: Central DAQ Post
Central DAQ Post tasks: - cluster synchronization;
- cluster control;
- reception and storage of experimental
and monitoring data.

## Slide 6: Central DAQ Post

## Slide 7
Central part of the NEVOD-EAS array
Clusters No. 1 & 2
13.3×12.4 m2
Cluster No. 3
25.1×18.9 m2
Cluster No. 4
15.0×15.0 m2

## Slide 8
Distribution of DS on position of “muon” peaks
Distribution of additional PMTs on charge of response to 1 particle (VEM)
Cluster 2 DS 2
Отношение заряда отклика ДС к заряду отклика доп. ФЭУ
Заряд отклика ДС
123
Charge of DS response, pQ
Ratio between response charges of
DS and additional PMT
<Qadd1µ> = 0.14 pQ
σQadd1µ = 0.03 pQ
Response of the NEVOD EAS detector stations and counters

## Slide 9
Counting rate of the NEVOD-EAS clusters
Barometric coefficient ~ -0.71 ÷ -0.81 %/mmHg

## Slide 10
Registration of showers with the NEVOD-EAS array
θ = 48.0°
φ = 133.5°
θ = 51.9°
φ = 129.5°
θ = 51.7°
φ = 135.1°
θ = 49.8°
φ = 130.5°
Число ШАЛ: 712
Number of EAS: 712
Number of registered EAS
<ψ> = 3.8°
σψ = 2.6°
Mean angular deviation of directions reconstituted by individual clusters from the average direction in the event, °

## Slide 11
Reconstruction of EAS arrival direction
Cluster 1
α ~ 8.5
Cluster 2
α ~ 8.5
Cluster 3
α ~ 8.7
Cluster 4
α ~ 9.7

## Slide 12
Example of joint event:
NEVOD-EAS (27.05.2016 3:09:26)
θ = 28.8°
φ = 149.4°
θ = 33.1°
φ = 143.7°
θ = 29.5°
φ = 146.5°
θ = 26.9°
φ = 139.9°
Cluster No.3 on the roof of the NEVOD-DECOR building

## Slide 13
θ = 29.49°
φ = 144.40°
Example of joint event:
NEVOD-DECOR-CTS (27.05.2016 3:09:26)
θ = 29.5°
φ = 146.5°
NEVOD-DECOR-CTS
NEVOD-EAS

## Slide 14: Conclusion
The central part of the NEVOD-EAS cluster type shower array which includes 4 clusters located at the area of about 104 m2 has been created and started.
A series of measurements with a duration of 49 days has shown:
1) characteristics of 4 clusters of the NEVOD-EAS central part are quite similar;
2) the possibility of using of cluster approach to the reconstruction of EAS parameters has been proved;
3) the accuracy of EAS arrival direction reconstruction is, at this stage, about 4° and will be improved with an increase of number of clusters.
Our plans:
2016
2017–2020
- start of operation of the 1st stage of the NEVOD-EAS peripheral part (+ 5 clusters, total area ~ 2×104 m2)
- start of operation of the 2nd stage of the NEVOD-EAS peripheral part (total area ~ 0.2 × 106 m2)

## Slide 15
Thank you for attention!