## Slide 1: Computing in Medical Applications
Piergiorgio Cerello
INFN – Sezione di Torino
cerello@to.infn.it

## Slide 2: the Matrix
 | App | Diagnosis Detector simulation | Therapy Treatment planning | Therapy Quality Assurance | Diagnosis Image Processing | Biological Modelling
Tech |  |  |  |  |  | 
Web |  |  |  |  | M5L, MIND, etc. | 
Cloud |  | everyone (FLUKA, Geant4/5) | I-SEE | INSIDE | M5L, MIND, etc. | WaveScalES
GPU |  | Geant5 | RIDOS |  |  | 
High-perf. DAQ |  |  |  | PROMPT |  | 
Data Access, Preservation |  |  |  |  |  | ?

## Slide 3: Simulazione Interazione radiazione-materia
due preziosissimi strumenti sviluppati inizialmente per la fisica delle particelle
“simulation of the passage of particles through matter”

## Slide 4: The WaveScalES project
Brain research:
 Computational Neuroscience: novel experimental methodologies and massive parallel simulations for multi-scale theoretical models
The WaveScalES project:
  Experimental (perturbative) investigation, modelling and simulation of multi-scale Slow Wave Activity and transition to awakeness
  Part of the Human Brain Project (HBP)
Large scale simulations of the cortical activity investigating slow waves, plasticity, sleep and memory consolidation
See talk by E. Pastorelli

## Slide 5: Cortical simulations
The simulation of the cortical field activity can be accelerated using parallel/distributed computers. However, there are several challenges, including:
  Neural networks heavily interconnected at multiple distances, local activity rapidly produces effects at all distances  Prototype of non-trivial parallelization problem
  Each neural spike originates a cascade of synaptic events at multiple times: t + Δts  Complex data structures
  Multiple time-scales (neural, synaptic, spikes, long and short term plasticity models)  Non-trivial synchronization at all scales: mixed time-driven (delivery of spiking messages) and event-driven (synaptic activity and neural dynamic)
  Gigantic synaptic data-base. A key issue for large scale simulations  Clever parallel resource management required

## Slide 6: Image processing
Central vs. distributed processing
See talk by A. Retico

## Slide 7: Diagnostica WEB / Cloud + Image Processing
Validazione su 949 CT
http://m5l.to.infn.it
Ricerca automatica di noduli in CT polmonari
Sensibilità ~ 80% a 6 FP/scan,
Validazione Clinica in corso
130 noduli, S ~ 90%,
+10% noduli in seconda lettura

## Slide 8: Clinical Validation / preliminary
Collaboration with the Radiology Department of IRCCS Candiolo (Italy)
every day CT scans of oncological patients under-going staging or re-staging are submitted to M5L
three radiologists independently annotate the CTs (first-reader mode)
CAD results are made available to radiologists for review (second-reader mode) only after the first-reading annotation was completed
Goal: dataset of about 1000 scans

## Slide 9: Terapia: piani di trattamento
“PlanKIT”: kernel per Terapia con fasci di ioni
(SOBP 13-23.5 cm,
10x10x10 cm^3)
Collaborazione INFN/IBA
Validazione Clinica a CNAO (Pavia)
Aspetti innovativi
  Multi-Ione (protoni, carbonio et al.)
  Modelli Radiobiologici
  Valutazione simultanea di: dose, RBE, LET, dose effettiva, sopravvivenza cellulare, etc…
  Simulazione veloce della dose con GPU
Patent pending

## Slide 10: Spin-off:

## Slide 11
Treatment Planning in PT
See talk by S. Giordanengo
Notes: Che cos’è un TPS

## Slide 12
Overview of the INFN TPS algorithms:  CPU and GPU implementation results
Phys. Med. Biol. 61 (2016) 183–214
CUDA porting of INFN-IBA TPS
Notes: Che cos’è un TPS

## Slide 13: Terapia: monitor di dose 3D
INSIDE: dov’e’ (< 1mm) il picco di Bragg?
In-beam PET
Tracciatore
Primo test PET @ CNAO 7/2/2016
See talk by F. Pennazio

## Slide 14
A
B
D
beam
Data
Simulation
Preliminary – 25/02/2016 NO AFTER TREATMENT
PMMA phantom
2 slices 2.7x2.7 cm2 (E1 = 77 MeV, E2= 105 MeV)
Acquisition time = 254 s
PMMA phantom with hole
2 slices 2.7x2.7 cm2 (E1 = 77 MeV, E2= 105 MeV)
Acquisition time = 155 s
PMMA phantom
Real treatment plan (Emin= 76.6 MeV, Emax= 124.5 MeV)
Acquisition time= 133 s
Image and profile reconstruction
Notes: DEVO ANCORA CAMBIARE LE IMMAGINI E METTERE QUELLE INTERSPILL

## Slide 15
beam in
Bragg peak
77 MeV
Bragg peak
105 MeV
Expected difference
31.2 mm
Measured difference
(30.2 +/- 0.3) mm
1010p
Preliminary results

## Slide 16
DAQ developments and upgrades
in-spill DAQ and Image reconstruction
    required for use at cyclotrons
use for pre-validation
hypofractionation
larger acceptance, higher speed (ASIC)
multiple lesion treatment
Notes: Il firmware ha un tempo di sviluppo più lungo, quindi è stato sviluppato in // al sw, ma molte funzionalità sono state testate e raffinate in sw prima e codificate in fw dopo. Nuove funzionalità possibili combinando la nuova generazione di FPGA e eventualmente Soc, che essendo programmabili danno capacità di calcolo a basso costo in parallelo (se ne metterebbero una per board). Conseguenze: più quantità monitorabili, possibilità di applicare calibrazioni più fini (cioè calibrare il TDC per ogni TAC per esempio…) e monitorare più quantità

## Slide 17: in sintesi…
…molte applicazioni mediche sono rilevanti dal punto di vista del calcolo scientifico…