## Slide 1: Beam studies for PADME
P. Valente, B. Buonomo, C. Di Giulio, L. Foggetta

## Slide 2: Effect of TB2 slits

## Slide 3: Effect of TB2 slits
In order to increase the positron multiplicity, given the LINAC primary energy and intensity, the horizontal slits upstream of the DHSTB01 momentum-selecting dipole should be opened
This increases the momentum spread and thus the horizontal spot size downstream of the DHSTB02 dipole, due to the dispersion

## Slide 4: Test 16 febbraio 2016
LINAC 700 MeV, 40 ns
Linea BTF, elettroni, 600 MeV
N=4000-4500
TB2=25.5/26.0
TB4=22.0/19.0

## Slide 5: Timepix imaging detector
Log scale
1.4×1.4 cm2
55 mm pitch

## Slide 6
Linear scale

## Slide 7
x
y
40*0.055=+/-1.1 mm flat
s=0.850
+/-0.7 mm flat
s=0.720

## Slide 8: More tests in single particle mode

## Slide 9: Wide area silicon micro-strip tracker
In collaboration with INSULAB
M. Prest, A. Berra
“AGILE” type Silicon micro-strip detectors
Single sided, 9.5×9.5 cm2 area, 4×410 mm thickness, 242 mm readout pitch

## Slide 10: Track angles
x1,y1
x2,y2
qy (rad)
d=23 cm
qx = (x2-x1)/d
qy = (y2-y1)/d
qx (rad)

## Slide 11
-36.6 mrad ≈ -2°
average horizontal angle
x1-xcenter1
qx-qx0
x1 (cm)
qx (rad)
qx – x correlation
due to divergence
5 mrad/cm
Dbend = 2 m
xA
xB
qB
qA
Dbend

## Slide 12
x1 (cm)
qx (rad)
After divergence correction
qx (rad)
X0(Si) = 9.36 cm
4×410 mm = 1.75%
q0 = 0.432/p(MeV)
X0(Be) = 35.28 cm
500 mm = 0.14%
Totally dominated by multiple scattering

## Slide 13
qx (rad)
qy (rad)
x1 (cm)
y1 (cm)
450 MeV

## Slide 14
x1 (cm)
y1 (cm)
qx (rad)
197 MeV
qx (rad)
qy (rad)
qx (rad)
qy (rad)

## Slide 15: Electron/Positron LINAC mode
Impact of DAFNE running

## Slide 17: Focussing

## Slide 18: PADME in BTF (present)

## Slide 19: PADME in BTF (future)