## Slide 1: PADME Ecal status
Mauro Raggi
PADME general meeting Frascati, 2 March 2015

## Slide 2: The PADME photon veto system
ECal
SAC
(small angle calorimeter)
Geometrical defintion
6 cm q=20 mrad
28.5 cm q=93 mrad
Good gamma defintion
9 cm q= 30 mrad
24 cm q= 80 mrad

## Slide 3: ToyMC BG studies
Detector | Angle | Name
Small angle Calo | 0-20 mrad | NSAC
Electromagnetic Calo | 20-80 mrad | NCal
Large angle Veto | 80-110 mrad | NLAV
Lost | >110 mrad | Nlost
Detector acceptance
Ecal
LAV
SAC
Lost
Target
Define the layout of the photon veto system of the PADME experiment on the basis of rejection factors for gg and ggg BG
Uses 100K e+e- ->gg generated using CalcHep program
Uses 1M e+e- ->gg(g) generated using CalcHep program
  Provides kinematics distribution of the 3 final state gamma
  Still to be implemented angular correlation with primary positron in MC and beam spot size

## Slide 4: The 2g background kinematic
Ecal acc
Ecal acc
Ecal good g
Ecal good g

## Slide 5: After applying the 1g cut
Pure geometry
1 good gamma:
1g in 30<q<80 mrad
10<Eg<500 MeV
NSAC+Ncal
Ncal+LAV
NSAC+Ncal+LAV
Ncal

## Slide 6: 3g background kinematics

## Slide 7: With standard 1g definition
Ecal + SAC always contain at least 2 gammas if Ecal has a good one Ecal +LAV has a 58% inefficiency! LAV does’nt help that much.
Pure geometry
1 good gamma:
1g in 30<q<80 mrad
10<Eg<500 MeV
NSAC+Ncal
Ncal+LAV
NSAC+Ncal+LAV

## Slide 8: Changing acceptance
Two gamma BG can be reduced to 0 just by using the Ecal if Ecal acceptance is properly defined
At least 2 of the 3 gamma background can be detected with a full angular coverage of q<65 mrad (ECal+SAC)
Minimum energy in the SAC is not that relevant in the SAC inefficiency

## Slide 9: SAC energy distributions
Energy distribution in the sac under the condition:
(GisGood==1. && NClusters==1. && NSAC<2)
Eg distribution in the sac
from 3g
Eg distribution in the sac
from Bremsstrahlung
20749
270096
Only about 7.7% of the IB photon with E>300MeV
Need a detector blind to photons below 100 MeV

## Slide 10: Study of veto efficiency due to timing
Assuming the system has a timing resolution in the difference Ecal-SAC of the order of 500ps with small dependence from the energy
  Ecal <700 ps per crystal
  SAC <300 ps per crystal
We can estimate the effect of missing gamma due to timing by hit and miss technique once a inefficiency is established
  Obtain BG estimates for the full 1e13 run.
The inefficiency is related to the timing window of the veto.
  We can estimate random veto probability per single photon

## Slide 11: Veto Ineff vs time window
3.3 ns window
3.8 ns window
4.4 ns window
3.5 ns window
Ineff SAC | BG acc | NBG 1e13 | Twind in ns | Veto prob 1g
1e-3 | 6.2e-5 | 372 | 3.3 | 8.2% in 40ns
5e-4 | 4.0e-5 | 240 | 3.5 | 8.75% in 40ns
1e-4 | 3.2e-5 | 192 | 3.8 | 9.5% in 40ns
1e-5 | 1.4e-5 | 84 | 4.4 | 11% in 40ns

## Slide 12: Possible Pbgl SF57 based SAC
Very fast signal to cope with very high rate
  Rate up to 5-10 cluster in 40 ns expected
Minimum Eg to detect > 50 MeV
  No need for very high LY
Good time resolution (<300ps)
Why don’t we us a Cherenkov radiator??
  NA62 reused ex OPAL SF57 block
Inefficiency for electrons at BTF

## Slide 13: Ecal plans

## Slide 14: L3 BGO and PADME test beam
L3 collaboration
PADME

## Slide 15: Calorimeter photosensors
20x20mm2 crystals with Hamamatsu APD S8664-1010
  Quoted price 315 euro/pcs (total cost 700 pcs 220K€)
  After the test beam we know they are not ideal solution
    Gain too small ~200 + G=300 on FE give a lot of noise 6x104
We now have other 6pcs ordered from Hamamatsu in November
  Total of 16 pcs can equip a 4x4 matrix need to be tested and calibrated
HZC Photonics XP1911-XP1912 identical to orginal Photonis
  Quoted price very cheap at the level of the APD
  Several interaction but still difficult to place and order
The XP1911 could be the baseline solution for Ecal but:
  Quality of the PMT to be verified
  Interaction with the firm rather difficult so far.
  Do we know any Chinese?
10x10mm
PMT solution
APD solution

## Slide 16: Ecal Schedule
Delay foreseen in the crystal recovery procedure
  We still don’t have the crystals in our hands
Milestone in autumn of 2016 for the photosensor choice need successful July test beam!

## Slide 17: Test beam in 2016

## Slide 18: ECAL prototype mechanics

## Slide 19: July test beam setup
Need to have both Ecal readout (APD PMT) fully operational
  25 PMTs and 16 APD with proper readout electronics.
  Need calibrated PMT APD and crystal (radioactive source)
Need an external tracking system to select single electron
  Study spatial resolution wrt to independent measurement
Need external precise timing to measure time resolution of Ecal
  Positron veto bars?
  Measure both single crystal and cluster time resolution
Trigger = (beam & Pveto) OR random
Pveto
Ecal prototype
Tpix3?
Positron beam

## Slide 20: Crystal characterization setup
We need to start calibrating crystals with radioactive Co60 to measure light yield and minimum energy threshold.
At LNF there is a dedicated area where radioactive sources are accessible. I already discussed with the head of HEP division the possibility of installing a permanent PADME test stand.
We have to book a period and start working soon with cobalt.
Need to optimize wrapping, optical polishing of lateral surface, optical coupling to PMT/APD.
Trigger crystal
Crystal to test
CO
Co60
FO
V1742 Trig In
V1742 Analog In
V1742 Analog In
Discr
g1
g2

## Slide 21: Update from test data analysis

## Slide 22: Improving pedestal distribution
Fit 980 points empty event

## Slide 23: Test beam study

## Slide 24: Corrected position evaluation
Old version

## Slide 25: Timing study
Landau
Pol2

## Slide 26: Conclusions
ee->gg background can be rejected just using Ecal
ee->gg(g) background needs an angular coverage up to 65 mrad
Calorimeter position and geometry almost finalized
  Sensitivity comparison required by INFN as milestone
  Acceptance for recoil photon up to 80 mrad can be achieved
Timing is a crucial aspect of the Veto system
  The efficiency could be limited by the random veto probability more than from the detector performance.
OPAL lead glass SF57 is a possible candidate for SAC
  LY to be estimated by G4 simulation. Is a test in July possible?
Progress on test beam pedestal study and timing