## Slide 1: Lothar Strüder and Gerhard Lutz December – 5, 2016 Pavia
and
Integrated Front End Electronics for High Resolution Silicon Detectors
JFETs in a CMOS process
In Memoriam: Pier Franco Manfredi

## Slide 2
Outline
Parallel Readout of JCCDs (pnCCDs)
JFETs in the CAMEX ASIC
Science driven implementation
The ongoing succes of XMM-Newton
More satellite missions to come
X-ray FELs need it as well
Synchrotrons love it
pn CCDs in STEMs
X-ray color camera
Adaptive Optics
. . . . . and many more
The future of JFETs in radiation detection

## Slide 3
and
Lothar Strüder
Presented @ the 3rd Pisa meeting in 1986

## Slide 4
and
Lothar Strüder

## Slide 6
Very first publication about the column parallel readout of CCDs: The MPI/AIT X-ray imager (MAXI) – high speed pnCCDs for X-ray detection L. Strüder et al., NIM A(288) 1990, p 227-235

## Slide 7
Schematic building blocks of the first CAMEX for the pnCCD readout
From: The MPI/AIT X-ray imager (MAXI) – high speed pnCCDs for X-ray detection L. Strüder et al., NIM A(288) 1990, p 227-235

## Slide 9
and
Lothar Strüder

## Slide 10: CAMEX analog signal processor
CAMEX ASIC (CMOS Analog Multiplexing): tailor-made for eROSITA CCD
JFET-CMOS process, 5 V, 0.8 µm
128 readout channels filtered in parallel
1 or 2 analog output nodes (selectable)
8-fold correlated double sampling
internal shift register sequencer
gain & bandwidth of the ASIC can be changed by digital programing
  (16 gain settings, 8 bandwidth settings)

## Slide 11
and
Lothar Strüder
3rd European Symposium on semiconductor detectors, MPI for Physics, Munich 1983

## Slide 12
Device
  Monolithic array
  of 12 pnCCDs
  200 x 64 pixels each
  pixel size
  150 x 150 mm2
  6 x 6 cm2 area
  4“ wafer
  280 mm thick
  Common entrance
  window
Performance
  5 e- ENC
  Readout time
  4.5 ms
  Integration time
  100 ms
  Energy resolution
  150 eV FWHM @ 5.9 keV
XMM EPIC pnCCD

## Slide 13
XMM – Newton was launched on
Dec. 10 1999
from Kourou
after 14 years of preparation.
Major contributions for EPIC:
Germany
UK
ESA
France
Italy
Apogee: 120.000 km
Perigee: 7.000 km
48 hour orbit
40 hours of observation
8 hours of radiation belt
start @ max. of solar cycle

## Slide 15
and
Lothar Strüder

## Slide 16
Chemical Elements in the Virgo Cluster of galaxies
Böhringer et al.
16

## Slide 19
The European Photon Imaging Camera
on XMM-Newton: The pn-CCD camera
Plus 380 more citations in
technical journals
The scientific harvest of the pnCCD camera development

## Slide 20
∆E = 120.30 eV
FWHM: 38.9 eV
E = 90 eV
➩ 25 ± 1.7 e-h pairs
ENC = 2.5 e- (rms)
t
r
i
g
g
e
r
t
h
r
e
s
h
o
l
d
30 eV

## Slide 21: Erosita, svom
Launch in 2018 from Baikonour
e R O S I T A

## Slide 22
More projects with pnCCDs
Two 1024 x 1024 systems for LCLS, SCSS and XFEL in 2009, 2048 x 2048 formats in 2017
2 D X-ray detectors for X-ray generation with
Attosecond IR lasers (2018)
Seven 2 x 384 x 384 pnCCDs on board of the e ROSITA Mission (2018)
Wave Front Sensors @ LBT in Arizona (2014)
22

## Slide 23
Imaging of X-rays at LCLS
PS1: Membrane protein photosystem I, typical size: 100 nm to 1 µm
Henry Chapman et al., Nature 470, 73–77 (03 February 2011)
water jet

## Slide 24
nature 470, 73–77 (03 February 2011)

## Slide 25
Tomas Ekeberg et al., nature, DOI: 10.1038/sdata.2016.60

## Slide 26
R. Koopmann et al., Nature Methods 9(3), 259 -262, 2012, In vivo crystallization and serial femtosecond crystallography
of cathepsin B from the protozoan parasite Trypanosoma brucei
26

## Slide 27
In situ analysis of polycrystalline metals at the Synchrotron at ESRF and BESSY
1
2
Position 1
Position 2
A. Abboud, et al., Rev. Sci. Instrum. 85, 113901 (2014) S. Send, et al., J. Appl. Cryst. (2016). 49, 222–233

## Slide 28
pnCCD as a (S)TEM Camera

## Slide 29
Ptychography Results in a STEM
Carbon nanotube with fullerenes inside
H. Yang, … H. Ryll, et. al., ‘Simultaneous atomic-resolution electron ptychography and Z-contrast imaging of light and heavy elements in complex nanostructures’. nature Communications 7, 2016

## Slide 30
Interference Pattern @ 300 keV
30

## Slide 31: Color x-ray camera
pnCCD
48 µm pixel size
264 x 528 pixel
450 µm fully sensitive Si
1.200 frames per second (4.800 with binning)
3 electrons (rms) readout noise
∆E6keV ≤ 150 eV (FWHM)
∆E0,5keV ≤ 65 eV (FWHM)
up to 1 x 106 counts per second
4224 x 8448 resolution points
Energy range: 0.1 keV to 50 keV

## Slide 32: Wave-front sensor in adaptive optics systems LBT in Arizona installed in 2014
Without AO
With AO
O. Xivry et al., doi.org/10.13009/AO4ELT2/2011.032

## Slide 33
and
1998 in Schloss Elmau

## Slide 34: 2009 in Wildbad Kreuth

## Slide 35
2010 at BNL

## Slide 36
Pier Franco Manfredi has left deep traces in Munich
ASIC development with Gerhard Lutz over more than ten years
Noise Analysis for the CMX type mixed signal ASICs
Development of a CMOS compatible JFETs
Applications in many different fields were stimulated by his work