## Slide 1: The CERN n_TOF facility: a unique tool for nuclear data measurement
Federica Mingrone
on behalf of the n_TOF Collaboration
CNR*15 – Tokyo, Tuesday 22nd October 2015

## Slide 2: The CERN accelerator complex
CERN: European Organization for Nuclear Research (Geneva, Switzerland)
Since 1954
Various accelerator complex
Most recent discovery:
2012 Higgs Boson

## Slide 3: The n_TOF facility @ CERN
CERN: European Organization for Nuclear Research (Geneva, Switzerland)
Since 1954
Various accelerator complex
Most recent discovery:
2012 Higgs Boson
Netron Time Of Flight facility: n_TOF

## Slide 4: The n_TOF facility @ CERN
CERN: European Organization for Nuclear Research (Geneva, Switzerland)
Since 1954
Various accelerator complex
Most recent discovery:
2012 Higgs Boson

## Slide 5: n_TOF Timeline
Concept by C.Rubbia
CERN/ET/Int. Note 97-19
1997
Proposal
submitted
Aug 1998
Phase II
Isotopes
Capture: 14
Fission: 3
(n,cp): 2
2009 - 2012
Upgrades:
Borated-H2O
Class-A
Second Line
2010
Construction
started
1999
2001-2004
Phase I
Isotopes
Capture: 25
Fission: 11
1995-1997
TARC experiment
Feasibility
CERN/LHC/98-02+Add
May 1998
2000
Commissioning
Problem Investigation
2004-2007
New Target
construction
2008
Commissioning
May 2009
July 2014
Commissioning
EAR2
Design and
Construction
2011
2015
Phase-3
1996
2015

## Slide 6: The n_TOF facility: The Pb spallation target
Proton beam
Neutrons to EAR2
Neutrons to EAR1
Pb
“Moderator” (4 cm)
Cooling (1 cm)
20 GeV/c
Dimensions: d=60 cm, h=40 cm
Intensity in dedicated mode of 7×1012 20 GeV/c protons/pulse
~ 400 FAST (MeV-GeV) neutrons per proton @ target
  Moderator layer of 5 cm (energy spectrum from meV to GeV):
  EAR-1: 1 cm of normal water + 4 cm 10B-water (H2O + 1.28% H3BO3)
  EAR-2: 5 cm of normal water

## Slide 7: The n_TOF facility: Beam lines
EAR-1:
Horizontal flight path of 184.2 m
Both beam lines have:
1st collimator for halo cleaning and first beam shaping
Filter station
Magnet to minimize the charged particle background
2nd collimator for beam shaping
EAR-2:
Vertical flight path of 18.2 m

## Slide 8: The n_TOF facility: Main features
 | EAR-1 | EAR-2
Wide energy range | 25 meV<En<1 GeV | 25 meV<En<300 MeV
Extremely high instantaneous neutron flux | 105 n/cm2/pulse | 106 n/cm2/pulse

## Slide 9: The n_TOF facility: Main features
 | EAR-1 | EAR-2
Wide energy range | 25 meV<En<1 GeV | 25 meV<En<300 MeV
Extremely high instantaneous neutron flux | 105 n/cm2/pulse | 106 n/cm2/pulse
Low repetition rate | <0.8 Hz (1 pulse/2.4 s maximum) | 
High resolution in energy | DE/E=10-4 (En < 10 keV) | DE/E=10-3 (En < 10 keV)
Unique facility for measurements of radioactive isotopes and low cross-sections:
Branch point isotopes (astrophysics)
Actinides (nuclear technology)

## Slide 10: The n_TOF facility: Class-A laboratories
Work Sector Type A: use of non-encapsulated radioactive samples allowed (since 2010 in EAR-1, since 2014 in EAR-2)

## Slide 11: The n_TOF facility: Detectors
Total Absorption Calorimeter (TAC)
Scintillators
Parallel Plate Avalanche Chamber (PPAC)

## Slide 12: The n_TOF facility: Detectors
MicroMegas
Silicon sandwich
Courtesy to Massimo Barbagallo

## Slide 13: The n_TOF facility: Physics cases
NUCLEAR TECHNOLOGIES – ADS, Gen-IV and Th/U fuel cycle: Neutron capture and fission cross sections of Actinides in the thermal (meV), epithermal (eV-keV) and fast (MeV) energy regions.
The n_TOF Collaboration:
30 Research Institutions from Europe, Asia and USA
Source: Nuclear Energy Today © OECD/Nuclear
Energy Agency 2012

## Slide 14: The n_TOF facility: Physics cases
NUCLEAR TECHNOLOGIES – ADS, Gen-IV and Th/U fuel cycle: Important Results
F. Mingrone et al., Measurement of the 238U Radiative Capture Cross Section with C6D6 at the CERN n_TOF Facility, Nuclear Data Sheets 119 (2014) 18-21
D. Tarrio et al., Measurement of the angular distribution of fission fragments using a PPAC assembly at CERN n_TOF, NIMA 743, 79-85 (2014)
L.S. Leong, to be published
A. Tsinganis et al., Measurement of the 242Pu(n,f) Cross Section at the CERN n TOF Facility, Nuclear Data Conference, New York 2013
Data analysis ongoing

## Slide 15: The n_TOF facility: Physics cases
The n_TOF Collaboration:
30 Research Institutions from Europe, Asia and USA
NUCLEAR ASTROPHYSICS – stellar nucleosynthesis: Neutron capture and (n,a) cross sections of stable and unstable isotopes playing a role in the s- and r-processes and in the Big Bang nucleosynthesis (100 eV to 500 keV)
Y=He/(H+He)
HST/NASA

## Slide 16: The n_TOF facility: Physics cases
NUCLEAR ASTROPHYSICS – stellar nucleosynthesis: Important Results
M. Mosconi et al., Neutron physics of the Re/Os clock. I. Measurement of the (n,g) cross sections of 186,187,188Os at the CERN n_TOF facility, Phys. Rev. C 82 (2010) 015802 (and the two subsequent publications)
Resolved resonance region
Unresolved resonance region
Maxwellian Average Cross Sections (MACS)

## Slide 17: The n_TOF facility: Physics cases
NUCLEAR ASTROPHYSICS – stellar nucleosynthesis: Important Results
M. Mosconi et al., Neutron physics of the Re/Os clock. I. Measurement of the (n,g) cross sections of 186,187,188Os at the CERN n_TOF facility, Phys. Rev. C 82 (2010) 015802 (and the two subsequent publications)
Resolved resonance region
Unresolved resonance region
Maxwellian Average Cross Sections (MACS)
Age of the Universe from nuclear cosmocronometer: 14.9 ± 0.8 ± 2 Gyr
Reduced uncertainty due to nuclear data

## Slide 18: The n_TOF facility: Physics cases
NUCLEAR ASTROPHYSICS – stellar nucleosynthesis: Important Results
C. Lederer et al., Neutron Capture Cross Section of Unstable 63Ni: Implications for Stellar Nucleosynthesis, Phys. Rev. Lett. 110 (2013) 022501
Age of the Universe from nuclear cosmocronometer: 14.9±0.8±2 Gyr
Reduced uncertainty due to nuclear data
M. Mosconi et al., Neutron physics of the Re/Os clock. I. Measurement of the (n,g) cross sections of 186,187,188Os at the CERN n_TOF facility, Phys. Rev. C 82 (2010) 015802 (and the two subsequent publications)

## Slide 19: The n_TOF facility: Physics cases
The n_TOF Collaboration:
30 Research Institutions from Europe, Asia and USA
BASIC NUCLEAR PHYSICS – levels densities, g-ray strength functions and angular distributions: Time-of-Flight measurements with dedicated detectors providing valuable information on basic nuclear physics quantities.
(n,cp) reactions
Silicon detectors
mMegas
(n,g) reactions
C6D6 scintillators
TAC
(n,f) reactions
PPAC

## Slide 20: (n,g) reactions
(n,g) measurements with C6D6 scintillators
  Optimized for a low neutron sensitivity (i.e. sensitivity to background from scattered n)
  Only one g ray detected per event
    Total Energy Detection Technique with Pulse Height Weighting Technique (PHWT)
EAR-1
EAR-2
EAR-1 Phase-2

## Slide 21: (n,g) reactions
(n,g) measurements with C6D6 scintillators: 25Mg(n,g)
Resonance Shape Analysis: simultaneous analysis of transmission and capture data

## Slide 22: (n,g) reactions
Spin assignment and constraints for 22Ne(a,n)25Mg
Resonance Shape Analysis: simultaneous analysis of transmission and capture data
22Ne(α,n)25Mg reaction:
Main source of neutrons for the s-process nucleosynthesis
Extremely difficult to measure (very low cross section)
Reaction rate very uncertain because of the poorly known property of the states in 26Mg. From neutron measurements the Jπ of 26Mg states can be deduced
(n,g) measurements with C6D6 scintillators: 25Mg(n,g)

## Slide 23: (n,g) reactions
Spin assignment and constraints for 22Ne(a,n)25Mg
Resonance Shape Analysis: simultaneous analysis of transmission and capture data
Only natural-parity states in 26Mg can participate in the 22Ne(α,n)25Mg reaction
(n,g) measurements with C6D6 scintillators: 25Mg(n,g)
Element | Jπ
22Ne | 0+
4He | 0+
Jπ = 0+, 1-, 2+, 3-, 4+ …

## Slide 24: (n,g) reactions
Spin assignment and constraints for 22Ne(a,n)25Mg
Resonance Shape Analysis: simultaneous analysis of transmission and capture data
Only natural-parity states in 26Mg can participate in the 22Ne(α,n)25Mg reaction
(n,g) measurements with C6D6 scintillators: 25Mg(n,g)
States in 26Mg populated by 25Mg+n reaction:
s-wave Jπ= 2+, 3+
p-wave Jπ= 1-, 2-, 3-, 4-
d-wave Jπ = 0+, 1+, 2+, 3+, 4+, 5+

## Slide 25: (n,g) reactions
Spin assignment and constraints for 22Ne(a,n)25Mg
Resonance Shape Analysis: simultaneous analysis of transmission and capture data
(n,g) measurements with C6D6 scintillators: 25Mg(n,g)
Previous evaluation
ER=72 keV, Jπ=2+
ER=79 keV, Jπ=3+

## Slide 26: (n,g) reactions
Spin assignment and constraints for 22Ne(a,n)25Mg
Resonance Shape Analysis: simultaneous analysis of transmission and capture data
(n,g) measurements with C6D6 scintillators: 25Mg(n,g)
This work
ER=72 keV, Jπ=2+
ER=79 keV, Jπ=3-
Previous evaluation
ER=72 keV, Jπ=2+
ER=79 keV, Jπ=3+

## Slide 27: Summary
The n_TOF facility at CERN since 2001 is at the cutting edge for neutron induced reaction measurements
Since July 2014 a second experimental area (EAR-2) with unique characteristics for high radioactive samples and low cross section measurements
Several detection system available to investigate the compound nucleus studying (n,g), (n,cp) and (n,f) reactions
Important result assigning constraints on the levels of 26Mg that can be populated by 22Ne(a,n)26Mg reaction (s-process neutron source)

## Slide 28: Thank you for your attention
Federica Mingrone
federica.mingrone@cern.ch

## Slide 29: Backup

## Slide 30: (n,g) reactions
(n,g) measurements with the Total Absorption Calorimeter
  40 BaF2 crystals in a 4p geometry
  Detects the entire g cascade
    Total Absorption Detection Technique
  To decrease the scattered neutron background: spherical neutron absorber around the sample

## Slide 31: (n,g) reactions
(n,g) measurements with the Total Absorption Calorimeter
  To decrease the sensitivity to scattered neutrons: Fission Tagging Technique with mMegas detector

## Slide 32: (n,g) reactions
(n,g) measurements with the Total Absorption Calorimeter
  To decrease the sensitivity to scattered neutrons: Fission Tagging Technique with mMegas detector: 235U(n,g)
Fission tagging efficiency:
Calculated:
By applying different conditions in deposited energy and multiplicity
In different resonances
Courtesy to Javier Balibrea

## Slide 33: (n,g) reactions
(n,g) measurements with the Total Absorption Calorimeter
  To decrease the sensitivity to scattered neutrons: Fission Tagging Technique with mMegas detector: 235U(n,g)
Fission tagging efficiency:
Calculated:
By applying different conditions in deposited energy and multiplicity
In different resonances
Courtesy to Javier Balibrea