## Slide 1
Proton Recoil Telescope
Gianluigi Cosentino

## Slide 2
sezione d’urto della reazione 235U(n,f) @ 10 MeV – 1 GeV
The 235U(n,f) cross section is adopted as a standard at thermal neutron energy and between 0.15 MeV and 200 MeV. Despite the importance of the high-energy region, at present no data exist on neutron-induced fission above 200 MeV, and one has to rely on theoretical estimates.
Thanks to its very wide neutron energy spectrum, which extends from thermal energies up to more than 1 GeV, the n_TOF facility offers the unique opportunity to perform such a measurement for the first time ever, relative to the n-p elastic scattering reaction.
High interest from IAEA on data in this region
Proton Recoil Telescope per la misura della

## Slide 3
Sezione d’urto della reazione 235U(n,f): 10 MeV – 1 GeV
The measurement would be performed by combining such PRT with Parallel Plate Avalanche Counters, operated in coincidence mode, equipped with a sample of 235U.
Telescopio di silici e Scintillatori plastici
Target di polietilene
Misura del flusso di neutroni tramite scattering elastico n-p in un target di polietilene.
To discriminate recoil protons from other light charged particles, e.g. deuterons and tritons

## Slide 4
PRT -> Scintillatore plastico (BC408) & VD

## Slide 5
TEST prototipo @EAR1 - ottobre 2015
10÷15 ns
~50 ns
1GeV ToF – Tgflash ̴ 100ns

## Slide 6
Costruire il PRT con il supporto di simulazioni MC
per coprire il range 10 MeV – 1 GeV
2 silici 300 mm
4 scintillatori plastici BC408 – spessore totale 15.5 cm

## Slide 7
LNS
Sez. Ts
Preparazione misura settembre 2016
Assemblaggio a Trieste – Agosto

## Slide 8
Meccanica LNS

## Slide 9
Assemblaggio al CERN – Settembre

## Slide 10
Chart: Proton Recoil Telescope
| 300µm Si | 300µm Si | 5mm Scint1 | 30mm Scint2 | 60mm Scint3 | 60mm Scint4
Ep=10 MeV | 2.76 | 4.08 | 3.15
Ep=100 MeV | 0.41 | 0.41 | 3.8 | 26.1 | 69.2
Ep=150 MeV | 0.31 | 0.31 | 2.8 | 17.8 | 42.8 | 85.9
Ep=250 MeV | 0.22 | 0.22 | 2 | 12.3 | 25.9 | 28.1
Ep=500 MeV | 0.16 | 0.16 | 1.4 | 8.5 | 17.2 | 17.4
Ep=1000 MeV | 0.13 | 0.13 | 1.1 | 6.8 | 13.6 | 13.7
Eproton | Si 300µm | Si 300µm | Scint1 5mm | Scint2 30mm | Scint3 60mm | Scint4 60mm |  | 
Ep=10 MeV | 2.76 | 4.08 | 3.15 | 0 | 0 | 0 |  | 
Ep=100 MeV | 0.41 | 0.41 | 3.8 | 26.1 | 69.2 | 0 |  | 
Ep=150 MeV | 0.31 | 0.31 | 2.8 | 17.8 | 42.8 | 85.9 |  | 
Ep=250 MeV | 0.22 | 0.22 | 2 | 12.3 | 25.9 | 28.1 |  | 
Ep=500 MeV | 0.16 | 0.16 | 1.4 | 8.5 | 17.2 | 17.4 |  | 
Ep=1000 MeV | 0.13 | 0.13 | 1.1 | 6.8 | 13.6 | 13.7 |  | 
 |  |  | 800 V | 680 V | 700 V | 660 V | HV | 
 |  |  | 5 MeV | 30 MeV | 70 MeV | 90 MeV | Full energy range | 
 |  |  | 300 mV | 70 mV | 50 mV | 70 mV | 137Cs max signal | 
The light yield of BC408 is such that 1 MeV cosmic ray = 1.2 MeV proton |  |  |  |  |  |  |  | 
Impostazione HV usando 137Cs source e cosmic rays:
Rigore scientifico o supercazzole?

## Slide 11
In Linea!!!
(ma funziona…!?)

## Slide 12
n_TOF è un esperimento INFN?