## Slide 1
Outline of Nuclear Astrophysics lecture
- Introduction
principles of stellar structure and evolution
general features of thermonuclear reactions
- Reaction rates in stellar environments
Cross section and reaction rate
Non-resonant reactions and the astrophysical S factor
Resonant reaction
- Application with stable beam
direct approaches (Underground Measurement-Recoil Mass Separator)
experimental techniques & examples
Alba Formicola

## Slide 2
Solar system abundances
Foundation of modern theory of
nuclear astrophysics:
Burbidge, Burbidge, Fowler and
Hoyle (1957)
Cameron (1957)
Nobel prize to Willy Fowler (1983)
Mass number A=N+Z
charged
particles
neutrons
Attempts to put together table
for elements and isotopes
combining different data sources
Suess & Urey, Rev. Mod. Phys.
28, 53 (1956)
Notes: Numero di massa Neutroni +protoni
Minimo Li-Be e B
Massimi H,He minimo, C , minimo Ca Fe Pb
Shown are the elemental abundances in the solar system, the abu. are normalized to Si at 10^6.
It is visible a landscape with a variety of hill and valley.
EXPERIMENTAL AND THEORETICAL NUCLEAR ASTROPHYSICS;
THE QUEST FOR THE ORIGIN OF THE ELEMENTS

## Slide 3
Red giant stars:
HHe via CNO cycles in
H shell surrounding He core
Horizontal branch stars:
HeC, O in core
HHe in shell
Main sequence stars:
HHe via pp chains in core
Globular cluster M 10
Credner & Kohle, Sternwarte Bonn
Accurate nuclear physics
information is crucial for
understanding of stars
How do other stars produce
energy?
How do they evolve?

## Slide 4
Direct evidence for stellar nucleosynthesis
(i) Solar neutrinos
(ii) g-ray astronomy
COMPTEL map
of 1.8 MeV photon
intensity
radioactive (‘live”) 26Al has bee observed in the Galaxy
[see image on right]
T1/2(26Al)=720,000 years; time scale of Galactic chemical
evolution: 109 years
from photon intensity: 1-2 solar masses of 26Al in Galaxy
conclusion: nucleosynthesis is ongoing
first direct test of how Sun generates energy was performed by detecting
solar neutrinos [from 8B decay] at the Homestake gold mine, SD
disagreement of predicted and measured neutrino flux: “solar neutrino problem”
[giving later rise to discovery of neutrino oscillations]
Nobel prize to Ray Davis (2002)
Ray Davis
(1914-06)

## Slide 5: Birth of stars in Interstellar Clouds
Consider a region
radius R, total mass M,
mean molecular weight m,
temp.T
Clouds of low T and high r require smaller total masses
to become gravitationally unstable.
Jeans criterion
Such process could lead to the birth of individual stars.
The life of a star is composed by alternative stages of gravitational and nuclear energy generation.

## Slide 6: The origin of the chemical elements
INTERSTELLAR GAS AND DUST
STAR
EJECTION, EXPLOSION
MIXING NUCLEAR REACTION
ABUNDANCE OF ELEMENTS ENERGY GENERATION, ELEMENT SYNTHESIS
Milk Way age ->15 billion years
CONDENSATION
Notes: MATTER IS TRANSFERRED BACK AND FORTH BETWEEN STARS AND INTERSTELLAR GAS

## Slide 7
Nuclear Burning in Stars
is characterized by low energy reaction sequences at different temperature and density conditions:
pp-chains,
CNO cycles
triple alpha process
s-process
Carbon/Oxygen fusion
producing energy for maintaining stability, and provide seed for subsequent explosion in novae, supernovae, and X-ray bursts!
Measurements:
Direct measurements with background suppression techniques
(coincidence rejection, underground, inverse kinematics)
Indirect methods (Transfer “surrogate” reactions, Trojan horse method)
log (c)
O-ignition
Si-ignition
log (Tc)
H-ignition
He-ignition
C-ignition
7
8
10
9
0
4
2
8
10
4
6
Ne-ignition
Notes: reactions with smallest Coulomb barrier proceed first, stabilizing star
when nuclear fuel is consumed, star contracts gravitationally, T increases
next available nuclear fuel (ashes of previous stage) burns, stabilizing star

## Slide 8
Ecm (MeV)
Why does the cross section fall drastically at low energies?
Where is the peak in the cross section coming from?
[unit: 1 barn=10-24 cm2]
Ecm (MeV)
experimental
experimental
2. Nuclear Reactions
Cross sections
g

## Slide 9
reaction mechanisms
Reaction mechanisms: I. direct (non-resonant) process
example: radiative capture A(x,g)B
direct transition into a bound state
A+x
B
Q
g
Ecm
one-step process
reaction cross section proportional to single matrix element
can occur at all projectile energies
smooth energy dependence of cross section
Hg = electromagnetic operator describing
the transition
other direct processes: stripping, pickup, charge exchange, Coulomb excitation

## Slide 10
two-step process
g
B
G
2. Compound nucleus decay
(to lower excited states)
reaction mechanisms
example: resonant radiative capture A(x,g)B
compound formation
probability  Gx
compound decay
probability  Gg
A+x
B
Sx
Ecm
Er
1. Compound nucleus formation
(in an unbound state)
Q
reaction cross section proportional to two matrix elements
only occurs at energies Ecm ~ Er - Q
strong energy dependence of cross section
N. B. energy in entrance channel (Q+Ecm) has to match excitation energy Er of resonant state,
however all excited states have a width  there is always some cross section through tails
Reaction mechanisms: II. resonant process
Notes: A mechanisms in which an excited state Er of the compound nucleus is the first formed in the entrance channel which decay to lower excite states.

## Slide 11
interacting nuclei in plasma are in thermal equilibrium at temperature T
also assume non-degenerate and non-relativistic plasma
Maxwell-Boltzmann velocity distribution
with
reduced mass
v = relative velocity
stellar reaction rate
need: a) velocity distribution f(v)
b) cross section s(v)
a) velocity distribution
example: Sun T ~ 15x106 K  kT ~ 1 keV
3. Thermonuclear Reactions
Notes: Relative velocity between interacting nuclei
Schematically MB energy distribution of a gas characterized by the temperature T.
The distribution has a maximum at KT

## Slide 12
b) cross section
no nuclear theory available to determine reaction cross section a priori
cross section depends sensitively on:
  the properties of the nuclei involved
  the reaction mechanism
and can vary by orders of magnitude, depending on the interaction
in practice, need experiments AND theory to determine stellar reaction rates
1 barn = 10-24 cm2 = 100 fm2
reaction cross sections
Reaction | Force |  (barn) | Eproj (MeV)
15N(p,)12C | strong | 0.5 | 2.0
3He(,)7Be | electromagnetic | 10-6 | 2.0
p(p,e+)d | weak | 10-20 | 2.0
examples:
3. Thermonuclear Reactions

## Slide 13
example: direct capture
Cross Section expressions for direct (non-resonant) reactions
A + x  B + g
“geometrical factor”
de Broglie wavelength
matrix element
contains nuclear
properties of interaction
probability for barrier penetrability
depends on relative orbital angular
momentum l and energy E
need expression for Pl(E)
factors affecting transmission probability:
    centrifugal barrier (both for charged particles and neutrons)
    Coulomb barrier (for charged particles only)
s = (weak energy dependence) x (strong energy dependence)
S(E) = astrophysical factor contains nuclear physics of reaction
+ can be easily: graphed, fitted, extrapolated (if needed)

## Slide 14
Ecoul ~ Z1Z2 (MeV)
nuclear well
Coulomb potential
V
r
r0
Ekin ~ kT (keV)
kT ~ 8.6 x 10-8 T[K] keV
T ~ 15x106 K (e.g. our Sun)  kT ~ 1 keV
T ~ 1010 K (Big Bang)  kT ~ 2 MeV
energy available: from thermal motion
charged particles
Coulomb barrier
tunnel
effect
reactions occur through TUNNEL EFFECT
during quiescent burnings: kT << Ec
charge-particle reactions
2ph = 31.29 Z1Z2(μ/E)½
m in amu and Ecm in keV
tunneling probability P  exp(-2)
for non-resonant reactions
Cross Section expressions for direct (non-resonant) reactions

## Slide 15
cross sections
S-factors

## Slide 16
Formal reaction theory: Breit-Wigner formula
De Broglie wavelength
spin factor
total width
Partial widths for incoming and outgoing channel
resonance
energy
Used for: - for fitting data to deduce resonance properties
- for “narrow-resonance” thermonuclear reaction rates
- for extrapolating cross sections when no measurements exist
- for experimental yields when resonance cannot be resolved

## Slide 17
For protons/neutrons:
C2S: probability that nucleons will arrange themselves in a “residual nucleus
+ single particle” configuration [“spectroscopic factor”]
2: probability that single nucleon will appear on nuclear boundary
[“dimensionless reduced single particle width”; Iliadis, NPA 618, 166 (1997)]
Pc: probability that single nucleon will penetrate Coulomb and centripetal
barriers [“penetration factor”; strongly energy-dependent! see later]
A partial width can be factored into 3 probabilities:
probability per unit time for formation or decay of a resonance (in energy units)
What are “partial widths”?

## Slide 18
Special case #1: reaction rates for smoothly varying S-factors (“non-resonant”)
“Gamow peak”
Represents the energy range over which
most nuclear reactions occur in a plasma!
Location and width of Gamow peak:
Gamow peak
tunnelling through
Coulomb barrier
 exp(- )
Maxwell-Boltzmann
distribution
 exp(-E/kT)
relative probability
energy
kT
E0
E0
Notes: For a reaction 0 + 1 2 + 3 we find from the definition of  (see earlier) a
“reaction rate”:

## Slide 19
reaction | Coulomb barrier (MeV) | E0 (keV) | area under Gamow peak ~ <sv>
p + p | 0.55 | 5.9 | 7.0x10-6
 + 12C | 3.43 | 56 | 5.9x10-56
16O + 16O | 14.07 | 237 | 2.5x10-237
Examples: T ~ 15x106 K (T6 = 15)
E0 = f(Z1, Z2, T)
varies depending on reaction and/or temperature
most effective energy region for thermonuclear reactions
Gamow peak:
energy window of astrophysical interest
E0 ± E0/2
separate stages: H-burning
He-burning
C/O-burning …
STRONG sensitivity
to Coulomb barrier
from: M.Aliotta, Russbach lectures on Nuclear Astrophysics

## Slide 20
Gamow peaks
Important aspects:
(i) Gamow peak shifts to higher energy
for increasing charges Zp and Zt
(ii) at same time, area under Gamow
peak decreases drastically
Conclusion: for a mixture of different nuclei in a plasma, those reactions with
the smallest Coulomb barrier produce most of the energy and are
consumed most rapidly (stellar burning stages)
from: C.Iliadis, LNGS lectures on Nuclear Astrophysics

## Slide 21
Special case #2: reaction rates for (very) “narrow resonances” (i constant over total )
Breit-Wigner formula (energy-independent partial widths)
“resonance strength” :
proportional to area under
narrow resonance curve
resonance energy needs to
be known rather precisely
[takes into account only rate
contribution at Er]
[For influence of uncertainties in Er and  on rate: see Thompson & Iliadis, NPA 647, 259 (1999)]

## Slide 22
Special case #3: reaction rates for “broad resonances”
Breit-Wigner formula (energy-dependent partial widths)
rate can be found from numerical integration
24Mg(p,)25Al at T=0.05 GK
There are two contributions to the rate:
(i) from “narrow resonance” at Er
(ii) from tail of broad resonance

## Slide 23
Total thermonuclear reaction rate
Need to consider:
non-resonant processes
narrow resonances
broad resonances
subthreshold resonances
interferences
continuum
direct measurements
indirect
every nuclear reaction represents a special case

## Slide 24
The interplay of many different nuclear reactions in a stellar plasma
production
destruction
System of coupled differential equations: “nuclear reaction network”
Solved numerically
[Arnett, “Supernovae and Nucleosynthesis”, Princeton University Press, 1996]
from: C.Iliadis, LNGS lectures on Nuclear Astrophysics

## Slide 25
Hydrostatic Hydrogen Burning: Sun (T=15.6 MK), stellar core (T=8-55 MK),
shell of AGB stars (T=45-100 MK)
4H4He + 2u+2e+ Qeff (26.7 MeV)
reactions are non-resonant at low energies
p+p has not been measured
d+p, 3He+3He, 3He+ have been measured
90% of Sun’s energy produced by pp1 chain
*

## Slide 26
12C and 16O nuclei act as catalysts
branchings: (p,) stronger than (p,)
14N(p,)15O slowest reaction in CNO1
has been measured by LUNA/LENA
solar: 13C/12C=0.01;
CNO1: 13C/12C=0.25 (“steady state”)
T>20 MK: CNO1 faster than pp1
CNO cycles in AGB stars: main source
of 13C and 14N in Universe
Hydrostatic Hydrogen Burning: Sun (T=15.6 MK), stellar core (T=8-55 MK),
shell of AGB stars (T=45-100 MK)

## Slide 27
Helium Burning: Massive stars (T=100-400 MK)
3 reaction cannot be measured directly (±15%)
12C(,)16O slow (rate ±35%), determines 12C/16O ratio
16O(,)20Ne very slow
ashes: 12C, 16O
main source of 12C, 16O, 18O, 22Ne in Universe
neutron source for s-process
Betelgeuse ( Orionis)
Fred Hoyle
(1915-2001)

## Slide 28
Nuclear astrophysics experiments: direct measurements
two nuclei with kinetic energies before reaction:
excited product nucleus after reaction:
a
g
What we need:
accelerated ion beams
targets
detectors
Rlab= ··Ip··Nav/A
pb < s < nb
e ~ 10 %
IP ~ mA
 ~ mg/cm2
event/month < Rlab < event/day

## Slide 29
LOG
SCALE

direct measurements
E0
Ecoul
Coulomb
barrier
(E)
non-resonant
resonance
extrapolation
needed !
CROSS SECTION
Gamow peak: energy window where information on nuclear processes must be obtained
kT << E0 << Ecoul
10-18 barn <  < 10-9 barn
BUT
Procedure: measure (E) over as wide a range as possible, then extrapolate down to E0!
Major experimental difficulties
Er
DANGER OF EXTRAPOLATION !
non resonant
process
interaction energy E
extrapolation
direct measurement
0
S(E)
LINEAR
SCALE
S-FACTOR
-Er
sub-threshold
resonance
low-energy tail
of broad
resonance

## Slide 30
I
N
C
O
N
T
R
O
N
A
Z
I
O
N
A
L
E
F
I
S
I
C
A
N
U
C
L
E
A
R
E
L
N
S
2012
Nuclear astrophysics experiments: direct measurements
- Quiescient burning (essentiallly p and a radiative capture):
E0<<CB; s<pb
i. direct measurments at E=E0
    ii. extrapolation from high energy measurements
    iii. indirect methods (Coul. break-up, delayed activity
    transfer reactions, "trojan horses")
Imply very low background (underground lab)
Imply use of efficient and selective detection apparata
Imply comparison with direct methods and model tuning
Notes: Experimental reaction rates for understanding of
nucleosynthesis, energy production in stars,
solar neutrino problem, theories of stellar evolution

## Slide 31: Stable beam experiments with high beam intensity
Yield measurements with particle and/or gamma detector arrangements
Notes: Just example for typical experiment, beam on target in energy range that corresponds to stellar temperature conditions
Message: The idea was to basically introduce the way we do the measurements for simulating nuclear reactions, by beam on target. It was thought to be a generic facility, now we can use it as generic stable beam facility; what is needed high intensity accelerators, state of the art target and detection equipment to measure the extremely weak signals in strong background.
Comment: that is the first slide on stable beam techniques, maybe afterwards the questions and then the future in form of DIANA

## Slide 32: Why is background a problem?
Background ﬂuctuations ∝ √t
Signal grows ∝ t
Inﬁnite measurement will always give good results
Students need to graduate → reduce background

## Slide 33: Background sources
Primary cosmic rays: mostly protons
Create showers of secondary particles
in atmosphere
In the end muons and neutrons reach surface
http://astro.uchicago.edu/cosmus/projects/aires/
Cosmic rays Natural radioactivity
Natural decay chains: Thorium, Uranium series
Potassium-40
Radon (from decay chains): gaseous
Impact mostly gamma-ray measurements

## Slide 34
40K
214Bi
232Th
214Bi
208Tl
214Pb
Background g-ray
Spectrum on surface
Cosmic rays
Background components
< 3.5MeV
Long-lived natural radioisotopes
Isotopes in natural radioactive decay chains
Cosmogenic and man-made radionuclides
3.5 to ∼ 7 MeV: Neutron-induced, muons Higher: muons

## Slide 35
3 orders of
magnitude!
0.3 m3 Pb-Cu shield suppression
three orders of magnitude below 2MeV
g-ray natural background
surface
underground
underground passive shielding
is more effective since μ flux,
that create secondary γ’s in the
shield, is suppressed
between Eg =7 and 12MeV the bck
suppression factor is 100 times better
than was achieved in laboratories using
active shielding

## Slide 36
Plastic scintillators
Lead shield (2.5 cm)
NaI annulus around target +
HPGe
Muon veto + γγ coincidences
Background reduction:
< 3 MeV 1/3600
> 3 MeV 1/20
Good for low-energy part, high energies hard to actively suppress
Longland et al. 2006, Cesaratto 2011
Status quo on surface

## Slide 37
Laboratory for Experimental Nuclear Astrophysics
Cesaratto et al., Nucl. Instr. Meth. A623, 888 (2010)
Courtesy of
C.Iliadis

## Slide 38
I
N
C
O
N
T
R
O
N
A
Z
I
O
N
A
L
E
F
I
S
I
C
A
N
U
C
L
E
A
R
E
L
N
S
2012
The LUNA 400KV Underground Laboratory
Uterminal = 50 – 400kV
Imax = 250A
E = 0.07keV
Allowed beams:
H+, 4He, (3He)

## Slide 39: Quantity to be determined: reaction rate through cross section measurement
Number of reactions
Target surface density
i.e. “target thickness”
Cross section
Number of projectiles
“beam current”

## Slide 40: Number of projectiles: gas target
thin window gas cell: charge measurement possible

## Slide 41: Windowless gas target
charge exchange: charge measurement does not work
calorimetric technique: determination of current from beam power
usually must be calibrated
using charge measurement
in empty target

## Slide 42: Number of projectiles: together with target thickness
On-line determination
during cross section measurement.
See later

## Slide 43: Target thickness determination
Off line (before or after the c.s. meas.):
  weighing
  energy loss
  active (accelerator based) techniques
    RBS, PIXE, SIMS, ...
On line (during cross section measurement):
  scattering
  nuclear reactions
  etc...

## Slide 44: Target thickness
Gas target
pressure and temperature measurement
no problem with target stability
beam heating effect!
LUNA case study
3He(,)7Be
Solid target
Target thickness and stability through nuclear
Reactions i.e. 17O(p,)18F reaction anodized T2O5
targets ~70% 17O, ~30% 18O
resonance in 18O(p,)19F reaction at 151 keV
A. Caciolli et al., Eur. Phys. J. A, 48, 144 (2012)

## Slide 45: Thick target yield measurement
If thin target preparation or
target thickness determination is problematic
Number of projectiles
Number of reactions
Stopping power
Cross section

## Slide 46: Determination of the number of reactions
Aim: high detection efficiency
In-beam method
  particle detection (alphas, protons, neutrons)
  gamma detection
  recoil separator
  storage ring
Off-line methods
  gamma (or X-ray) detection based activation
  AMS

## Slide 47: Charged particle detection (in beam)
100% intrinsic efficiency
Solid angle to be determined
Background (e.g. elastic scattering) must be avoided
  foil in front of detector
  particle identification (ΔE-E detector)
Angular distribution effect

## Slide 48: Gamma-detection (in-beam)
HPGe detectors
  low efficiency
  high resolution: detailed decay scheme
Scintillator summing crystals
  high efficiency
  low resolution
  only total cross section
HPGe detector array
  high efficiency, high resolution, coincidences
  expensive

## Slide 49
Coincidence-Anticoincidence Detection Apparatus LENA collaboration
Rowland, Iliadis et al., Nucl. Instr. Meth. A 480, 610 (2002)
Longland, Iliadis et al., Nucl. Instr. Meth. A 566, 452 (2006)
Intensity
resonance at 227 keV in 26Mg(p,)27Al, 1mA
singles, no
shielding
-ray energy (keV)
coincidences, no shielding
singles, shielding

## Slide 50
3 orders of
magnitude!
0.3 m3 Pb-Cu shield suppression
three orders of magnitude below 2MeV
g-ray natural background
surface
underground
underground passive shielding
is more effective since μ flux,
that create secondary γ’s in the
shield, is suppressed
between Eg =7 and 12MeV the bck
suppression factor is 100 times better
than was achieved in laboratories using
active shielding

## Slide 51
g
Jrecoil
EB
Direct detection of the recoil nuclei
J g
A
x
B
J max is reached when J g = p/2
x(A,g) B reaction in the laboratory system
angle in respect to the beam
direction of the recoil

## Slide 52: Why Recoil Separator?
Direct detection of produced nuclei
High efficiency, good particle identification
(mostly) Background free
Detecting recoils can perform: Time of Flight, Z-identification, Delayed-Activited detection, Recoil-Coincidence measurements
Technically challenging : design concept and general layout of RMS follows a velocity-rigidity-velocity filtering scheme, quite complicated, i.e. the selection and the transport of the recoils is complicated by their angular and energy spread.
Index Separator efficiency Np,leak/N p,impinging depends on recoil charge state, projectile ion rigidity, energy.
i.e. Np,leak/N p,impinging ≈ 10-15 - 10-18
-

## Slide 53
g-ray
detector
Nrecoils = Nprojectiles Ntarget s T Fqr epart
where T Fqr trasmission and the charge state proability for the selected charge state qr keys requirements of RMS
recoils +
“leaky”
beam ions
gas target
accelerated beam ions

beam ions
+recoils (10-12-18)
Recoil
Mass
Separator
Particle detector
Recoil Mass Separator : working principle
gate
I
N
C
O
N
T
R
O
N
A
Z
I
O
N
A
L
E
F
I
S
I
C
A
N
U
C
L
E
A
R
E
L
N
S
2012

## Slide 54
basic principles
A+aC+g
LENS
Projectiles
TARGET
FILTER
DETECTOR
A/C>1015
for 12C(a,g)16O
coincidence
g-rays
detector
g-rays
prec = pproj momentum conservation!
g-ray emission
-> recoil cone
Recoils
Projectiles
ERNA: Recoil Mass Separator

## Slide 55: Matrix DE/E for the 12C(α,γ)16 O
Run time 18h
Ecm=3914keV
Courtesy of Di Leva’s thesis

## Slide 56: Inverse kinematics with recoil separators

## Slide 57: St. George Separator
HIPPO jet gas target System (HIgh Pressure POint-like gas target)

## Slide 58
14N(p,g)15O: LUNA results
Ex (keV)
6791
6172
5180
0
ECM (keV)
Q = 7297
14N + p
15O
7540

## Slide 59
The age of the oldest Globular Clusters should be increased by about 0.7-1 Gyr.
The lower limit to the Age of the Universe is 14 ± 1 Gyr.
In good agreement with the precise detrmination of WMAP.
14N(p,g)15O: Age of GC

## Slide 60: Nucleosynthesis in He burning
The reactions determines the 12C/16O ratio in our universe! It also defines the late stellar evolution of massive stars, determines white dwarf matter, the ignition of supernovae type Ia, the standard candle for cosmological predictions.
Oxygen-16
12C(,)16O
16O(,)20Ne
4He(2,)12C

## Slide 61: Network for stellar Helium burning

## Slide 62: 12C(a,)16O, the Holy Grail of Nuclear Astrophysics
Level and interference components
from various transitions are reflected in the
total cross section (S-factor) structure!
Uncertainty in low energy extrapolation is helped by a multichannel analysis of reaction 12C(,) and scattering 12C(,)
Nuclear mechanism that gave a consistent rate
with the known carbon-oxgen ratio:
Nonresonant direct-capture process
Nonresonant type of capture into tails of
nearby resonances.
Task:
which waves, s, p or d?
which Jp?
which transition?
Notes: Look at the observed resonances above the a-threshold Erborad 400kev)= 2.42 MeV two subtreshold

## Slide 63
Available textbooks
Nuclear astrophysics
C. Iliadis, Introduction to Nuclear Astrophysics,
C.E. Rolfs and W.S.Rodney, Cauldrons in the Cosmos
Particle , neutron and g-Detector
Radiation Detection and Measurement
G.F.Knoll
Pratical Gamma-ray Spectrometry
G.R.Glimore
Available Master Thesis and PhD thesis in Nuclear Astrophysics in different INFN laboratories and univerisities:
Alba.Formicola@lngs.infn.it

## Slide 64
Experimental Nuclear Astrophysics: very lively research field
stars are huge cauldrons where elements are produced and energy is generated
nuclear reactions take place under many different conditions
quiescent burning governed mainly by reactions between stable nuclei
laboratory investigations pose great challenges to experimentalists
variety of approaches and techniques must be used
stable beam experiments: New Underground facilites and Reocil Mass Separator
Notes: explosive burning governed mainly by reactions with unstable nuclei
unstable beam experiments: new RIB facilities  more beam species and higher intensities