## Slide 1: Laser driven plasma acceleration at PEARL laser system: progress and prospects
A. Soloviev, K. Burdonov, S. N. Chen, A. Eremeev, S. Pikuz, G.V. Pokrovskiy, T.A. Pikuz, G. Revet, A. Sladkov, V. Ginzburg, E. Khazanov, A. Kuzmin, D.Kumar, S. Mironov, R. Osmanov, I. Shaykin, A. Shaykin, I. Yakovlev, M. Starodubtsev, and J. Fuchs

## Slide 2
Cancer treatment
Proton radiography (deflectometry)
ICF diagnostics, Fast ignition
Proton driven sources:
of neutrons:
of isotopes for PAT e.t.c.
C.K.Li et al. PRL 99, 055001 (2007)

## Slide 3: Outline
Ion acceleration: the objectives and applications
The experimental setup
Discussion
The prospects

## Slide 4
Experimental setup
List of diagnostic equipment:
Thomson parabola
RCF stack
FSSR X-ray spectrometer
Basic laser parameters:
λ0 ≈ 910 nm,τ ≈ 60 fs, E ≈ 10 J, P ≈ 160 ТW D ≈ 100 mm, F/4.2, I ≈ 3 × 10^20 W/сm2 С ≈ 2 × 10^8 (1 ns)
1 Shot/20min

## Slide 5
Laser principle scheme

## Slide 6
Experimental setup
List of diagnostic equipment:
Thomson parabola
RCF stack
FSSR X-ray spectrometer
Basic laser parameters:
λ0 ≈ 910 nm,τ ≈ 60 fs, E ≈ 10 J, P ≈ 160 ТW D ≈ 100 mm, F/4.2, I ≈ 3 × 10^20 W/сm2 С ≈ 2 × 10^8 (1 ns)
1 Shot/20min

## Slide 7
Focusing & contrast of the laser pulse
Pic. Focal spot
Pic. Power contrast Mironov
Direct parametric luminescence measurement gives 2*10^8

## Slide 8
Thomson parabola data:
TP scheme

## Slide 9
Proton data: RCF
RCF1
Th= 3.1±0.3 MeV
P. Mora model:

## Slide 10
X-ray diagnostics
IP

## Slide 11
Statistics of the shots

## Slide 12
Numerical simulations
Ion concentration of the target (blue line) at the moment of the main pulse arrival, fitted with
green by exp(x/L) with L = 0.16 µm for the overdense part;
red by exp(x/L) with L = 1.1 µm for the dense part; and
cyan by exp(x/L) with L = 12 µm for the low-dense part

## Slide 13
Conclusions:
The initial OPCPA contrast is appropriate for a high effective energy deposition into the target
Confirmed by:
- the TNSA protons of the cut-off above the 43.3MeV (retrieved from RCF stack)
- the presence of different charge states of C+ and O+ been accelerated (retrieved from the TP) is in a good agreement with RCF data
- the Th =3.1MeV,-extracted from the proton spectra
- the fitting of the continuum as well as the ration between Hea and Lya resonance lines correspond
to the 300eV temperature under the concentration of about~ 2*1023 cm-3
- the traces of the hollow atoms presence on X-ray spectra
From MHD modeling:
- the plasma distribution at the moment of the main pulse arrival is combined of three plasma scale-lengths
-the 300 eV temperature for the cold fraction of the electrons is in a good consistence with the both 1D and 2D MHD-modeling performed
The paper published few days ago:

## Slide 14
Experiments on bio-objects

## Slide 15
Laser ions driven secondary sources
Neutrons
Isotopes

## Slide 16: Tight focusing experiments
Tight focusing for increased intensity has demonstrated higher TNSA energy
  However, open questions remain on role of magnetic fields
  Technology has not been tried for sub 100fs lasers.
Raw print
low-cost production
efforts under way 
Tight focusing experiments:

## Slide 17
Tanks for your time!