## Slide 1: The response of EBT3 films 1H, 12C, 4He, 12O, e-, g clinical beams
in the dose range of 0.4 – 20 Gy
@ CNAO (Pavia), HSR (Milano), CPT (Trento), HIT (Heidelberg)

## Slide 2: Measurements in 2015
CNAO - Pavia (July and November)
  Dose response of EBT3 films:
    Proton Beams 63, 150 and 230 MeV
    Carbon Ion Beams 115 MeV/u and 400 MeV/u;
  Depth Dose in water with proton beam of 150 MeV and carbon ion beam of 400 MeV/u:
    Markus chamber
    EBT3 films;
HSR - Milano (September)
  Dose response of EBT3 films:
    Radiotherapy accelerator
      Photon beams 6 MV and 18 MV
      Electron beams 6 MeV and 12 MeV;
3. HIT - Heidelberg (October)
  Dose response of EBT3 films:
    Proton Beam 150 MeV
    Carbon Ion Beam 150 MeV/u;
4. CPT - Trento (September)
  Dose response of EBT3 films:
      Proton beams 90 MeV and 180 MeV

## Slide 3: EBT3 Dose Response Curves

## Slide 4: Depth Dose Curve (150 MeV protons)

## Slide 5: Depth Dose Curve (400 MeV/u 12C ions)

## Slide 6: Misure dE/dx al Tandem Napoli (2016)
Acceleratore in manutenzione fino ad Aprile
Misure di de/dx in acqua liquida previste Maggio-Giugno
STATO: ACCELERATORE MAI RIMESSO IN FUNZIONE E TUTTORA FERMO

## Slide 7
Misure 2016 ad HIT – 12C, 1H

## Slide 8
Misure 2016 ad HIT – 1H

## Slide 9
Misure 2016 ad HIT – 12C

## Slide 10
Misure 2016 ad HIT – 12C

## Slide 12
Misure 2016 ad HIT – 4He, 16O

## Slide 13
Misure 2017
Interconfronto di dose tra HIT, CNAO, CPT,