## Slide 1
Josephson far-infrared photon detectors
based on temperature-to-phase-conversion
F. Giazotto
NEST, Istituto Nanoscienze-CNR & Scuola Normale Superiore, Pisa, Italy
Workshop on Axion Physics & Experiments
March 27-28 2017
Laboratori Nazionali di Frascati
Giazotto Research Group

## Slide 2
Collaboration
Pauli Virtanen (NANO – CNR, IT)
Alberto Ronzani (LTL - Aalto University, FI)
Paolo Solinas (SPIN – CNR, IT)
Frascati, 28/03/2017
Giazotto Research Group

## Slide 3
Outline
Motivations
Principle of photonic sensing based on T-to-ϕ transduction
Model
  JJ behavior
  Read-out weak-link behavior
Amplification: Superconducting Quantum Interference Proximity Transistor (SQUIPT)
T-to-I conversion & noise analysis
Nanocalorimeter operation:
  Thermal model, S/N ratio & resolving power
Nanobolometer operation:
  Thermal model, NEP
Conclusions & perspectives
Frascati, 28/03/2017
Giazotto Research Group

## Slide 4
Motivations
Frascati, 28/03/2017
Quantum technology: when quantum mechanics & nanotechnology
merge to boost future devices with enhanced capabilities
Quantum radiation detectors: accessing ultra-high sensitivity in
bolometric & calorimetric operation
Paving the avenue to fundamental physics research: quantum
computing, quantum criptography, entanglement, particle &
astroparticle physics, dark matter, cosmology
Giazotto Research Group

## Slide 5
T-to-ϕ transduction: operating principle
Frascati, 28/03/2017
Assumptions:
Short (  ) SNS JJ junctions:
Drastic reduction of detector volume 
Known analytical solusions for current and DOS
Enhanced response in the readout JJ
Fluxoid quantization
Radiation absorption (h)
Te enhancement in detector JJ
Suppression of circulating J current
Variation of phase drop across the WLs
Modification of DOSs
SQUIPT readout
P. Virtanen, A. Ronzani, and FG, arXiv:170305284v1, submitted
Giazotto Research Group

## Slide 6
Model: Josephson junctions behavior (i)
Frascati, 28/03/2017
Josephson supercurrent
Josephson supercurrent behavior
Te time evolution
P. Virtanen, A. Ronzani, and FG, arXiv:170305284v1, submitted
Te-induced suppression of supercurrent (for ext  0)
Variation finite phase drop across the WLs
Conservation of circulating supercurrent
Fluxoid quantization in the interferometer
Giazotto Research Group

## Slide 7
Frascati, 28/03/2017
Model: Josephson junctions behavior (ii)
P. Virtanen, A. Ronzani, and FG, arXiv:170305284v1, submitted
For
phase drop will occur predominantly across readout JJ
For
phase drop will occur predominantly across detector JJ
Giazotto Research Group

## Slide 8
Frascati, 28/03/2017
Model: readout weak-link behavior
P. Virtanen, A. Ronzani, and FG, arXiv:170305284v1, submitted
Phase-tunable minigap
Gapless metal ( = )
Gapped metal ( = 0)
DOSs in the SNS junctions
Sizable Te-induced modulation of the DOS minigap
Giazotto Research Group

## Slide 9
Frascati, 28/03/2017
Model: SQUIPT response (i)
P. Virtanen, A. Ronzani, and FG, arXiv:170305284v1, submitted
Giazotto Research Group
Superconducting quantum interference proximity transistor
Nature Phys. (2010)
PRB (2011)
PRB (2011)
PRAppl (2014)
APL (2015)
SQUIPT DOSs
SQUIPT I-V characteristics

## Slide 10
Frascati, 28/03/2017
Giazotto Research Group
P. Virtanen, A. Ronzani, and FG, arXiv:170305284v1, submitted
Model: SQUIPT response (ii)
Current through the S tunneling probe
Current response with or without radiation
Absorption of a photon yields a reduction of tunneling current
Current response versus junctions asymmetry
Reduction of α yields a lowering of V0

## Slide 11
Model: T-to-I conversion & noise analysis (iii)
Frascati, 28/03/2017
Giazotto Research Group
T-to-I conversion and transfer functions
Temperature noise
Low-frequency current noise
Temperature sensitivity
sT as low as 10-8KHz-1/2 in the 10mK...1K range tunable with ext
P. Virtanen, A. Ronzani, and FG, arXiv:170305284v1, submitted

## Slide 12
Nanocalorimeter operation: thermal model (i)
Frascati, 28/03/2017
Giazotto Research Group
P. Virtanen, A. Ronzani, and FG, arXiv:170305284v1, submitted
P. Virtanen, A. Ronzani, and FG, arXiv:170305284v1, submitted
heat equation
Electronic entropy in N
Electronic entropy in S
Photon absorption
After photon absorption
heat equation
E-ph heat
E-ph relax half-time

## Slide 13
S/N ratio
Resolving power
S/N ratio & resolving power behavior
E-ph relaxation half-time
Nanocalorimeter operation: S/N ratio & resolving power (ii)
Frascati, 28/03/2017
Giazotto Research Group
Resolving power > 100 for above 100GHz @ 10mK
Suited for microwave and FIR single-photon detection
S/N ratio 100 or above below 100mK

## Slide 14
Nanobolometer operation: NEP
Frascati, 28/03/2017
Giazotto Research Group
Steady-state thermal balance equation
E-ph heat exchange
Thermal conductance
NEP TFN
NEP below 10-22WHz-1/2 @ 50mK

## Slide 15
Conclusions
Thermal sensitivity amplified by small thermal capacity (superconductivity & small
volume)
T-to-ϕ conversion due to kinetic inductance changes & SQUIPT spectroscopy
As electron thermometer: sensitivity up to tens of nK/Hz1/2 tunable with  in the
10mK…1K temperature range
Calorimetric mode: resolving power h/E > 102 for 50GHz…10THz photons
Frascati, 28/03/2017
Giazotto Research Group
Bolometric mode: NEP  10-22 W/Hz1/2 below 50 mK
Attractive as MW and FIR radiation detector for open problems in
astrophysics & quantum electronic circuits

## Slide 16
Acknowledgements
MIUR-FIRB2013–Project CoCa (grant no. RBFR1379UX)
FP7 ERC Consolidator grant agreement no. 615187 - COMANCHE
FP7/2007-2013/REA grant agreement no. 630925 – COHEAT
Marie Curie Initial Training Action (ITN) Q-NET 264034
Frascati, 28/03/2017
Giazotto Research Group

## Slide 17
Towards detection of DM: STAX
Frascati, 28/03/2017
NASA/JPL-Caltech
APEX Camera LABOCA
Advanced HEB TU Delft
THz Bolometer technology
Applications:
Safety
National security
Chemical safety
Natural disasters prevention
Natural disasters rescue
Air, water & earth pollution monitoring
Human science
Archeology
Architectural heritage preservation
Pattern recognition
Giazotto Research Group

## Slide 18
Sub-THz & mw single-photon detection in STAX
Frascati, 28/03/2017
STAX: TES operating in the 30 GHz-150 GHz range
Requirements:
TES energy resolution
 T 3/2Volume1/2
Giazotto Research Group

## Slide 19
Sub-THz & mw single-photon detection in STAX
Frascati, 28/03/2017
i) Choice of a superconducing bridge with low Tc ( 20mK)
(-W, TiNX, Ti/Cu, Ti/Au, or Al/Cu bilayers)
ii) Reduced TES active volume (down to 10-3-10-4m3)
iii) EBL to downsize TES lateral dimensions to a few tens of nm
iv) Highly-efficient log-period spiral antennas (NbTi, Nb, or V)
v) ultra-low noise dc SQUID amplifiers (nI10 fAHz-1/2 @100mK)
STAX TES calorimeters expected performance:
Giazotto Research Group