## Slide 1
Title
OTR based measurements for ELI-NP Gamma Beam Source
Supervisor: L. Palumbo Co-Supervisor: A. Mostacci
M. Marongiu Accelerator Physics Doctoral Course

## Slide 2
Outline
OTR properties
GBS main parameters
OTR Screens
  Thermal issues
  Fatigue Stress
  Photons Evaluation
Beam Imaging
  Magnification
  Resolution
Energy Measurements
  Angular Distribution
  Data Analysis

## Slide 3
OTR Properties
Optical Transition Radiation (OTR) screens are widely used for profile measurements
The radiation is emitted when a charged particle beam crosses the boundary between two media with different optical properties
The visible part of the radiation is used and an observation geometry in backward direction is mainly chosen
Advantages
  Instantaneous emission process  Single shot measurements
  Good linearity
Disadvantages
  The process of radiation generation is invasive
  The radiation intensity is lower in comparison to scintillation screens

## Slide 4
Electron Beam Parameters @ IP
Electron Beam Specifications | 
Max. Energy at IP [MeV] | 280 – 720
Macro Pulse rep. Rate [Hz] | 100
Number of bunches | up to 32
Bunch spacing [ns] | 16.1
Bunch length [ps] | 0.91
Bunch charge [pC] | 25-250
εn_x,y [mm·mrad] | 0.2-0.6
Bunch Energy Spread | < 0.1%

## Slide 5
Linac diagnostics
Non-intercepting diagnostics:
Charge measurements:
4 Integrating Current Transformers (bunch by bunch)
Position measurements:
29 stripline BPMs (Macro pulse)
4 cavity BPMs (bunch by bunch)
Beam Loss Monitor System
Intercepting diagnostics:
Phase-Space measurements:
23 Beam Screens (YAG and OTR)

## Slide 6
Beam envelope along the Linac
A. Bacci, A. Giribono, C. Vaccarezza
From Gun to S-Band (80MeV)
C-Band (280MeV)

## Slide 7
Thermal Analysis OTR
32 bunches, 250pC each
M. Marongiu, et al., https://doi.org/10.1016/j.nima.2016.07.040

## Slide 8
Fatigue Stress
6 seconds
F. Cioeta, et al., ISBN 978-3-95450-182-3, pag. 246-249
Equivalent Von Mises Stress (Pa)

## Slide 9: Photons Evaluation
(400-700 nm) continuous lines
(515-585 nm) dashed lines
M. Marongiu, et al., Proceedings of IBIC 2017

## Slide 10
Gated intensified camera
Hamamatsu Datasheet
@ SPARC
82%@550nm
46% for Basler scA640-70gm

## Slide 11
Camera lens layout
Camera Lens 180mm w/o teleconverter (2x)
Camera Lens 105mm w/o teleconverter (2x)
The resolution is 1/x (mm).
The sizes of each horizontal line are 2,5/x for the length and 1/(2x) for the width (mm) and vice versa for the vertical lines.
180mm lens with teleconverter (2x)
180mm lens
F. Cioeta, D. Cortis
180mm lens with teleconverter (1.4x)

## Slide 12
Camera lens test-bench
Camera Lens 180mm w/o teleconverter (2x)
Camera Lens 105mm w/o teleconverter (2x)
The resolution is 1/x (mm).
The sizes of each horizontal line are 2,5/x for the length and 1/(2x) for the width (mm) and vice versa for the vertical lines.
180mm lens with teleconverter (2x)
180mm lens
M. Marongiu et al., ISBN 978-3-95450-182-3, pag. 238-241
180mm lens with teleconverter (1.4x)

## Slide 13
Camera lens Results
Camera Lens 180mm w/o teleconverter (2x)
Camera Lens 105mm w/o teleconverter (2x)
M. Marongiu et al., ISBN 978-3-95450-182-3, pag. 238-241
105mm
105mm with teleconverter (2x)
180mm
180mm with teleconverter (2x)
180mm with teleconverter (1.4x)
1:8
1:2
Screen (3 cm)
Beam (1 mm)
100µm

## Slide 14
Gaussian Reconstruction
8 Samples
Error ~4%
If Resolution=30µm and σ>30µm
If σ=10µm and Resolution<10µm
20 Samples
Error <<0,01%
If Resolution=30µm and σ>75µm
If σ=10µm and Resolution<4µm
5 Samples
Error ~7%
If Resolution=30µm and σ>19µm
If σ=10µm and Resolution<16µm
M. Marongiu et al., ISBN 978-3-95450-182-3, pag. 238-241

## Slide 15
Energy Measurements
Measurements @ SPARC_LAB
@ SPARC
SPF
~ 120 MeV
~ 120 pC

## Slide 16
Data Analysis
European Advanced Accelerator Concepts Workshop 2017
Data Set 1
Data Set 2
Notes: Carica 100pC e 120pC e enrgy spread 0.1% nei 2 casi

## Slide 17
Layout @ SPARC_LAB
@SPARC_LAB
 60 cm
 20 cm

## Slide 18
Conclusions and Further Development
A Gamma ray Compton source for nuclear physics research in the context of ELI initiative is being built.
High repetition rate (100Hz), multi bunch operation (32 bunches)
Bunch to bunch measurements  Gated camera
Distributed energy measurement  Possible layouts (i.e. Zemax)
A high resolution diagnostics is required in order to verify the beam parameters (especially at the interaction point):
OTR Near Field regime
PSF dominated beam diagnostics
Single Shot measurements  Plasma accelerated beams (i.e. EuPRAXIA@SPARC_LAB)

## Slide 19
Thank you for your attention!

## Slide 20
Intensifier Characterization
Courtesy of A. Variola
Study of the non linearity of the intensifier
Good SNR
Avoid Saturation
Find Optimal Gain Value for given values of photons per pixel (different working point)