## Slide 1
Gigi Cosentino
Proton Recoil Telescope ver. 2017

## Slide 2
The 235U(n,f) cross section is one of the most important standard for neutron fluence measurements and for several applications, such as accelerator-driven nuclear systems, biological effectiveness of high-energy neutrons, etc..
Neutron Cross Section Standards are essential for measurements and evaluations of other neutron cross sections
The role of the 235U(n,f) reaction
235U(n,f) is a standard reaction at
              Thermal energy: 0.025 eV
              Energy range: 0.15MeV ÷ 200MeV.

## Slide 3
Two sets of experimental data in the range 20 MeV – 200 MeV
No experimental data above 200MeV. Only theoretical models
Status of the 235U(n,f) cross section

## Slide 4
Two sets of experimental data in the range 20 MeV – 200 MeV
No experimental data above 200MeV. Only theoretical models
Status of the 235U(n,f) cross section

## Slide 5
No experimental data above 200MeV. Only theoretical models
The theoretical cross section above 200MeV may be substantially different, depending on the model used for the calculations.
The International Atomic Energy Agency (IAEA) strongly requests new data for the 235U(n,f) cross section up to 1GeV, in order to improve the uncertainty within 5%.
New measurements above 20 MeV are needed!
Status of the 235U(n,f) cross section
Two sets of experimental data in the range 20 MeV – 200 MeV

## Slide 6
Two measurements to be made simultaneously with a suitable neutrons beam.
    235U(n,f) reaction vs neutron energy
    H(n,n)H reaction vs neutron energy
The Technique:
The experimental approach to measure the 235U(n,f) cross section

## Slide 7
235U
Fission fragments detectors (PPFC & PPAC)
(In total n.15 of 235U targets)
CH2 target
(polyethylene)
Neutrons beam
Neutrons beam
protons
Proton Recoil Telescope
(n,p) scattering
< 1GeV
Two measurements at the same time with a neutron beam.
    235U(n,f) reaction vs neutron energy
    H(n,n)H reaction vs neutron energy
The Technique:
The experimental approach to measure the 235U(n,f) cross section

## Slide 8
235U
Fission fragments detectors (PPFC & PPAC)
(In total n.15 of 235U targets)
CH2 target
(polyethylene)
Neutrons beam
Neutrons beam
protons
Proton Recoil Telescope
(n,p) scattering
< 1GeV
Two measurements at the same time with a neutron beam.
    235U(n,f) reaction vs neutron energy
    H(n,n)H reaction vs neutron energy
The Technique:
The (n,p) scattering is used as a reference reaction for the 235U(n,f) cross section
The Proton Recoil Telescope (PRT) detects the recoil protons emitted by the target, to measure the neutron flux vs. neutron energy
The experimental approach to measure the 235U(n,f) cross section

## Slide 9
235U
Fission fragments detectors (PPFC & PPAC)
(In total n.15 of 235U targets)
CH2 target
(polyethylene)
Neutrons beam
Neutrons beam
protons
Proton Recoil Telescope
(n,p) scattering
< 1GeV
Two measurements at the same time with a neutron beam.
    235U(n,f) reaction vs neutron energy
    H(n,n)H reaction vs neutron energy
The Technique:
The (n,p) scattering is used as a reference reaction for the 235U(n,f) cross section
The Proton Recoil Telescope (PRT) detects the recoil protons emitted by the target, to measure the neutron flux vs. neutron energy
N: detected events
n: sample areal density
Ω: PRT solid angle
ε: efficiency
: cross section
The experimental approach to measure the 235U(n,f) cross section

## Slide 10
The multilayer Proton Recoil Telescope
Si
Si
Scint. 1
Scint. 2
Scint. 3
Scint. 4
CH2target
Neutrons beam
Recoil protons
2 Silicon detectors 300 um thick
4 plastic scintillators BC408 (τ = 2.1 ns) 0.5cm, 3cm, 6cm, 6cm
Fast PMT (Hamamatsu R1924A)
CH2 target (polyethylene): 2mm – 10mm
Six detector layers to cover the full energy range

## Slide 11
Si
Si
Scint. 1
Scint. 2
Scint. 3
Scint. 4
CH2target
Neutrons beam
Recoil protons
PMT
PMT
PMT
Thin scintillator. Double ended reading to reduce the dependence from the position of the protons on the scintillator surface.
The multilayer Proton Recoil Telescope
2 Silicon detectors 300 um thick
4 plastic scintillators BC408 (τ = 2.1 ns) 0.5cm, 3cm, 6cm, 6cm
Fast PMT (Hamamatsu R1924A)
CH2 target (polyethylene): 2mm – 10mm
Six detector layers to cover the full energy range

## Slide 12
Monte Carlo simulations
Si
Si
Scint. 1
Scint. 2
Scint. 3
Scint. 4
CH2target (10mm)
Neutrons beam
̴ 60 MeV
p
d
Resolution is sufficient to separate protons from deuterons
Monte Carlo simulations have allowed to study the response of the PRT

## Slide 13
p
d
Si
Si
Scint. 1
Scint. 2
Scint. 3
Scint. 4
CH2target (10mm)
Neutrons beam
Monte Carlo simulations
̴ 120 MeV
Monte Carlo simulations have allowed to study the response of the PRT

## Slide 14
Recoil protons > 150MeV
Si
Si
Scint. 1
Scint. 2
Scint. 3
Scint. 4
CH2target (10mm)
Neutrons beam
Monte Carlo simulations
̴200 MeV
p
d
Monte Carlo simulations have allowed to study the response of the PRT

## Slide 15
Neutrons beam
q
̴15cm
15.5cm
3cm
How to place the PRT
q= 25 deg
ΩPRT = 62msr
The aim is to reach a statistical uncertainty around 2% within neutron energy regions of 5% relative width.
In the experimental set-up the scintillators are compacted between them

## Slide 16
(n,p) cross section vs. angle of recoil protons
0
30
60
90
0
30
60
90
0
30
60
90
0
30
60
90
20 – 30 deg

## Slide 17
‘H2’ target
p
Monte Carlo
Select only the events due to hydrogen atoms in the CH2 target
CH2
target
-
C
target
=
‘H2’
target
p
d
CH2 target
C target
Measurements with graphite targets to subtract the contribution of the Carbon in the CH2 (polyethylene) target
p
d
-
Monte Carlo
Monte Carlo

## Slide 18
Alignment of the PRT to the neutron beam was not perfect
The amount of material in the PRT mechanics must be reduced, in order to cut down the background events
Neutron Energy (MeV)
PRT
Evaluated flux 2011
Very preliminary attempt
C: counts
n: sample areal density
Ω: solid angle
ε: efficiency
: (n,p) cross section
Neutron Flux in EAR1.
A first attempt of reconstruction with the first PRT prototype (2016)

## Slide 19
Box silici
L’oscuramento sarà ulteriormente garantito da un telo nero.
Assemblare i silici un una box elettricamente schermata (alluminio e mylar alluminizzato nelle finestre).
Il preamplificatore ‘Bassini’ garantisce una risposta in tempo adeguata, meno di 2usec dal g-flash.
Calibrazione preliminare ai LNS (se possibile..)?
Configurazione proposta per il 2017
Adeguati sostegni permetteranno di ancorare i cavi per evitare effetti sull’accoppiamento ottico (con colla ottica).
Ultima slide meeting Perugia

## Slide 20
Assemblaggio PRT_2017

## Slide 21
Assemblaggio PRT_2017

## Slide 22
Assemblaggio PRT_2017

## Slide 23
Test su banco per valutare la dipendenza dalla posizione con lo scintillatore sottile
2 PMT con guide di luce. Plastico 5 mm
Sorgente collimata di 137Cs
3 posizioni con step da 1cm
Collimatore piombo
(Φ=1mm)
Differenza segnali PMT normalizzata alla radice del prodotto (i.e. energia rilasciata), per le 3 posizioni.
sx
centro
dx
u.a.
Spettri radice del prodotto per le 3 posizioni.
Nel plot grande gli stessi sovrapposti.
Assemblaggio PRT_2017

## Slide 24
Assemblaggio PRT_2017

## Slide 25
Assemblaggio PRT_2017
Il dream team ai LNS

## Slide 26
Assemblaggio PRT_2017
Il dream team ai LNS
Come al solito, gli altri fanno le cose importanti e a me tocca fare lo shampista…

## Slide 27
Pronto per il CERN (sett. 2017)
Pronto per rivelare protoni di rinculo, coprendo un range di energia (dei neutroni) da qualche MeV a 1 GeV

## Slide 28
Installazione e avvio test (ott. 2017)

## Slide 29
ϑ = 25°
d = 14.8 cm
Installazione e avvio test (ott. 2017)

## Slide 30
I primi segnali

## Slide 31
INFN Proton Recoil Telescope

## Slide 32
I primi segnali

## Slide 33
I primi segnali

## Slide 34
I primi segnali

## Slide 35
plastic 3
plastic 4
Very preliminary data

## Slide 36
Il PRT pare abbia funzionato molto bene, riuscendo a rivelare segnali in un ampio range di energia dei neutroni, i.e da qualche MeV sino a circa 1GeV
Gli scintillatori sembrano soffrire di una certa non linearità, dovuta a quenching degli scintillatori o ad abbassamento del guadagno nei PMT
Attendiamo l’analisi dei dati acquisiti per stabilirne prestazioni, limiti e possibili margini di miglioramento