## Slide 1: ΔE-TOF analysis check and updates on TDAQ
  Luca Galli and Patrizia De Maria,
  INFN Sezione di Pisa and Pisa University
  La Biodola 04-06-201

## Slide 2
Aim
Double check of previous results
  “different” people and reconstruction algorithms
Reconstruction code implementation in C++/ROOT
Ciarrocchi’s
poster at
Pisa Meeting 2018

## Slide 3
Data format
C++ macro to decode to waveforms in root format
  to be copied and adjusted in SHOE
#include <string.h>
#include <stdio.h>
#include "TFile.h"
#include "TTree.h"
#include "TString.h"
#include "TGraph.h"
#include "TCanvas.h"
#include "Getline.h"
typedef struct {
char tag[3];
char version;
} FHEADER;
typedef struct {
char time_header[4];
} THEADER;
typedef struct {
char bn[2];
unsigned short board_serial_number;
} BHEADER;
typedef struct {
char event_header[4];
unsigned int event_serial_number;
unsigned short year;
unsigned short month;
unsigned short day;
unsigned short hour;
unsigned short minute;
. . . .

## Slide 4
Waveform processing
A waveform is two arrays
  an array of double for voltages
  an array of double for times
charge (energy )and times (CTR, beta…) from WFM processing
ADVANSID
HAMAMATSU

## Slide 5
Charge
pedestal

## Slide 6
Charge
charge from full
wfm integration

## Slide 7
Saturation curve
Measured energy corrected for the saturation
  k ~1.3 10^-2
Charge linearised to compensate for saturation accordingly

## Slide 8
Energy resolutions
Compatible with previous results

## Slide 9
L/R light propagation

## Slide 10
Raw time estimator
fixed threshold 5 sigma larger than noise
time from the first sample lower than the threshold
suffers from several issues:
  time walk
  binning quantisation (see next slide)
  …

## Slide 11
Binning quantisation
definition

## Slide 12
Best time estimator
Time walk —> constant fraction discriminator
Bin quantisation —> linear fit around crossing point

## Slide 13
“New” gaussian
more stable gaussian
  looks a good estimator (without asymmetric tails)

## Slide 14
Time resolution @CNAO

## Slide 15
Stand alone DAQ performance
Stand alone DAQ to manage two WDBs and one TCB
  2 sources of deatime
    DRS read out: ~180µsec
    WFMs packaging: ~200µsec
      total: ~380 spec —> 2.5kHz
In our test we had a full read out of 32 DRS WFMs, not far from FOOT situation (with 0 suppression)
  the goal of 1 kHz DAQ with minimum bis trigger looks OK

## Slide 16
Conclusions
a C++/root based reconstruction SW has been developed
  compatible performance w.r.t. to other code
  ready for being implemented in SHOE
Stand alone DAQ SW for the WDAQ readout developed
  read out speed OK
  to be implemented in the FOOT TDAQ
    both HW and SW optimisation needed