## Slide 1: New MPGD applications beyond HEP
Gabriele Croci
G. Croci1,2,3, E. Perelli Cippo1,3, A. Muraro1, M.Rebai1,3, G.Grosso1, F. Murtas5, D. Pacella6, G. Claps5, F. Cordella6, R. Pasqualotto4, M.Tardocchi1,3 and G. Gorini2,1
1IFP-CNR, Milano - 2Università di Milano-Bicocca - 3INFN–Milano-Bicocca - 4Consorzio RFX Euratom-ENEA Association, Padova - 5LNF-INFN, Frascati – 6ENEA, Frascati

## Slide 2: What are MPGDs ? Micropatten Gasueous Detectors

## Slide 3: HEP MPGDs applications
COMPASS
TOTEM
LHCB
ATLAS
3
CMS
Born in late ‘90s
Two main lines:
  GEM (Gas Electron Multiplier and derivatives (e.g µWell)
  Micromegas and derivatives
Large area and high rates
Largerly used in past and future high energy physics experiment
All major LHC experiment will use them during the next high luminosity phase (HL-LHC)
Development co-ordinated by an international collaboration (RD51)
BES-III

## Slide 4: New non-HEP applications
Fast Neutrons
Fusion Nuclear Energy Plant (NBI)
Tokamak Diagnostics
Chip Irradiation
Xray Low energy
Tokamak diagnostics
Radioactive waste
High Intensity Beam Monitors
Hadrotherapy
Ions Beam Monitor
Pixelated GEM
Microdosimetry
Tissue Equivalent chamber
Direct measurements with real tissue
Radon Monitor
Thermal Neutron
3He alternatives
Small angle neutron scattering
Neutron diffraction

## Slide 5: A triple GEM Chamber
GEM foil
70 µm
140 µm
A Gas Electron Multiplier (F.Sauli, NIM A386 531) is made by 50 m thick kapton foil, copper clad on each side and perforated by an high surface-density of bi-conical channels;
Several triple GEM chambers have been built since 2001
…LHCb, Dafne Upgrade, KLOE2, UA9, IMAGEM, GEMINI, AIDA/BTF, CMS, ATLAS, ALICE …
Working with different levels of gain it is possible to obtain high level of particle discrimination

## Slide 6: GEMs for fast neutron detection

## Slide 7: Fast neutron detection principle
GEM is intrinsically a charged particle detector
QUESTION: How to use GEM in order to detect neutrons???
ANSWER: by detecting recoiling protons produced by neutrons in plastic
Proton energy after the proton recoil:
With this cathode only a proton recoiled by a neutron incident with an energy and an incidence angle above than a certain threshold can be detected by the nGEM
This introduces a directionality selection effect to the detector, that is thus able to provide the neutron emission map with a spatial resolution approaching the size of the footprint of the SPIDER beamlets.
Not in scale.....

## Slide 8: Fast Neutron Beam Monitor @ISIS
Monitor for a fast neutron beam with energies ranging from a few meV to 800 MeV
Tested at neutron beam of the Vesuvio facility at RAL-ISIS.
Beam profiles and intensity
in real time
Neutron beam monitorig during the shutter opening

## Slide 9: Fast Neutron arrival spectrum
Rate measurement scan on time delay from beam T0 using GEM detector with 100 ns gate.
Comparison with proton beam profile intensity
En>2MeV
En<2MeV
Notes: Mettere referenza articolo Croci

## Slide 10: CNESM diagnostic @ SPIDER
Ed=100keV
Beam Dump
nGEM
Neutron Detector
Neutrons are emitted via the reaction:
The proposed detection system is called Close-contact Neutron Emission Surface Mapping (CNESM).
Deuterium beam
RF
source
beam
dump
SPIDER
STRIKE
100 kV
Power density map (W/m2)

## Slide 11: nGEM constructon
Active area: 25x35 cm2
2mm polypropylene(C3H6)
50 um Al
Cross section schematics of the triple-GEM detector.

## Slide 12: Results on efficiency uniformity
Integrated Counting rate map (absolute)
Uniformity Map
(Integrated counting rate map – relative)
Uniformity distribution
(relative integrated counts distribution)
nGEM counting rate (bottom) compared to ISIS proton current: the detector is able to follow current variation
HWHM=0.12

## Slide 13: Test results on directionality selection @ FNG
Digital 2D measurments

## Slide 14: GEMs for thermal neutron detection

## Slide 15: GEM thermal neutron detector
n
α
Single Stage is a Low efficiency detector (few % maximum)
Triple GEM detector equipped with an aluminum converter coated with 1μm of B4C: first bGEM prototype
Exploit the 10B(n,α)7Li reaction in order to detect thermal neutrons
B4C coated aluminium cathode mounted on its support
B4C coated aluminium cathode assembled inside the bGEM chamber layout
Detector Schematics

## Slide 16: The BAND-GEM detector system for SANS
n beam
Sample position
5 m
3 m
Middle bank. Composed of 8 BAND-GEM full module
Front detector bank. Composed of BAND-GEM sectors
Requirements for SANS detectors | 
Rate Capability | > 200 kHz/cm2
Time Res | < 1 ms
Spatial Res | About 6 mm
Efficiency | > 35% @ 4 Å
Boron Array neutron detector coupled to a triple GEM

## Slide 17
Detector BOX
Front of the detector
1472 anodic pads (channels)
GEMINI Chips Used (see later)
Large area module for SANS

## Slide 18
The 3D-C assembled
The GEM foil
The padded anode
Large area module construction

## Slide 19: Test of the module @ TREFF (DE)
Neutron beam
BAND-GEM
Monochromatic neutrons with wavelenght λ=4.78 Å
BAND-GEM with GEMINI electronics

## Slide 20
Performed @ LLB-Saclay
Linearity scan of BAND-GEM demonstrator relative to Fission Chamber, performed at reactor power 10.1 MW.
The BAND-GEM is linear (relative to the reference FC detector) up to about 1 MHz/cm2.
Black dots: BANDGEM count rates per cm2; red line: fit of the data with saturation law; purple line: linear component of the saturation law.
Vcathode-VTopGrid = -10 kV
ΣVGEM = 870 V
Tilt angle = 5°
Full beam
1.8 mm attenuator
3.6 mm attenuator
High rate performance

## Slide 21: Efficiency vs neutron wavelength @EMMA
Tilting angle Ѳ = 8°
ToT neutron Spectrum

## Slide 22: Test of the module @ LARMOR beam line (SANS instrument).
SANS measurement performd with a concentrated ludox silica dispersion sample.
With this sample, the expected 2d map on the detector position is a circular ring moving to larger radius at longer wavelengths.
Neutron beam
Sample
BAND-GEM
1,5 m
BAND-GEM full module with Cd mask

## Slide 23: Preliminary SANS results
Circular ring

## Slide 24: Neutron diffraction
Interface with ISIS-DAE: Time of Flight measurement perfomed using standard ISIS TOF DAE  First Time a GEM is inside standard ISIS DAQ System
128 8x8 mm2 pads
bGEM – borated cathode
Incident neutron beam
Transmitted neutron beam
INES sample position
GEM position
λ = [ 0.17 , 3.2 ] Å
3He tubes

## Slide 25
 | GEM | 3He
Peak 1 | 1.6 ±0.2 | 2.3±0.1
Peak 2 | 2.3 ± 0.4 | 2.8±0.1
Peak 3 | 4.9±1.5 | 5.3±0.4
S/B for selected peaks
GEM
1
2
3
3He
1
2
3
Neutron diffraction: comparison with 3He

## Slide 26: GEMs for x-rays detection

## Slide 27: Tokamak diagnostics at KSTAR (KOREA) and EAST (CHINA)
D. Pacella et al. : GEM-based Energy Resolved X-ray Tangential Imaging System at KSTAR
The system firmware is able to produce a movie of 65000 frames of 1 ms.
The 2018 KSTAR data taking will start in few weeks.
FPGA Board
55Fe Source
KSTAR Toroid
Done with CARIOCA chips

## Slide 28: Low energy X-Ray Images
These images was realized in real time
moving a triple gem with an array
of 128 pads 0.5x0.5 mm
crossing the beam

## Slide 29: Preliminary results using GEMINI
Possibility to reconstruct imaging and charge spectrum (using ToT) simulateneously for each pad
Crucial for impurities reconstruction in a tokamak plasma

## Slide 30: Summary
All results achieved by a collaboration between UNIMIB, INFN, CNR and ENEA started in 2011
The triple GEM tecnology is very relayable and usefull for different applications in different science and technology fields
Recently very good results have been obtained for a real time fast and thermal neutron detectors with spatial and time high resolution
High dinamic range in rate measurements with very low background for few KeV X ray
New GEMINI electronics gives simultaneously images and PH spetrum
measurments
Working in progress towards improment of TRL