## Slide 1
Seminar @ La Sapienza | March 6 2018
A novel interferometrically read out inertial sensor for future gravitational wave detectors
Towards a ‘fm per √Hz’ resolution

## Slide 2: Adding suspended benches to AdVirgo
Optical systems for controlling the interfero- meter are installed on benches in vacuum
For Advanced Virgo, seismic isolation of these optical benches is necessary
5 suspended benches are shown here with a circle, and all systems have been installed
Results (slide 6)

## Slide 3: MultiSAS isolates these benches
Suspended bench
MultiSAS
Transmitted light
MiniTower
Cupola
Observant physicist

## Slide 4: Passive attenuation for finput > fmodes
@10 Hz: 10-7 attenuation of < 10-8 m/√Hz ground motion
Horizontal modes in the chain
Takanori Sekiguchi and Kazuhiro Agatsuma

## Slide 5: Sensors and actuators in the chain
28 sensors:
Top stage control:
3 ground absolute sensors (geophone)
3 top stage absolute sensors
3 top stage differential position sensors (LVDT)
1 vertical diff. position sensor
Bench control:
4 horizontal diff. position sensors
4 vertical diff position sensors
Diagnostics:
6 (3 horizontal/ 3 vertical) absolute sensors on the bench
2 Optical levers
1 Monolithic accelerometer with an interferometric readout

## Slide 6: Results of SDB2 (dummy) measurements
Measurement × Projection
Req.
Requirement

## Slide 7: Measuring the suspended bench residual

## Slide 8
Use of a table-top sized interferometer
A. Bertolini et al., NIM A, 556, pp 616-623 (2006)
M.B. Gray et al., Opt.Quant.Electron., 31, pp 571-582 (1999)
1550 nm, 700 Hz LW

## Slide 9: Conversion of sensor output to meters
Operation point
(actual data!)

## Slide 10: Noise budget of the sensor

## Slide 11: Shot noise limited from 10 Hz onwards?
Measurement done without interference, one interferometer arm blocked

## Slide 12: Results on a controlled bench: 8 fm/√Hz

## Slide 13: Lock the mass to test the readout

## Slide 14: The piezo readout reaches 4 fm/√Hz

## Slide 15: Flat fm/√Hz level in both cases too high
MultiSAS bench still has some residual motion
This makes the subtracted ‘diff’ signal deviate
from zero and thus the
laser intensity noise is
not subtracted optimally
These simulations show
a 50 nm shift of the mass

## Slide 16: Changing lock point in VC loop
Let the loop lock on 0, 1, 2 or 3 Volt

## Slide 17: Another suspect: polarization issues
Laser outside MiniTower
Vibration could couple into polarization noise via the fiber
By injecting a 60 Hz line with a piezo outside, we’re able to see those lines which are not expected mechanically

## Slide 18: LIGO stage 2 residual = GS13 performance
Platform is moving < 10-11 m/√Hz @ 1 Hz
Future gravitational wave detectors could use more sensitive sensors to create more quiet platforms

## Slide 19: Similar sensor in collider environments?
Vacuum compatible
Very compact and low mass
Low resonant frequency
Electronics not radiation hard
Voice coil is not useable in
(varying) high magnetic field

## Slide 20: Parallel project: same sensor in fiber

## Slide 21: Reaching a few pm per √Hz for readout

## Slide 22: Now ready for low-noise measurement

## Slide 23: Noise hunting continues…..
Projected results show MultiSAS meets its rms requirements and its spectral density requirements. At Advanced Virgo, all systems are functioning well
A novel sensor has been built at Nikhef and is now reaching unprecedented sensitivities around 8 fm/ √Hz from 30 Hz onwards
A similar sensor is being built completely in fiber in order to be applicable in high magnetic field/ high radiation environments and is reaching a few pm/ √Hz
Such fiber interferometer readout can also be used stand-alone, to measure e.g. the suspended objects (test mass mirrors) themselves

## Slide 24: Sensor loop design

## Slide 25: What are the modes?
Horizontal modes in the chain:

## Slide 26: Loop design MultiSAS Control

## Slide 27: Topstage measurement

## Slide 28: Sensors and actuators at the bench
4 horizontal and 4 vertical co-located LVDT/ coil-magnet actuator pairs
Very low frequency viscous control loop to damp roll, tilt (200 mHz) and yaw (15 mHz) modes of the bench

## Slide 29: Local bench control design
DAC injection assuming 1 mV/√Hz white noise
LVDT noise below 10 nm/√Hz
So, assuming 0.5m
lever arm, closed loop
response should be at least 5 × 10-9 at 10Hz to
avoid LVDT noise spoil- ing angular performance

## Slide 30: New vacuum tank for future/ used equip.
Beam splitters: Thorlabs BS006 Cubes
Photo diodes : Thorlabs FGA21 InGaAs
Piezo: HPCh 150/12-6/2
Laser: NPPhotonics ‘The Rock’ 1550nm
PID controller: VU (Free University) Lockbox
Power supply: HP E3630A
Monolithic Acc. material: 7075-T6 Al alloy
Piezo stack: PSt 150/10x10/20
High Voltage Amplifier: Falco Systems WMA-280
GRIN Fiber Collimator: Thorlabs 50-1550A-APC
Scope : Agilent DSO-X 3024A
Spectral analyser: Agilent 35670A

## Slide 31: Fiber piezo tracking test