## Slide 1: Measurements and tests IT
Emiliano Dané – ITk Meeting – LNF - 5 Apr 2018

## Slide 2
Alice ITS experience

## Slide 3: Clean Room Temperature Monitoring
We set up several enviroment temperature and humidity sensors in the clean room in order to acquire continuously and check the efficiency of our climatic system;
2 channels pico technology
Reference for calibration
Ch.2 Huger Temp&Humidity Sensor
Ch.1 Huger Temp&Humidity Sensor
Ch.1 Pico Temp&Humidity Sensor
Ch.2 Pico Temp&Humidity
conditioning splitter
to be moved

## Slide 4
Part 2 of Mitutoyo course (Nov 2015);
Measure of the GEM foil sagitta for CMS experiment;
This task useful for training on CMM and for developing new Utility Programs;
10x lens installed;
ALICE for CMS

## Slide 5: Qualification of planarity
Alcaplus Plate
Plan. <0.15 mm
Alcaplus
Al bars
Vacuum chamber
LED system Torino-like

## Slide 6: Simulation of HS Alignement on Space Frame
2 alignement systems: laser and optical;
Laser Sytem
Optical System

## Slide 7: Stave Zero Status
Mock Up
HS0/Left/Lower on CMM (glued, to be soldered once HS0/R/U tested)

## Slide 8
CAM2 Edge Portable CMM:
(contact or laserscan measurement)
Luigi Pellegrino
Servizio Ingegneria Meccanica
https://www.youtube.com/watch?v=0Hyp0SDY9sA

## Slide 9
FARO Laser Tracker Vantage: Measurement of the target position (contact measurement)
Luigi Pellegrino
Servizio Ingegneria Meccanica
https://www.youtube.com/watch?v=Atb1lmfWvhQ

## Slide 11: Tools
Laser arm
Laser tracker
Theodolite
CMM 2000x1000x600
CMM 1000x1000x500
Interferometer;
And more..
Traction machine
Microscopes

## Slide 12
Step 0: fix tolerances and references.
Mechanical tolerance
  Quality of tools;
  Quality of components;
Positioning tolerance
  Tolerance of modules positioning;
  Tolerance of HR positioning;
  Tolerance of HC positioning;
  Tolerance of Cyl. positioning,;

## Slide 13: 1. Reception test
Reception tests of all components:
  Half Rings – mechanical
    visual inspection -> microscope;
    dimensional test -> CMM;
    pressure test -> already tested in HR assembly site;
  Half Rings - electrical (see presentation: Pixel System Test P. Dervan, J Taylor, I. Tsurin);
  Half Cylinders mechanical
    geometrical and dimensional test, brackets position;
Recovery in case of Half Rings test failure
Check of all the jigs before the assembly;
TDR: “..reception testing leaving the half-ring attached to a handling jig. “
J.Taylor

## Slide 14: 2. Half Ring Assembly Tests
TDR: “..using micro-adjusters the position of the half-ring relative to the half-cylinder is set and the half-ring is then translated side-ways into the half-cylinder.”
  All jigs involved have to be measured -> 0.1mm is totally different from 0.5 mm precision;
  Define some reference points on Cylinders and on HR;
TDR: “..the rigidity of the fixations is verified (how?) and the position of the half-ring surveyed (using points of reference)”

## Slide 15: 3. Half Cylinder Tests
  Pressure test;
  Cooling and Power test;
  Mechanical survey after the thermal test;
in this step ther is the possibility to recover failures..

## Slide 16
TDR: “..when pairs of half-cylinders are ready for integration they are mounted onto a pair of assembly jigs which allow the two sides to be brought together in a controlled manner.“
4. Cylinder Tests
  Thermal cycling test;
  Warm e-test;
  Cooling and Power test;
  Mechanical survey after the thermal test;
can we reopen the cyilinder in case of failures?
Wich kind of failures we expect?

## Slide 17: 5. Cylinder final Test - EndCap
TDR: “After all three layers are assembled, the connectivity of all services will be validated. Sections of the end-cap corresponding to the availability of DAQ and power supply systems will be connected and all modules tested.”