## Slide 1: Gingin High Power Silicon Cavity &Mechanical resonators for white light cavity
Chunnong Zhao
The University of Western Australia

## Slide 2: Motivation
S. Usman, T. Li, A. Weinstein,
https://dcc.ligo.org/LIGO-P1500105/public
To study BNS post-merger physics
Requires sensitivity,
~10-24/√Hz @ 1-4 kHz
Michael Coughlin’s talk on Monday
& Talks on this evening

## Slide 3: The sensitivity of GW detectors
The current detector sensitivity is limited by shot noise at kHz band.
To improve the kHz sensitivity:
  Reduce the noise
  Increase the signal
  Both 1) and 2)

## Slide 4: Ways to improve kHz sensitivity
    Squeezing- reduce the noise
    High optical power- increase SNR
    Detuned signal recycling – enhance the signal but reduce the detection bandwidth
    Strong-coupled signal recycling – expand bandwidth
    White light signal recycling cavity/unstable filter – broadband amplification of signal
    ...

## Slide 5: Gingin high power silicon cavity
100 mm in diameter silicon test masses
AlGaAs/GaAs coatings
Room temperature at the 1st stage
Low temperature (123k) in the future
72 m
7 m
Silicon arm cavity
Folded fused silica recycling cavity
5W, 2mm laser

## Slide 6: Gingin high power silicon cavity
Build up high circulating power in silicon cavity
Study AlGaAs/GaAs coating uniformity and potential nonuniform absorption
Parametric instability and control using AMD with silicon test masses
Angular instability and control
Coupled cavity mode matching sensing and control

## Slide 7: Mechanical resonators for white light cavity

## Slide 8: Signal recycling interferometer detector
The differential mode signal experience coupled cavity

## Slide 9: White Light Cavity Resonance
Optical cavities are resonant over a narrow frequency band
Negative dispersion medium compensates the cavity round-trip phase to achieve broadband resonance

## Slide 10: Cavity round-trip phase cancelation
Frequency (Hz)
Phase
Φarm
Φfilter
Φsum

## Slide 11: Negative dispersion in optomechanical cavity
H. Miao, Y. Ma, C. Zhao, Y. Chen, PRL 115, 211104 (2015)

## Slide 12: White light signal recycling

## Slide 13: The sensitivity of white-light signal recycling
Red: Narrow tuned
Black: Broadband tuned
Blue: With optomechanical filter
H. Miao, Y. Ma, C. Zhao, Y. Chen, PRL 115, 211104 (2015)
Thermal noise requirement:

## Slide 14
Optical dilution
Quality factor of optical spring resonator rises as square of the frequency ratio
Need low starting frequency
High optical spring frequency

## Slide 15: Cat-Flap resonator
Thin hinge - low resonant frequency
Optical dilution to enhance the mechanical frequency and quality
Thin hinge
20 to 150 nm
AlGaAs/GaAs
180 um x 6um

## Slide 16: Progress: AlGaAs cat-flap Q measurement
Chart: Frequency (Hz)
| 607291 | 444222 | 270119 | 872081 | 666978 | 1111800 | 273613 | 444267 | 118766 | 611863 | 41616.6
membranes | 26737 | 8521.2 | 11207.5 | 35791.3 | 29514.9 | 23962.1 | 7132.56 | 10159.3 | 12621.7 | 19099 | 11082.3
cat-flaps | 1683 | 1515 | 1622 | 635 | 300 | 642 | 2280 | 2596
cantilevers | 2850 | 3950 | 3744
bridges | 10101 | 21906
Low Q

## Slide 17: Bulk Acoustic Wave Quartz resonator
The dominate loss mechanism in acoustic cavities at low temperatures and relatively high frequencies is due to phonon-phonon scattering over crystal lattice anharmonicity

## Slide 18: Bulk mode optomechanics
https://doi.org/10.3390/app8122572
phase-matching
energy conservation
Brillouin scattering
Photoelastic effect: stress -> modulate the reflection index
Electrostrictive effect: optical intensity -> modulate the stress

## Slide 19: Bulk mode optomechanics
OMIA
OMIT
The Optomechanically Induced Amplification (OMIA) and Transmission (OMIT) have been demonstrated

## Slide 20: Bulk mode optomechanics
Cooling, heating, and Phonon lasing shows unstable filter can be realized.

## Slide 21: Quantum noise limited sensitivity
Preliminary sensitivity curves with BAW quartz resonator inside aLIGO signal recycling cavity
Issues like control of unstable optomechanical cavity, etc. is not considered yet.

## Slide 22: Soft clamping SiNi membrane
D. Mason, J. Chen, M. Rossi, Y. Tsaturyan & A. Schliesser, arXiv:1809.10629
Ωm/2π = 1.135 MHz and quality factor Q = 1.03 × 109
Experimental results at 10K:

## Slide 23: Summary
We are building a high optical power cavity using silicon test masses and 2µm laser to study high optical power effects
The BAW resonator has potential to be used to realize white light cavity in GW detectors
The Q-factor of 8 billion has been measured in a Bulk Acoustic Wave (BAW) quartz resonator at cryogenic temperature.
The optomechanics with BAW resonator has been demonstrated.
The size of BAW resonator (~30mm in diameter) has less problem in terms of optical mode matching to the larger scale interferometer
Soft clamping silicon nitride membrane has also been demonstrated Q-factor of ~1 billion. It is a potential candidate.
The mechanical resonator with optical dilution may potentially meet the requirement at room temperature.