## Slide 1
Milano, 10 July 2018 – Consiglio di Sezione INFN/Milano
Marco Bersanelli
and the LSPE/STRIP Team
LSPE/STRIP

## Slide 2
Planck sky in polarization
Planck Collaboration 2016
TE
EE
Planck 2016
TT best fit
TT best fit

## Slide 3
CMB Polarization Power Spectrum
by Wayne Hu
E<0
Density Waves (EE)
Gravitational Waves (BB)
E>0
B<0
B>0
Possible signature
of inflation

## Slide 4
Notes: Check Pisa

## Slide 5
Ground
(Tenerife)
Balloon
(Svalbard’s)
LSPE objectives
r 0.01
Milano, 10/07/2018 –– Consiglio di Sezione INFN/Milano –– M. Bersanelli
r = 0.03
 = 0.05
Planck 70GHz
Planck 70GHz
STRIP Goal
STRIP Goal
STRIP realistic
STRIP realistic
STRIP vs Planck-LFI

## Slide 6
1.5m cross-Dragone telescope (Oxford University)
LSPE/STRIP
Instrument subsystems
Deployment at Teide Observatory
High efficiency 2-stage 18-20K cooler
Intermediate 80-100K shield
STRIP focal plane
STRIP Electronics
Milano, 10/07/2018 –– Consiglio di Sezione INFN/Milano –– M. Bersanelli

## Slide 7
SWIPE
Svalbard Is.
North Pole
LSPE
Tenerife
~1min
~15d
STRIP
~1min
24h
Avoid Sun in beam
~1 yr observations
25% of sky
85% overlap STRIP/SWIPE
Scanning strategy concept

## Slide 8
Oxford-provided H/W requires significant modifications
1) Instrument interfaces to optical enclosure to be adapted to STRIP instrument
Full CAD model of STRIP mount and interfaces (INFN Rome)
1.5m Cross-Dragone optics
STRIP telescope and mount
Telescope at Oxford
Trieste, 20/04/2018 – ASI/COSMOS Foregrounds – M. Bersanelli & The LSPE/STRIP Team
M. Jones et al (Oxford University)

## Slide 9
7-elements array
Polarizer
OMT
7-element module
Polarimeter
Q-band array
LSPE/STRIP
W-band array
Q and W band array
Università di Milano-Bicocca, 04/05/2018 – STRIP Polarimeters TRB – M. Bersanelli

## Slide 10
Verification of Q-band Feedhorns Performance
(C. Franceschet et al, UniMI, INFN-MI)

## Slide 11
W-band horn under test
Entire set of W-band horns
W-band feedhorns
(F. Cavaliere, F. Villa, C. Francerchet, R. Bongiolatti – UniMI, IASF/BO)
Horn design: dual corrugated profile
Milano, 10/07/2018 –– Consiglio di Sezione INFN/Milano –– M. Bersanelli

## Slide 12
Polerimeter design: Continuous correlation design
  QUIET, heritage from PLANCK-LFI
  4 diodes, direct Q and U detection
Polarimeters cryo testing
Polarimeter level testing completed
Tuning, Tsys, Isolation
Unites tested: 70 Q band, 12 W band
Testing rate: 3-4 per week
Rework at JPL for 14 Q units completed
Polarimeter module
Polarimeters cryo testing
Milano, 10/07/2018 –– Consiglio di Sezione INFN/Milano –– M. Bersanelli

## Slide 13
Noise temperature. Typical: ~ 30 K
Center frequency
Bandpass
Preliminary – Before tuning optimization (to be performed at system level)
Polarimeters cryo testing
Selection for instrument integration completed
Milano, 10/07/2018 –– Consiglio di Sezione INFN/Milano –– M. Bersanelli
Data analysis: M. Tomasi et al.

## Slide 14
LSPE/STRIP optical characterisation
New ground-based optimized configuration
S.Realini et al (UniMI, INFN/MI)
Milano, 10/07/2018 –– Consiglio di Sezione INFN/Milano –– M. Bersanelli

## Slide 15: IMPACT OF THE OPTICS ON STRIP MEASUREMENTS
Computation of the STRIP far sidelobes
Pysical Optics compuation with GRASP®
Direct :
-57dB to -63 dB
ASMrSr:
-53 dB to -57 dB
MAIN CONTRIBUTIONS
Co-polar
Cross-polar
Realini, Franceschet (UmiMI, INFN-MI)
Milano, 10/07/2018 –– Consiglio di Sezione INFN/Milano –– M. Bersanelli

## Slide 16
Inner shell
Bottom flange
External shield
Cryostat design & fabrication
Ready to house Focal Plane assembly
Milano, 10/07/2018 –– Consiglio di Sezione INFN/Milano –– M. Bersanelli

## Slide 17
STRIP Instrument-level Integration and Verification (AIV)
Lab and facility at IASF INAF Bologna
Crane Bridge
Areas for assembly
Shelfs for storage
He gas / LN2
RF Instruments
Thermal control & monitoring
Clean Room Cl 100.000
Storage room
ILT campaign will be performed at IASF-Bologna in the ‘’Cryowaveves’’ Laboratory, equipped with:
Interface with STRIP control SW being developed (INAF/TS, Zacchei, Sartor)
Milano, 10/07/2018 –– Consiglio di Sezione INFN/Milano –– M. Bersanelli
Cuttaia, Villa, Morgante, Terenzi et al.

## Slide 18
Far-field calibration system development
System assembled and ready for testing
Milano, 10/07/2018 –– Consiglio di Sezione INFN/Milano –– M. Bersanelli
Peverini et al (CNR, Torino)

## Slide 19
QUIJOTE (10-40GHz)
GroundBIRD
145-220 GHz
Same sky area (>20% sky, North Hemisphere)
10 frequencies from 10 to 240 GHz
Redundancy, cross-correlation
QUIJOTE
6 frequencies in 10-40 GHz range
Large scale surveys, deep fields
LSPE/STRIP
43 + 90 GHz channels
Large scale surveys, deep fields
LSPE/SWIPE
140-220-240GHz
LSPE (40-220GHz)

## Slide 20
FPU integration: ongoing (started July 1st)
Cryostat test: ongoing (started end-June)
System level test: start early-September
Telescope mechanical tests*: next fall-winter 2018
Dome fabrication: Spring 2019
STRIP commissioning: Summer 2019
STRIP current status
Schedule consolidation ongoing
To be presented to ASI/INFN by end-July
*Critical path

## Slide 25
QUBIC
Q and U interferometer for cosmology
Funds and activities at INFN/University Milan
Aniello Mennella
Univ. di Milano, Dipartimento di Fisica
INFN - Milano

## Slide 26
QUBIC
Q and U interferometer for cosmology

## Slide 27
The QUBIC antenna array
Plane with 400 circular apertures
Each aperture interfaced with corrugated feed-horn antenna. A second twin antenna “illuminates” an “optical combiner” that creates the interference pattern.
A shutter between antennas allows us to control the interference pattern during calibration

## Slide 28
The QUBIC antenna array
Plane with 400 circular apertures
Each aperture interfaced with corrugated feed-horn antenna. A second twin antenna “illuminates” an “optical combiner” that creates the interference pattern.
A shutter between antennas allows us to control the interference pattern during calibration

## Slide 29
Activity during 2018
Mechanical testing of the platelets antenna holes (A. Mennella, S. Iovenitti)
Integrated first block of 400 antennas (F. Cavaliere, F. Pezzotta). Completion of integration pending until switches block is completed (WP under responsibility of Milano – Bicocca)
System scientist (A. Mennella) / collaboration board activities (contribution to the Technological Demonstrator (TD) calibration plan, chair of QUBIC mount development review)
Development of calibration tests database (M. Tomasi)
QUBIC Technological Demonstrator testing will be carried out during Autumn 2018. Then the TD will be shipped to Argentina for installation at the site of Alto Chorrillo

## Slide 30
The 400+400 antenna array
Dual band (150 and 220 GHz) antenna array produced by platelet technique with chemical etching of aluminum plates

## Slide 31
2017 money
Money for antenna array that was paid on PNRA money. Currently moved to Uni-Bicocca to support the switches production for the final instrument
Currently negotiating with referees and INFN on how to transfer this money to PNRA (this was part of the agreement that moved QUBIC from PNRA to INFN funding)

## Slide 32
2017 money
Shipment of final instrument antenna array to Paris.
Will have to be moved to 2019 because we need to wait for the completion of the switches array, the system integration and final measurements

## Slide 33
2017 money
Money spent in travels to Rome (mount consolidation meeting), Paris (simulation pipeline) and Crete (participation to ICNFP conference)

## Slide 34
2017 money
Residual travel money will be spent presumably on one travel in Argentina in preparation for the QUBIC TS shipment and installation

## Slide 35
Requests for 2019 and FTEs
FTEs
Aniello Mennella: 0.7
Federico Incardona (PhD student): 1.0
Maurizio Tomasi (RTD-A): 0.4
M. Bersanelli: 0.3
C. Franceschet (RTD-B): 0.2
Total: 2,6