## Slide 1
Foreword
many years ago I was attending a physics conference, and an old professor told me
“you are starting to attend conferences, at the beginning you will not understand, but after a while ... you will get used to it!!!”
if you do not understand it will be my fault, not yours
do not be afraid of asking questions

## Slide 2
Experimental Physics
measurements
instruments
sensors

## Slide 3
our ride today from Nuclear Physics to applications
ion beam diagnostics
medical diagnostics
radwaste monitoring
sensors for
tutorial
if you feel like sleeping, just do it!
Otherwise enjoy this ride through some applications

## Slide 4
Photosensor applications:
Beam Profiling
P. Finocchiaro
INFN Laboratori Nazionali del Sud, Catania, Italy

## Slide 5
but... what exactly is it?
N
Z
stability valley
terra incognita
terra incognita
neutron rich nuclei
proton rich nuclei
n and p drip lines
the closer to a drip line, the shorter the half-life
study by stable particle bombardment not feasible
solution: use the radioactive species as a projectile onto stable targets
+ decay, EC,...
- decay, n-emission, ...
a practical case: radioactive ion beam

## Slide 6
how to produce a radioactive ion beam?
basically two methods: in-flight fragment separation ...
accelerator
fragmentation
target
primary beam
magnets
magnets
degrader

## Slide 7
how to produce a radioactive ion beam?
...and isotope online separation (ISOL)
ion injector
primary
accelerator
HV platform
thick target
secondary
ion injector
charge
exchange
cell
mass separator
secondary
accelerator
high energy
experiments
low energy
experiments

## Slide 8
“Paolo, we don’t need a sophisticated Beam Diagnostics:
just one simple device”
magic BD box

## Slide 9
unfortunately the real case is different
ordinary beam
?
low energy
??
low intensity
???
low energy
low intensity
?????
low energy
low intensity
radioactive
and the real intensity range starts from zero!...

## Slide 10
possible ways of detecting the beam
electromagnetic
(scanning wires, faraday cups)
optical (scintillating screens)
Semiconductors
Diamond
Gas detectors
Others, etc.
Secondary
emission
Scintillators
Cherenkov

## Slide 11
scintillators

## Slide 12
beta-ray source test: imaging with CsI(Tl) plate
2 beta particles, endpoints E= 546, 2280 keV
90Sr source
collimator  2mm
CsI(Tl) plate
50x50x2 mm3
CCD video
camera
I = 104 pps
0
2000
4000
6000
8000
10000
12000
14000
0
2
4
6
X [mm]
Light yield [a.u.]
FWHM = 1.7 mm
let’s see how...

## Slide 13
beta-ray source test: imaging with CsI(Tl) plate
2 beta particles, endpoints E= 546, 2280 keV
horizontal calibration
41mm  768 pix
≈0.052 mm/pix
vertical calibration
27mm  512 pts
≈0.053 mm/pix
image with source
background

## Slide 14
beta-ray source test: imaging with CsI(Tl) plate
2 beta particles, endpoints E= 546, 2280 keV
source -
background =
--------------------
cleaner image
raw data
background
simulation
cleaner plot

## Slide 15
raw data
background
after subtraction
beta source
CCD systematic noise
is evident

## Slide 16
CsI (Tl) plate,
thickness 1 – 2 mm
Plastic scintillator
(BC 408, 6 x 6 x 5 cm3)
the LEBI device
Low Energy Beam Imager-Identifier
A diagnostic station that combines several techniques for beam detection and identification
CsI(Tl) plate + CCD camera for direct imaging of stable beams
CsI(Tl) plate + CCD camera for beta-ray imaging of implanted RIBs
Plastic scintillator + PMT for radioactive decay counting of implanted RIBs (determination of T1/2)
Gamma detectors for RIBs spectroscopic fingerprinting

## Slide 17
mylar tape 6 m
CsI (Tl) plate
Plastic scintillator
BC 408
tape transport system
Photomultiplier
step motor
3 measurement positions
Beam rate measurement
Imaging of stable (pilot) beams
Imaging of radioactive beams
the LEBI device

## Slide 18
ccd camera watec 902H
sensitivity 10-4 lux

## Slide 19
stable 7Li
switched the dipole magnet from 7Li to 8Li during the same run
radioactive 8Li
8Li I = 100 fA E = 10 keV
7Li I = 10 pA E = 10 keV

## Slide 20
OK but... are we sure we got the right species?
let’s have a look at the plastic scintillator for counting
beam OFF
beam stable on
the scintillator
beam ON
beam OFF
Identification of 8Li by means
of its  decay curve
T1/2 = 840 ms

## Slide 21
50x50x2 mm3 SFOP
Micro-beam diagnostics
the SFOP

## Slide 24
Micro-beam diagnostics
the SFOP
collimator: 150µm
primary beam current: 30pA, protons
project
and fit
3D view
zoom

## Slide 26
4 frames extracted from a real time movie taken while the multi-collimator mask was sliding down
spotted the beam down to 20µm diameter
watch the movie...

## Slide 27
a) 800µm
b) transition
c) 200µm
d) 80µm

## Slide 28
Photosensors and Signal Processing in Particle Detectors

## Slide 29
3
Photosensors and Signal Processing in Particle Detectors

## Slide 30
2
Photosensors and Signal Processing in Particle Detectors

## Slide 31
1
Photosensors and Signal Processing in Particle Detectors

## Slide 33
micrometric square hole
Lambda is known,
we count n and measure theta_min:
we can deduce d
Ultra Low Intensity microbeam production: tunable collimator

## Slide 34
Alpha source
250pps 2MeV
CsI(Tl) scintillator
high performance photocamera
Chroma CX3 14-bit CCD
Scintillating screens for very low beam intensity
with a cooled CCD still camera
alpha energy-light calibration

## Slide 35
test with protons at LNS 180 keV, 5 pA
CsI(Tl) ultra-thin scintillator (3 microns) standard video CCD
Ultra-thin CsI(Tl) Scintillating screens
FWHM = 522µm

## Slide 36
screen = CsI(Tl)
beam = protons
E = 50keV
I ≈ 5pA
texposure = 60s
screen = CsI (Tl)
beam = protons
E = 200keV
I ≈ 2.5fA
texposure = 20s
Scintillating screens for very low beam intensity
with a cooled CCD still camera
fine mesh in front of the beam
pitch = 200µm
fine mesh in front of the beam
pitch = 200µm

## Slide 37
screen = SFOP
beam = protons
E = 200keV
I ≈ 50fA [5pA/100]
texposure = 20s
screen = SFOP
beam = protons
E = 200keV
I ≈ 2.5fA [5pA/2000]
texposure = 20s
Scintillating screens for very low beam intensity
with a cooled CCD still camera
fine mesh in front of the beam
pitch = 200µm
fine mesh in front of the beam
pitch = 200µm

## Slide 38
screen = CsI
beam = protons
E = 50keV
I ≈ not measurable
texposure = 60s
beam attenuated through a fine mesh, pitch ≈ 0.1mm
toward single particle imaging....!!!

## Slide 39
beam profiling: fibers
Plastic scintillating fiber: fast (3ns), not rad-hard, Lat3.5m, 435nm (492nm)
Tb-glass scintillating fiber: slow (4ms), rad-hard, Lat10cm, 550nm
Light collection efficiency at one end: ≈3.5%
(axial emission)
including the skew rays it is ≈ 6.5%
Light yield of the order of 8000 photons/MeV
only valid for gamma rays and electrons
the light yield for charged particles is lower: quenching

## Slide 40
scintillator or fiber
photosensor
a readout technique

## Slide 41
This technique consists of
scanning a beam with 1D
sensors, in order to produce
the 1D intensity distribution
At low intensity usual electrical wires are dominated by noise
Using ‘scintillating’ wires
improves the S/N ratio !
beam position (mm)
x profile
beam position (mm)
y profile
beam profiling: fibers

## Slide 42
FIBBS: fiber based beam sensor
GFIBBS: glass-fiber based beam sensor
Scans the beam in one fast pass (<1s) with two mutually perpendicular fibres
simultaneously reconstructs the X and Y beam profiles
beam profiling: fibers

## Slide 43
plastic fibers
good sensitivity (down to single particle)
limited by low radiation hardness of plastic
the light yield scales correctly with beam energy (Bethe & Bloch)
FIBBS
glass fibers
good sensitivity (in current mode)
good radiation hardness
also suitable for ordinary intensity ion beams
GFIBBS
step - measure - step - measure ...... step - measure

## Slide 44
Scans the beam in one fast pass (<1s) with one slit
reconstructs a 1D beam profile
can be operated in current mode and in pulse counting mode
beam profiling with bulk scintillators
SBBS: scintillator based beam sensor
beam
beam
compact
PMT
1x1x0.5 cm
3
CsI scintillator
light
guide
0.5 mm slit
graphite
screen
sliding
motion
very good sensitivity
can be used both in current and in pulse counting mode: self calibration
CsI(Tl)

## Slide 49
Conclusion
scintillators are wonderful tools for beam diagnostics
can be exploited in bulk + photodetector
can also be exploited as single scintillating fibers
and also as Scintillating FiberOptic Plates (SFOP)
or as thin screens + photo/video camera

## Slide 50
Thanks for your patience...

## Slide 51
FINOCCHIARO@LNS.INFN.IT
Thank you
Catania and the Etna volcano