## Slide 1
Data
data
storage
Data
Data
Radwaste Monitoring
P. Finocchiaro
INFN Laboratori Nazionali del Sud, Catania, Italy
the DMNR project

## Slide 2
what
why
how
protection of nuclear material
and nuclear facilities

## Slide 3
what

## Slide 4
storage
what
handling
transport
inspection
check
security & safety issues:
maintaining the continuity of knowledge (e.g. legacy waste)
checking package integrity

## Slide 5
why

## Slide 6
why monitoring? why new tools?
nuclear material lasting hundreds of thousands years
 geological repository
but... predisposal & preclosure?
handling, transportation, interim, legacy waste...
 inspecting? monitoring?
conventional methods
new technologies?
need to prevent, detect and respond to
theft, sabotage, unauthorized access and illegal transfer
or other malicious acts

## Slide 7
To have a complete and detailed record of the history of each cask
What would be the goal?
individual and continuous online monitoring of casks
to improve safety, security, transparency
why monitoring?

## Slide 8
WIPP
Waste Isolation Pilot Plant
14-Feb-2014 New Mexico
Could individual online monitoring have prevented
or limited the accident?
Why monitoring?

## Slide 9
minimizing direct
human intervention
(accidents, mistakes, malicious acts)
detecting possible diversion from casks
preventing illicit trafficking
monitoring in place and/or during transportation
Why (online) monitoring?

## Slide 10
how

## Slide 11
low-cost
thermal neutron counter
low-cost linear gamma ray counter
miniature low-cost
gamma ray spectrometer / dosimeter
how

## Slide 12
nuclear
material
data acquisition
and control
counters
counters
counters
local wireless and LAN
global WAN
LAN
wireless
local Data Base
control
authorities
organizations
IAEA
remote Data Base
how
in place
in place
transport

## Slide 13
low voltage (30V)
high gain
scintillating fiber + 2 SiPM
  radiation hard
  flexible
  robust
  reliabile
  easily handled
  low cost
SiPM
1 mm
1÷2m long
low-cost linear gamma ray counter
how
developed with the support of
Ansaldo Nucleare

## Slide 14
how

## Slide 15
SciFi
Radiation
SiPM
SiPM
Coincidence
output
Photon
1-cell  charge = k
n-cells  charge = nk
Silicon PhotoMultiplier
array of photodiodes biased beyond breakdown (Geiger mode)
the avalanche is quenched by means of integrated resistors
sensitive to single photons
whenever radiation stimulates the fibre, a tiny light pulse is produced, and the SiPM is capable of detecting it
1 mm x 1 mm
how

## Slide 16
time resolution
<100ps
(not needed for this application)
low bias voltage (≈ 30V)
high physical amplification (gain)
1 photon gives rise to
a signal of ≈106 electrons
measured charge Q (from QDC)
illuminated with laser light
operated at 32V
resolving power >100
1
2
3
4
6
5
7
8
9
10
11
12
13
14
15
16
how
1-4 photons
trise ≈ 10 ns

## Slide 17
4
5
6
7
8
9
10
11
12
13
14
15
16
counts
number of photons
threshold
One-SiPM light spectrum
we count the number of events (i.e. tiny light flashes) in the fiber in a given time interval
left only: noise
right only: noise
left + right: signal
how

## Slide 18
YES! Tests with 60Co source in 3 positions along the fiber
Counts [a.u.]
Counts [a.u.]
Counts [a.u.]
the half-difference between the left and right arrival times provides the impact coordinate
but... do we actually detect gamma rays?

## Slide 19
1m long fiber: uniform efficiency
2.5m long fiber: good efficiency,
not uniform
energy deposited in the fiber:
≈ constant above 500keV
#photons in one SiPM
in coincidence
with the other one
how

## Slide 20
tested with ILW at
decreasing distances
tested with LLW
for three months
low-cost linear gamma ray counter
how
tested in collaboration with SOGIN

## Slide 21
miniature low-cost gamma ray spectrometer / dosimeter
test with 22Na
radioactive source
how
equipped with
developed by Wisnam
under INFN license

## Slide 22
how
compact, robust, manageable
good detection efficiency (5 ÷ 10%)
optimum gamma discrimination (<10-8)
low-cost thermal neutron counter
solid state (Silicon + 6LiF)
low voltage (25 V)
low cost technology, cheaper than 3He
SiLiF
3He tube
tested and in use at neutron
beam facilities
nTOF at CERN and ISIS at RAL
this sample 3cm x 3cm
also available 5cm x 5cm
partly supported by JRC Ispra

## Slide 23
(0.025)
≈ 5330 b
available energy
0.76 MeV
no gamma rays
materials for thermal neutron conversion
perfect gas detector but... worldwide lack of 3He
3He
(0.025)
≈ 940 b
available E
4.78 MeV
6Li

## Slide 24
cross section ≈ proportional to 1/v
the longer the transit time, the higher the capture probability
large cross section for slow neutrons
slow-neutron detection
thermal 0.025 eV

## Slide 25
neutron detection
Si + 6LiF (enriched at @95%)
6Li – natural abundance: 7%
a 6LiF converter
captures a neutron...
...and produces 4He ed 3H
which can be detected
4He
7Li
3H
6Li
n
2.05 MeV
2.73 MeV

## Slide 26
6LiF converter
double-sided
silicon detector
6LiF converter
6LiF
4He
3H
6Li
n
7Li
triton detection
4He
3H
6Li
n
7Li
alpha detection
6LiF
SiLiF technique

## Slide 27
3cm x 3cm silicon pad
+ 6LiF converter
neutron detector

## Slide 29
neutrons and gamma rays convey information from the inside
an unexpected change in counting rate is an indication of anomaly
radiological characterization
storage & monitoring
via a sensor network
= fingerprinting
how
transport

## Slide 30
Disposal
nuclear fuel
reactor
temporary
storage
wet
storage
dry
storage
treatment
partitioning
(& transmutation)
deep
geological
disposal
intermediate
depth
disposal
direct disposal
Processing
Temporary
Storage
Nuclear
Power Plant
Interim
Storage
recycled
nuclear fuel
Spent Fuel Management Cycle
transport
monitoring
in place
monitoring

## Slide 31
new technologies provide viable solutions
for full continuity of knowledge
trust
public acceptance
reliability
accident prevention
safety
security
Conclusion
the deployment of many compact low-cost radiation sensors
for in-place and transport monitoring of nuclear material
can improve
and help preventing and detecting
theft, sabotage, unauthorized access and illegal transfer
or other malicious acts

## Slide 32
FINOCCHIARO@LNS.INFN.IT
Thank you
Catania and the Etna volcano

## Slide 33
now the Excel exercise
and then the scintillation signals