## Slide 1: Characterization of the Electron Beam in the ACHIP Chamber in SwissFEL
Rasmus Ischebeck, Simona Bettoni, Simona Borrelli, Marco Calvi, Eugenio Ferrari, Franziska Frei, Vitaliy Guzenko, Dominique Hauenstein, Benedikt Hermann, Peter Hommelhoff, Orell Hürzeler, Adrian Kirchner, Csaba Lombosi, Eduard Prat, Sven Reiche, Leonid Rivkin, Dominique Zehnder

## Slide 2: The Accelerator-on-a-Chip International Program
Rasmus Ischebeck — EAAC 2019 — Characterization of the Electron Beam in the ACHIP Chamber in SwissFEL

## Slide 3: ACHIP Collaboration
Rasmus Ischebeck — EAAC 2019 — Characterization of the Electron Beam in the ACHIP Chamber in SwissFEL
students and guest scientists from Los Alamos National Laboratory, and National Tsing Hua University

## Slide 4: Interaction Chamber in SwissFEL
Rasmus Ischebeck — EAAC 2019 — Characterization of the Electron Beam in the ACHIP Chamber in SwissFEL

## Slide 5: Experimental Setup in SwissFEL
Goals:
  Acceleration by 1 MeV
  Bunch shaping
Rasmus Ischebeck — EAAC 2019 — Characterization of the Electron Beam in the ACHIP Chamber in SwissFEL

## Slide 6: Electron Beam Instrumentation
Charge
Profile
Beam Losses
Energy spectrum
Rasmus Ischebeck — EAAC 2019 — Characterization of the Electron Beam in the ACHIP Chamber in SwissFEL

## Slide 7: Quadrupoles for Beam Focusing
6 Permanent magnet quadrupoles (PMQs) calibrated (Marco Calvi)
K-Value: 25.9 m-2, 38.8 m-2 (error < 0.2%)
L = 0.1 m → f = 1/KL = 0.39 m, 0.26 m (at 3 GeV)
Vacuum < 1e-7 mbar after 24 hours
→ Chamber access for sample installation during short shutdowns (1.5 day, every month) is feasible
Rasmus Ischebeck — EAAC 2019 — Characterization of the Electron Beam in the ACHIP Chamber in SwissFEL

## Slide 8: Quadrupole Alignment
Rasmus Ischebeck — EAAC 2019 — Characterization of the Electron Beam in the ACHIP Chamber in SwissFEL

## Slide 9: Sample Alignment
Micro Wire Scanners (2x)
YAG Screen
Dielectric Gratings
  2 µm period
  50 µm period
Rasmus Ischebeck — EAAC 2019 — Characterization of the Electron Beam in the ACHIP Chamber in SwissFEL
2 um dual grating, SiO2, Yu Miao, Stanford
DLA modulation experiments
50 um dual grating, SiO2, Femtoprint, Wake field and radiation generation

## Slide 10: 2 µm structures
Rasmus Ischebeck — EAAC 2019 — Characterization of the Electron Beam in the ACHIP Chamber in SwissFEL
DLA structure | 
Structure type | Double pillar
Charge | 1 pC
Accelerating length | 1 mm
Accelerating gradient | 1 MeV
Structure diameter | 1.2 – 7.0 µm
Laser wavelength | 2 µm
Laser pulse energy | 400 µJ
Laser pulse length | 100 fs

## Slide 11: Characterization of the Electron Beam
Rasmus Ischebeck — EAAC 2019 — Characterization of the Electron Beam in the ACHIP Chamber in SwissFEL

## Slide 12: Design Optics
Rasmus Ischebeck — EAAC 2019 — Characterization of the Electron Beam in the ACHIP Chamber in SwissFEL
Eduard Prat
Eduard Prat

## Slide 13: Emittance Measurement
Emittance at the Injector: 180 · 250 nm
Beam matched to design optics
Rasmus Ischebeck — EAAC 2019 — Characterization of the Electron Beam in the ACHIP Chamber in SwissFEL

## Slide 14: Measurement of Bunch Length and Peak Current
Rasmus Ischebeck — EAAC 2019 — Characterization of the Electron Beam in the ACHIP Chamber in SwissFEL

## Slide 15: Beam Upstream of Interaction Chamber
Measured profile in switchyard
Rasmus Ischebeck — EAAC 2019 — Characterization of the Electron Beam in the ACHIP Chamber in SwissFEL

## Slide 16: Quadrupole Alignment
Quadrupole settings for minimum losses
Rasmus Ischebeck — EAAC 2019 — Characterization of the Electron Beam in the ACHIP Chamber in SwissFEL

## Slide 17: BunCh Charge and Transmission
Measured with cavity beam position monitors
Rasmus Ischebeck — EAAC 2019 — Characterization of the Electron Beam in the ACHIP Chamber in SwissFEL

## Slide 18: V
2x 8h shifts for alignment and transport through chamber with quadrupoles
Beam profile characterization started with wire scanner (wire width: ~1 um)
Collect beam loss signal w.r.t. wire position
Rasmus Ischebeck — EAAC 2019 — Characterization of the Electron Beam in the ACHIP Chamber in SwissFEL
Vitaliy Guzenko, Benedikt Hermann
Total scan duration
9 wires * 100 shots\wire \ 1 Hz = 15 min

## Slide 19: Beam Size Measurement: 2D Gaussian Fit
Rasmus Ischebeck — EAAC 2019 — Characterization of the Electron Beam in the ACHIP Chamber in SwissFEL
Data Analysis: Adrian Kirchner, visiting student from FAU Erlangen
Preliminary

## Slide 20: Beam Size Measurement: Tomography
Rasmus Ischebeck — EAAC 2019 — Characterization of the Electron Beam in the ACHIP Chamber in SwissFEL
Benedikt Hermann, Adrian Kirchner
Preliminary

## Slide 21: Beam Size Analysis
Rasmus Ischebeck — EAAC 2019 — Characterization of the Electron Beam in the ACHIP Chamber in SwissFEL
Benedikt Hermann, Adrian Kirchner
– Assumption: Gaussian shape
+ Fast
+ Stable even with fewer wires
and poor SNR
+ No assumption on distribution
+ Feature reconstruction
– Prone to noise, smoothing kernel
Preliminary

## Slide 22: Beam characterization, wire scan tomography
First Measurement
X-Y tilt: ~ 25 deg
Next steps:
Reduce emittance at Injector
Improve matching
Minimize dispersion
Optimize alignment
Improve detector position (beam loss monitor) for better SNR
Rasmus Ischebeck — EAAC 2019 — Characterization of the Electron Beam in the ACHIP Chamber in SwissFEL
Benedikt Hermann
 sub-µm beam size in x and y

## Slide 23: Emittance Measurement with Wire Scanner
Measure beam profile at different phase advances
Instead of quad-scan, move hexapod along z (range: +/- 5 cm)
At center: cm
Evolution of around focus:
Phase advance:
Rapid phase advance around small focus
For +/- 5 cm: 157 deg
 4D (x, y, x’, y’) Phase space tomography
Rasmus Ischebeck — EAAC 2019 — Characterization of the Electron Beam in the ACHIP Chamber in SwissFEL
Benedikt Hermann

## Slide 24: The Accelerator on a Chip International Program
Ralph Aßmann
Ingmar Hartl
Franz Kärtner
Florian Burkart
Huseyin Cankaya
Ulrich Dorda
Luca Genovese
Sonja Jaster-Merz
Willi Kuropka
François Lemery
Christoph Mahnke
Barbara Marchetti
Frank Mayet
Axel Rühl
Hongwen Xuan
Hong Ye
Jun Zhu
Peter Hommelhoff
Johannes Illmer
Stefanie Kraus
Ang Li
Anna Mittelbach
Yuya Morimoto
Norbert Schönenberger
Roy Shiloh
Alexander Tafel
Peyman Yousefi
Gary Greenburg
Robert Kirshner
Lloyd Lee
Scientific Advisors
Reinhard Brinkmann
Chan Joshi
Tor Raubenheimer
Guest Scientists
Heather Andrews
Tomohiko HIrano
Yeng-Chieh Huang
Ido Kaminer
John Lewellen
Evgenya Simakov
Eric Weis
Franziska Frei
Rasmus Ischebeck
Andreas Adelmann
Simona Bettoni
Marco Calvi
Micha Dehler
Vitaliy Guzenko
Benedikt Hermann
Nicole Hiller
Csaba Lombosi
Eduard Prat
Sven Reiche
Leonid Rivkin
Yves Bellouard
Minghao Qi
Yun Jo Lee
Joel England
Zhirong Huang
Ziran Wu
Robert Byer
James Harris
Olav Solgaard
Jelena Vuckovic
Dylan Savage Black
Payton Nash Broaddus
Sergio Carbajo
Andrew Ceballos
Huiyang Deng
Tyler Hughes
Tom Langenstein
Chunghun Lee
Kenneth Leedle
Yu Miao
Alexander Piggott
Dries Vercruysse
Ian Williamson
Si Tan
Benjamin Cowan
Oliver Boine-Frankenheim
Thilo Egenolf
Uwe Niedermayer
Pietro Musumeci
Jamie Rosenzweig
Sophie Crisp
Eric Cropp
Krish Kabra
Xinglai Shen
Notes: Will not replace existing accelerators!