## Slide 1: DArT mechanical design update
30 january 2019
Luciano Romero

## Slide 2: New versión of the mechanics.
A redesign was required to easy the mechanical fabrication of the internal acrilic pieces.
3 windows
3 cable routes
Support holes
Gas pipe route

## Slide 3: Mounting procedure revisited.
Attach top support
Install top SiPM
Put the active volume
Install bottom SiPM
Install level sensor
& heaters

## Slide 4: SiPM mechanical support.
Up to 6 SiPM
Slotted holes to accomodate shrinkage
15mm x 30mm PCBs
Wide holes to connect/weld cables
Border recessesions to route cables
Support holes

## Slide 5: PCB dimensions