## Slide 1: Esperimenti LHC
User Support – CdG 23/01/2019

## Slide 2: Ticket aperti
Ticket ID | VO | Descr.
139163 | CMS | Corrupt file @ CNAF
139033 | ATLAS | IT INFN-T1 DATATAPE: transfer failures as source
138914 | ATLAS | IT INFN-T1 : transfer failures with ‘TRANSFER CHECKSUM MISMATCH’

## Slide 3: Ticket 139163: CMS – Corrupt file
File /store/mc/RunIISummer16DR80Premix/QCD_HT700to1000_TuneCUETP8M1_13TeV-madgraphMLM-pythia8/AODSIM/PUMoriond17_80X_mcRun2_asymptotic_2016_TrancheIV_v6_ext1-v1/110000/9EE67A5E-C5B2-E611-8CA7-002590D9D968.root
Has different adler32 between source and destination.
We have to remove it from our storage and then CMS will re-transfer it.

## Slide 4: Ticket 139033: ATLAS - transfer failures
There is 99% failure rate for INFN-T1 DATATAPE as source with errors:
"The requested file either does not exist"
“STAGING [2] error on the bring online request: [SE][StatusOfBringOnlineRequest][SRM_INVALID_PATH] The requested file either does not exist, or is a directory! “

## Slide 5: Ticket 138914: ATLAS - Transfer checksum mismatch
There are a lot of errors about checksum mismatch between source and destination, but it seems that in not a INFN-T1 storage issue because files are corrupted at the sources.