## Slide 1: SiPM-based PET detector module for a 4π span scanner
R. Chil, D. Perez-Benito, J.M. Udias, M. Desco, J.J. Vaquero
PM 2018 – 14th Pisa Meeting on Advanced Detectors

## Slide 2: Outline
Motivation
Geometry
IcoPET
Scintillator
MPPC SiPM design
Results
Conclusions & future work

## Slide 3: Motivation
Schmidtlein et al. 2017

## Slide 4: Geometry: Discrete Sphere

## Slide 5: Geometry: Plato vs Archimedes
Archimedean solids
Platonic solids
Equidistant faces for similar sensitivity
Similar faces facilitates the reconstruction problem and the electronics
Faces with normal facing the center for better geometry efficiency
Avoid sharp angles

## Slide 6: IcoPET – Proof of Concept (PoC)
Geometrical efficiency of 73% over 4π, 234 mm diameter inscribed sphere, FOV of 152 mm of diameter.

## Slide 7: Face view
Scintillator
Electronic PCB
Power supply and OF data link
Cover and light shield
SiPM Matrix
Chassis and heat sink

## Slide 8: IcoPET – Clinical head scanner
Extensible design to 15 or 21 scintillator crystals per facet.
Yellow virtual reality “goggles”
Pentagons: light sources (yellow) and cameras (green) for anatomical reference.

## Slide 9: Scintillator
181 SSLE pixels of 1.24 mm hex side
LYSO of 17.61 mm of edge and 10 mm thickness

## Slide 10: Sub Surface Laser Engraving
Better light guiding (towards round pixels)
Optimal solution of circle packing problem
Uniform distance between centers of neighbor pixels
Depth of Interaction (DoI)
vs
Konstantinou et al. IEEE TRPMS vol. 1, no. 5, Sep 2017

## Slide 11: SSLE hexagonal engraving
Low count rate Pixel Resolvability (PR): 0.32 (square MPPCs)
Konstantinou et al. IEEE TRPMS vol. 1, no. 5, Sep 2017

## Slide 12: MPPC design - Earlier studies
The highest-density lattice arrangement of circles is the hexagonal packing arrangement, in which the centers of the circles are arranged in a hexagonal lattice (honeycomb).
Hamamatsu S12516
SST-1M Consortium for the CTA
First designs

## Slide 13: Single Hexagonal MPPC design

## Slide 14: Hexagonal MPPC Array design

## Slide 15: Hexagonal MPPC Array design
Notes: Back side

## Slide 16
Hex-MPPC construction
Through Silicon Via (TSV) Technology
Optimization of Trench and Active area

## Slide 17: Hexagonal MPPC test bench
Monolythic LYSO crystal coupled the Hex MPPC
61 preamp pixel channels + energy channel + HV (temp. compensation)

## Slide 18: Single Hexagonal MPPC channel signals
Four central channels, pre-amp gain = -1, ZL= 51 ohms, RC constant= 75 ns
LYSO monolithic crystal, 22Na point source
s
volts
Individual MPPC signals
counts
1274 keV
511 keV
Energy spectrum
channel

## Slide 19: Conclusions and future work
Design of a new geometry as PoC for head PET scanner
Development of flexible crystal SSLE method
Implementation of a new hexagonal SiPM
Total characterization of hexagonal MPPC
Assemble of two facets in coincidence
Readout electronics integration

## Slide 20: Thanks!

## Slide 22: Hexagonal MPPC

## Slide 23
Pre-amp

## Slide 24: Hexagonal MPPC: Hamamatsu results

## Slide 25: Hexagonal MPPC results

## Slide 26: Hexagonal MPPC results
Hex MPPC 61CH (LVR+TSV)

## Slide 27: Hexagonal MPPC results