## Slide 1: High precision mapping of single-pixel Silicon Drift Detector for application in astrophysics and advanced light source
D. Cirrincione1,2, M. Ahangarianabhari3,4, F. Ambrosino5, I. Bajnati6,5, P. Bellutti7,8, G. Bertuccio3,4, G. Borghi7,8, J. Bufon9,1, G. Cautero9,1, F. Ceraudo6,5, Y. Evangelista5,10, S. Fabiani5,10, M. Feroci5,10, F. Ficorella7,8, M. Gandola3,4, F. Mele3,4, G. Orzan1, A. Picciotto7,8, M. Sammartini3,4, A. Rachevski1, I. Rashevskaya8, S. Schillani9,1, G. Zampa1, N. Zampa1, N. Zorzi7,8 and A. Vacchi1,2
1 INFN Trieste – 2 Dipartimento di Matematica ed Informatica, Università di Udine – 3 Politecnico di Milano – 4 INFN Milano – 5 INAF-IAPS, Roma – 6 CEA Saclay, Paris – 7 Fondazione Bruno Kessler, Trento – 8 TIFPA – INFN Trento – 9 Elettra-Sincrotrone Trieste – 10 INFN Roma Tor Vergata
ReDSoX collaboration
https://web.infn.it/redsox2
Outer ring voltage (VOR) | Windows voltage (VWIN) | Inner ring voltage (VIR)
-144,6 V | -85,10 V | -23,8 V
-124,4 V | -80,66 V | -21,13 V
-104,06 V | -80,85 V | -19,81 V
-84,1 V | -80,97 V | -18,59 V
SDD with 3x3 mm2 sensitive area
Point-by-point mapping tests in different positions and bias condition
Analysis of complete charge collection to optimize new design of detectors