## Slide 1
Multi-Blade
The 10B-based neutron detector for reflectometry at ESS
Multi-Blade:
- a 10B-based neutron detector conceived to face the arising challenge
in neutron reflectometry at the European Spallation Source (ESS).
- high counting rate
- sub-millimetre spatial resolution
- a stack of Multi Wire Proportional Chambers
- operated at atmospheric pressure with continuous gas flow (Ar/Co2 80/20)
- with a 10B4C neutron converter and a 2D read-out system
- inclined by 5 degrees with respect to the incoming neutron beam
Author: Francesco Messi
francesco.messi@nuclear.lu.se
F. Messi1,2, G. Mauri3,2, F. Piscitelli2
1Division of Nuclear Physics Lund University, 2European Spallation Source ERIC, 3Department of Physics University of Perugia