## Slide 1
Experimental Test and Characterization of “BASIC64”, a New Mixed-Signal Front-End ASIC for SiPM Detectors
M. G. Bisogni1, P. A. P. Calò2*, F. Ciciriello2, F. Corsi2, C. Marzocca2, G. Matarrese2, S. Petrignani2
La Biodola, Isola D’Elba, 27 May – 02 June 2018
14th Pisa Meeting on Advanced Detectors
1 INFN – Sezione di Pisa, Italy
2 DEI – Politecnico di Bari, Bari, Italy
* Presenting author
Architecture of the analog channel
MEASUREMENTS RESULTS | 
PARAMETER | VALUE
Timing jitter rms | 
Gain | 
Maximum Input Charge | 
Non-Linearity Error | 
MEASUREMENTS RESULTS | 
PARAMETER | VALUE
Timing jitter rms | 
Gain | 
Maximum Input Charge | 
Non-Linearity Error | 
We present a CMOS current-mode read-out ASIC for Silicon Photomultipliers, designed for time and energy measurements in PET application systems.
The parasitic inductance between SiPM and electronics has resulted in the choice of a preamplifier with relaxed constraints for and BW as one viable solution to the issue of reduced output signal slope.
Measurements setup
Frontier Detectors for Frontier Physics
BASIC64 features:
Analog channel suitable for both n-on-p and p-on-n SiPMs
SiPM bias voltage adjustable (8 bit DAC)
Trigger disabled for signals under a selectable charge threshold
Internal 10 bit ADC for charge measurements