## Slide 1: Anomalies observed in nuclear transitions indicate the existence of a new particle with mass of 17 MeV/c2
Attila J. Krasznahorkay
Inst. of Nucl. Res. (Atomki)
3 main divisions:
  Nuclear Physics Division
  Atomic Physics Division
  Applied Physics Division
  Size: 100 scientists, 100 other staff
In the downtown of Debrecen, www.atomki.mta.hu

## Slide 2
Leitmotif of my present talk:
In an age of giant accelerators, of complex experiments and of mystifying theories it is a pleasure to report on some simple experiments, made with simple equipment and having a simple interpretation
Robert Hofstadter (Nobel, 1961)

## Slide 3: Search for a light neutral boson in nuclear transitions Attila Krasznahorkay, F.W.N. de Boer, M. Csatlós, L. Csige, Z. Gácsi, J. Gulyás, M. Hunyadi, T.J. Ketel, A. Krasznahorkay Jr., R.G. Lovas, B.M. Nyakó, L. Stuhl, T. Tornyi, J. Van Klinken The boson showed up with ≈3σ confidence  inspiration for further more precise experiments !!!

## Slide 4
~200 citations, 8Be anomaly, X17 boson

## Slide 5: Study the 8Be M1 transitions
8Be
0+
2+
1+
1+
0
3.0
17.6
18.2
Ep= 1030 keV
Ep= 441 keV
Excitation with the
7Li(p,γ)8Be reaction

## Slide 6: Internal pair creation and particle decay
Background Signature
Jπ
Jπ
e+
e–
i
f

## Slide 7: Experiments with a new e+e- spectrometer (NIM, A808 (2016) 21)
Proton decay: B(p + 7Li) ≈ 100%
γ-decay: B(8Be + g) ≈ 1.5 x 10-5
Internal pair creation: B(8Be + e+ e-) ≈ 5.5 x 10-8
Ejection of a new particle: B(8Be + X) ≈ 5.5 x 10-10

## Slide 8: Results e+ - e- sum energy spectra and angular correlations
Ep=1.04 MeV Ep=1.10 MeV
Deviation from IPC
Blind analysis, tuning the parameters…

## Slide 9: How can we understand the peak like deviation? Fitting the angular correlations
Experimental angular e+e− pair correlations measured in the 7Li(p,e+e−) reaction at Ep=1.10 MeV with -0.5< y <0.5 (closed circles) and |y|>0.5 (open circles), where y=(E1-E2)/(E1+E2).
Determination of the mass of the new particle by the Χ2/f method
≈
Y=

## Slide 10: Repeating the experiments at a new Medium-Current Tandetron Accelerator in Atomki
Main specifications:
  TV ripple: 25 VRMS, TV stability: 200 V (GVM), 30 V (SLITS)
  Beam current capability at 2 MV: 200 µA proton, 40 µA He

## Slide 11: The new e+e- pair spectrometer with six telescopes equipped with Si DSSD’s

## Slide 12: Background from cosmic rays in the setups with 5 and 6 telescopes

## Slide 13: Efficiency curves for the setups with 5 and 6 telescopes
The results of the present experiment can be considered independent from the one we published in PRL in 2016.
Relative numbers!
The absolute efficiency for 6 detectors is certainly larger!

## Slide 14: Recent results for the 18.15 MeV transition
PRL results
Present results

## Slide 15
γ-ray production with direct proton capture.
The main source of background produced by external pair creation on the backing of the target and on the other surrounding materials. GEANT simulations.
Forbidden transition!!!
Study of the 21 MeV M0 transition in 4He excited by 3H+p, and 3He+n reactions
=3.3x10-4 eV

## Slide 16
Simulation for
m0c2= 17.0 MeV
Measured (gated) e+e- pair correlation for the full energy pairs.
Measured e+e- sum-energy spectra for different detector combinations.
60o
120o
180o
Difference between spectra measured at 120o and 60o.
Significance: 7.6 σ
Results for the e+e- decay measured in Debrecen

## Slide 17: On the partial width () of the X17 particle
EPC
E0
/=
=0.20
= =0.59
Since: =3.3x10-4  = 3.9x10-5 eV
In 8Be it was: =xBx=1.9x6x10-6 eV= 1.2x10-5 eV
(role of the phase space correction factor)

## Slide 18
Details of the fit performed by RooFit

## Slide 19
Simulated result for
m0c2= 17.0 MeV
Gated invariant mass distr. for full energy pairs.
Gated invariant mass distr. for external pairs.
mc2=
y=
Invariant mass distribution

## Slide 20
The 8Be anomaly has been reproduced with an upgraded spectrometer.
The effect can not be explained within nuclear physics.
The anomaly can be successfully described by a new particle called X17.
The effect of X17 was observed also in 4He in a 21.01 MeV 0- 0+ transition at a correspondingly smaller angle. The significance of the peak is 7.2 σ.
We are planning to study the γγ-decay of X17 to determine their spin.
Promising outlook.
Conclusion

## Slide 21: Acknowledgement
M. Csatlós, L. Csige, Z. Gácsi, J. Gulyás, D. Firak,
M. Hunyadi, M. Koszta, Á. Nagy, N. Sas, B. Szihalmi,
J. Timár, T. Tornyi

## Slide 22: To 8Be continued… Thank you very much for your attention

## Slide 23: Backup slides

## Slide 24: Study the -decay of X17 in 4He
Vector particle (1+) or axialvector (0-)? If axialvector than it can decay by  emission.
-decay only known in a special case: 0+  0+ (90Zr, 40Ca, 16O) 4He
J. Schirmer et al., PRL 53, 1897 (1984)
J. Kramp et al., NPA 474, 412 (1987)
Walz, N. Pietrala et al., Competitive Double-Gamma
(Decay Nature 526, 406 (2015)
Study the angular correlation with state of the art 3”x3” LaBr3 detectors!

## Slide 25: The experimental setup in Debrecen including both the e+e- and the γ-ray spectrometers

## Slide 26: The 3He(n,γγ)4He experiment in Garching with the FRM II High Flux Reactor (1010 cold n/cm2)
Coincidence γ-ray spectrometer with twelve 3”x3” LaBr3 detectors.
The angle between the detectors is 30 degree, and the detector plain
Is perpendicular to the beam.
The pressurized (2 bar) 3He target located in the middle of the spectrometer, and the active cosmic-ray shield (above).

## Slide 27
A typical singles γ-ray spectrum
Typical sum-energy spectra for coincident detectors
Preliminary γγ-angular correlation
The first (very preliminary) results obtained in Garching

## Slide 28: Promising outlook

## Slide 29
Recently, the NA64 experiment at CERN presented the first direct search with a 100 GeV/c e- beam for this hypothetical 16.7 MeV/c2 boson and excluded part of its allowed parameter space, but leaving the still unexplored region
4.2x10-4<εe<1.4x10-3 as quite an exciting prospect for further research.

## Slide 30: Resonant production of X17 in positron beam dump experiments
PADME experiment in Frascati
It is running and taking some test data
The project will be improved for mc2<20 MeV/c2, and after the experimental setup will be moved to Cornell and/or JLAB.

## Slide 31: ForwArd Search ExpeRiment (FASER) at the LHC
FASER can discover ALPs with masses ma∼10–400 MeV
Exp. Starts at 2023.

## Slide 32: A few other planned experiments to study X17
Mu3e is a particle physics experiment at the Paul Scherrer Institute, searching for decays of anti-muons (Mu) to an electron and two positrons (3e).
VEPP-3 is planned experiment in Vladivostok, Russia. They are planning to use intense positron beams.
DarkLight is an experiment at the JLAB in USA using electron–proton collisions.
Annual Conference on Large Hadron Collider Physics - LHCP2019,
Jürgen Engelfried, Dark sector searches in non-LHC experiments,
https://scholar.google.hu/scholar?hl=hu&as_sdt=2005&sciodt=0,5&cites=17391295264019262192&scipsc=&q=

## Slide 35
A Compact Positron Electron spectrometer (COPE) for internal pair creation studies (ENSAR support)
GEM detectors,
µ-TPC technology
for particle tracking,
DSP cards for readout.
B
Beam
COPE 100:1
ATLAS

## Slide 36: e+-e⁻ internal pair creation
M.E. Rose Phys. Rev. 76 (1949) 678
E.K. Warburton Phys. Rev. B133 (1964) 1368.
P. Schlüter, G. Soff, W. Greiner, Phys. Rep. 75 (1981) 327.
Born approximation.
Good for small Z.
R(nucleus)=0

## Slide 37: The first motivation to research the dark matter
Study of the velocity of stars as a function of distance
Dark halo around the galaxies
Census in the Universe
Stars and galaxies: 0.5 %
Visible matter: 5 %
Dark matter: ≈ 30 %
Dark energy: ≈ 65 %
Andromeda galaxy
Mass: 370 billion M☉
Distance: 2.5 million Light year
Gravitational lensing
Dark galaxies
In grammar school we learned that the movements of planets around the Sun can be interpreted precisely with the Newton's laws .

## Slide 38: Searching from the basement to the attic already for 30 years, every corner with tremendous strength ...
With state-of-the-art underground detectors,
            with high-sensitivity spectrometers built in space

## Slide 39: The physicists of the world's largest accelerator laboratory, the Large Hadron Collider (LHC), built at CERN, are also involved in the search.
Lake Genova
Jura
LEP/ LHC
SPS
PS
France
Switzerland

## Slide 40: Searching for Dark Matter
Should not have to defend this too much…
Light, Weakly Interacting DM, the dark photon concept
It is speculated that within dark matter there might be a family of particles and forces—a so-called “dark sector”—that has thus far escaped detection. In analogy with electromagnetism, for which the massless photon is the force carrier between charged particles, there could be a dark electromagnetism with a possibly massive dark photon that transmits the forces between dark particles
M. Pospelov and A. Ritz, “Astrophysical Signatures of Secluded Dark Matter,” Phys. Lett. B 671, 391 (2009)

## Slide 41: Theoretical predictions for the dark photon
Branching ratio
Lifetime

## Slide 42: Wherever there is a photon there is a dark photon...

## Slide 43: What do we know and what we do not about the dark matter?
We observe its gravitational effect on the visible stars. Their contribution to the mass of the Universe is huge (95%)
We are searching diligently for the associated particles with more and more sensitive detectors.
What particle (s) are they consist of?
What (new) interactions affect these particles?
Very recently, a distant galaxy that appears completely devoid of dark matter has baffled astronomers: P. van Dokkum et al., Nature volume 555, 629 (29 March 2018). The general validity of Modified Newtonian Dynamics as an alternative to dark matter is now disproved, thus further supporting the idea of dark matter.

## Slide 44
Searching for new particles created in nuclear transitions has a very long history…
The axion particle was proposed by Weinberg and by Wilczek as one mechanism for preserving CP invariance of strong interactions in the presence of instantons almost 40 years ago.
The search for axions in nuclear transitions culminated in 1982.
It turned out that nuclear transitions provide a useful laboratory to search for light particles which couple to quarks and/or gluons. The spin and parity of a particle emitted in nuclear decay can be constrained by an appropriate choice of the nuclear transition.
The atomic nucleus can be considered as a femto-laboratory including probably all of the interactions in Nature. A real discovery machine like LHC, but at low energy.

## Slide 45: Introduction of the protophobic fifth force (J. Feng et al.PRL 117, 071803, (2016))
Branching ratio:
Pion decay
constrain:

## Slide 49
More generally, we also find that the Atomki measurements of the 8Be system can provide the most sensitive model-independent probe of the interactions of a light vector with quarks. This motivates future searches for light vector bosons and other particles in rare nuclear transitions.

## Slide 51: Experimental searches for the X(17) boson
The ATLAS Collaboration (ATLAS NOTE ATLAS-CONF-2016-042) presented results of a search for long-lived neutral particles decaying into collimated jets of light leptons and mesons, so-called “lepton-jets”, using a sample of 3.4 fb-1 of proton-proton collisions data at a center-of-mass energy of =13 TeV collected during 2015 with the ATLAS detector at the LHC. Assuming conventional production cross section σ∙BR to the dark sector of 5.0 pb for a 800 GeV heavy scalar boson, dark photon cτ is excluded in the range 0.6 mm <cτ< 63 mm for the Higgs → 2γd+ X model and in the range 0.8 mm <cτ< 186 mm for the Higgs → 4γd+ X model.
2x10-4 < εe <1,4x10-3 esetén  2.5 μm <cτ< 120 μm
Our results are not affected.

## Slide 52: The DarkLight experiment at JLAB
The DarkLight experiment proposes to search for dark photon through complete reconstruction of the final states of electron–proton collisions. In order to accomplish this, the experiment requires a moderate-density target and a very high intensity, low energy electron beam.
Projected reaches in mass and coupling for upcoming experiments near the Beryllium-8 anomaly. Note that these are taken in the fully protophobic limit, so the sensitivities of experiments that search for the dark photon through hadronic probes are heavily suppressed. The DarkLight projection marks the region where an anomaly yields a 5σ with 1 ab-1 of data, which is readily achievable with anticipated luminosities.

## Slide 53: Searching for the X(17) in particle decays
Araki et al, (Phys. Rev. D 95, 055006 (2017)) discussed the feasibility of detecting the gauge boson of the U(1) symmetry, which possesses a mass in the range between MeV and GeV, at the Belle-II experiment. They have found that the Belle-II experiment with the design luminosity can examine a part of the parameter region that evades the current experimental constraints and, at the same time, is favored by the observation of the muon anomalous magnetic moment.
Rare leptonic kaon and pion decays K+(π+) →μ+νμe+e− can also be used to probe a dark photon of mass O(10)MeV. Cheng-Wei Chiang (Physics Letters B 767 (2017) 289) evaluated the reach of future experiments for the dark photon with vectorial couplings to the standard model fermions except for the neutrinos, and show that a great portion of the preferred 16.7-MeV dark photon parameter space can be decisively probed.

## Slide 54: Data mining and new projects
Long-Bin Chen et al., (arXiv:1607.03970v2) discussed, the production of this yet-not-verified new boson in electron-positron collision, using BaBar, and the results are encouraging. The data collected at BESIII and BaBar turn out to be enough to perform a decisive analysis and hence give a definite answer to the existence of X(16.7).
Marin Benito et al., (IOP Conf. Series: Journal of Physics: Conf. Series 800 (2017) 012031) discussed the prospects for the search of KS0 → π+π-e+e- at LHCb. LHCb has proved to be very competitive in the search for such rare strange decays. The feasibility of observing such K0 decay at LHCb is studied using simulated and real data. During the Run I of LHC (2012), the yield of events expected per fb-1 of pp collisions at = 8 TeV is found to be NRun1 =120+280-100. A dedicated trigger selection has been developed for the 2016 data-taking. A large signal yield, NUpgrade= (5±0.3)∙104 per fb-1, is expected in the LHC upgrade phase. Pseudo experiments have been run to assess the feasibility of discovering evidence for the observation of the signal already in the Run I data-set.