## Slide 1: XUV Laboratory

## Slide 2: Bending Magnet source for UV and XUV and its Laboratory

## Slide 3: Bending Magnet source for UV and XUV and its Laboratory
This is the energy range where:
most of the photo-chemistry take place!
photo induced desorption Dominate.
Perfectly covers the photo energy range of (HL)- LHC
Well matching the FCC-hh SR spectrum
Monchromatic
20 –1000 eV
“White light”
4 –1000 eV

## Slide 4: Bending Magnet source for UV and XUV and its Laboratory
WE COVER THIS RANGE BY:
LEB: 30 – 160 eV
HEB: 60- 1000 eV
WINDY: Wight Light (0 – 150 eV)
White light line for desorption yield
Monchromatic
20 –1000 eV
“White light”
4 –1000 eV

## Slide 5: LEB: 30-160 eV. About 17 mRad horizontal
Spot:
2 x 2 mm

## Slide 6: LEB: 30-160 eV. About 17 mRad horizontal
Spot:
2 x 2 mm
Collimate to
a parallel beam
Focus:
Vert. to Entrance slits
Hor . To exit slits
Monochromator 20- 200 eV
Focus vertically entrance to exit slit
ReFocus:
exit slits to Sample

## Slide 7: LEB: 30-160 eV. About 17 mRad horizontal
Spot:
2 x 2 mm
Collimate to
a parallel beam
Focus:
Vert. to Entrance slits
Hor . To exit slits
Monochromator 20- 200 eV
Focus vertically entrance to exit slit
ReFocus:
exit slits to Sample
To be alligned!

## Slide 8: HEB: 60 -1000 eV. About 8 mRad horizontal
Spot:
2 x 2 mm

## Slide 9: HEB: 60 -1000 eV. About 8 mRad horizontal
Spot:
2 x 2 mm
Collimate to
a parallel beam
Focus:
Vert. to Entrance slits
Hor . To exit slits
Monochromator 60- 1000 eV
Plane grating and mirror
ReFocus:
exit slits to Sample

## Slide 10: HEB: 60 -1000 eV. About 8 mRad horizontal
Collimate to
a parallel beam
Focus:
Vert. to Entrance slits
Hor . To exit slits
Monochromator 60- 1000 eV
Plane grating and mirror
ReFocus:
exit slits to Sample
Spot:
2 x 2 mm
We hope we need
only small
adjustments
~ 5 mm
~ 35 mm

## Slide 11
WINDY: UNDER CONSTRUCTION
Camera dello Specchio
Linea Alta Energia
WINDY
(non in scala)
extra (removable) mirror(7° incidence)

## Slide 12
Geometrical
Acceptance
(~8hx2v mrad)
~ 5 mm
~ 35 mm
WINDY: UNDER CONSTRUCTION

## Slide 13: Experimental stations
HEB
60-1000 eV
LEB
30-200 eV

## Slide 14
Material Science Laboratory @ INFN-LNF
ultra high vacuum systems
background pressure 1x10-10 mbar
small area (1x1 cm2) sample

## Slide 15
Material Science Laboratory @ INFN-LNF
main chamber
preparation
chamber
fast-entry lock

## Slide 16
secondary electron yield
Material Science Laboratory @ INFN-LNF
Igun - Isample
Iin
SEY= =
Iout
=
Igun

## Slide 17
In spacecrafts, two materials with different SEY, PE and R can charge differently and cause disruptive discharge. (20% SC failure!)
Secondary Electron Yield (SEY)
Of interest to Accelerator Technology

## Slide 18
secondary electron yield
Material Science Laboratory @ INFN-LNF
Igun - Isample
Iin
SEY= =
Iout
=
Igun
10 K closed-cycle refrigerator
To BE MOUNTED SOON: 10 K closed-cycle refrigerator
ALL MEASUREMENTS AT LOW TEMPERATURES

## Slide 19
SEY measurements at 10 K
Ar
Cu
SEY on ICES: very sensitive to thickness
Can BE used to study Electron Stimulated
desorption.

## Slide 20
Quadrupole Mass Spectrometer:
Thermal Desorbtion
Electron Induced Desorbtion
Photo Induced Desorbtion
Material Science Laboratory @ INFN-LNF

## Slide 21: Photo- electron and thermal Desorption studies are of importance to accelerator’s R&D but also to a number of other research area.

## Slide 22
X-ray photoeletron
spectroscopy
UV photoeletron
spectroscopy
secondary electron yield
Material Science Laboratory @ INFN-LNF
+
TPD

## Slide 23
electron
analyzer
XUV1 exp. station
AlK (1486 eV) and MgK (1253 eV)
HeI (21.2 eV) and HeII (40.8 eV)
Electron energy analyser
X-ray and UV Photoelectron Spectroscopy
XPS and UPS
SR (60 - 1000 eV)
XUV1 exp. station
HeI (21.2 eV) and HeII (40.8 eV)
Monochromatized
Angle resolved electron energy analyser
SR (30 - 150 eV)
Angle Resolved
PhotoElectron Spectroscopy ARPES
Photoelectron spectroscopy @ LNF
KE: kinetic
energy
BE: binding
energy
φ: work function
KE=hv-BE-φ

## Slide 24
Material tests and characterization
(in UHV: SEY, XPS, UPS, STM/AFM; in air: Raman)
In UHV:
Radiation (electrons, photons, ions) induced surface modification
Thermal programmed desorption (combined with XPS)
Photon induced desorption (conventional sources)
Film growth for SEY optimization
In the tube furnace:
High pressure material growth
Controlled annealing processes of ‘large’ scale samples
With the DANE beam available:
X-ray beam induced surface chemistry
X-ray beam induced desorption
.......
Feasible experimental activity

## Slide 25
WINDY Project
Photo induced desorption from Long-Samples at low grazing angles
comparison with other experiments on Reflectivity, SEY, PEY.
Long Sample

## Slide 26: Status(al 14/03/19)
Mirror in position and in UHV
Supports mounted
All ancillaries in house (motors, slits BPM, valves etc)
Chambers and test sample just arrived

## Slide 27: XUV laboratory offers a wide range of techniques for:
Material Science
Accelerator R&D
Low Temperature studies
Etc.