## Slide 1
NepTune - RF Coil geometry
16mm
22mm
B vector – x=0
B vector – y=0
Bz magnitude – x=0

## Slide 2
Wire radius variations
R=0.25mm
R=0.50mm
R=1.00mm

## Slide 3
Searching for its natural resonant frequency
Discrete Voltage Generator is needed - Driven frequency solver
Discrete Voltage Port
Broad Band Impedance
Impedance - Zoom
Reflection coefficient

## Slide 4
Driven RF Magnetic Field @ 14.8MHz
14.8 MHz
H vector @ 14.8 MHz
Hz real @ 14.8 MHz along y, z var
Discrete Voltage Port
Reflection coefficient

## Slide 5
Microwave Office (NI) – Tuning and Matching
Example on the tuning and matching a resonant circuit
RF coil equivalent circuit
Tuning Capacitor
Matching netwok
Reflection coefficient
Impedance
Q is about 80