## Slide 1: Timepix and Beam monitor
F.Murtas
INFN - Laboratori Nazionali di Frascati and CERN
Timepix as user friendly silicon detector
Installation of Timepixes and Timepix3 in Ua9-SPS at CERN
Instrumentation for extracted beams
nGEM : a gas chamber for thermal neutron high efficiency

## Slide 2: Hybrid Silicon Pixel Detectors
Standard CMOS can be used allowing on-pixel signal processing
Sensor material can be changed according to the application(Si, GaAs, CdTe..)
Notes: Mention signal generation Add X section?

## Slide 3: The UA9 SPS experimental setup 2018
Primary Beam
Collimator
Graphite 1m
Beam Pipe
Collimator
Graphite 1m
~ 43 m
~ 85 m
~ 44 m
B
L
M
Absorber
W 60cm
2 Timepixes
1 Timepix3
We doubled the number of Timepix detectors
A third Roman Pot was installed on
January 2018 with 2 Timepixes
A new Timepix3 has been installed in June
on Roman Pot 1 external side
BLM
BLM
BLM
BLM
BLM
BLM
RP1
QF 52010
QD 52110
QF 52210
QD 52310
RP1
RP3
RP3
2 Timepixes
RP0
RP0
Crystal
1 2
IHEP
GONIO1
Absorber
IHEP
GONIO2
Crystal
3 4
CpFM
Absorber
W 100cm
1 Timepixes
BLM
Katrine readout of Timepix3
(P. Burian)
~ 6 m

## Slide 4: Old Roman Pot
New design
of Timepix board

## Slide 5: The UA9 detectors : Timepix3
Based on silicon sensor 300 mm thick 14x14 mm2 active area (2 cm2)
Chips provided by Medipix Collaboration
Timepix3 board designed and built by University of West Boemia and IEAP in Prague
Also the holder was realized by the same group
designed also for the chip heat extraction
Data acquisition with time frame and continuous
  1.56 ns resolution
  charge and time at the same time
Possibility to read the beam without dead time
(Data Driven Mode)
holder
Timepix3 data acquisition system
Petr Burian (Technical Coordinator) Pavel Broulím (HW designer) Lukáš Pušman, (mechanics designer) Benedikt Ludwig Bergmann (data evaluation)

## Slide 6: TimepixQuad detector for test on beam extraction
We have used two quads as beam monitor near the crystals
in counting mode for studies on beam extraction
subtraction
Without any object
on the beam
Crystal in VR
+ septum
Image subtraction
Chanelling
Volume
Reflection
F.Murtas, A. Natochi, W.Scandale

## Slide 7: Measurements on neutron beam (nTOF@CERN)
There is a big interest in the Neutron Spallation Source
for a good monitoring of beam position and intensity
The Timepix-quad has been recently
used for the beam alignment at nTOF faclity at CERN

## Slide 8: New design
Vacuum chamber
New Roman Pot
Structure

## Slide 9
New Roman Pot
Structure
New Roman Pot
Feed Through
Timepix Board

## Slide 10: Timepix for BIM

## Slide 11
Beam Monitor
for thermal neutron

## Slide 12: The side-on nGEM detector
Detector cross section
Borated Slides
1 mm
2 mm
1 mm
THERMAL NEUTRON
a
Borated Slides
30% neutron detection
efficiency at 25 meV

## Slide 13: Future project : multiborated head-on converter
Preliminary good results on B4C deposition on GEM foils
within a Milano Bicocca,
CERN and Liopking collaboration.
Proposed for the first time by Cascade project
but problems on boron deposition stability.

## Slide 14: Summary
Timepixes (Timepix, Timepix3, Quads, Diamondpix, GEMPix )
show good performances in high intensity beam monitoring.
They have been installed successfully in different facility
(UA9, NToF @CERN and CNAO and BTF in Italy …. but also in ISS)
and they provide useful information on beam characteristics
and they become important for future project .
Improvement on acquisition software are fundamental
Waiting Timepix2 test and results on performances
Waiting results on borated GEM prototype performance

## Slide 15: Timepix family
Timepix :
Time frame oriented
Counting mode or
Time of arrival or
Charge
Dead Time
> 5 keV
10 ns resolution
kB/s
Timepix3
Pixel oriented
Counting mode and
Time of arrival and
Charge
Continous measurement
> 3 keV
1.5 ns resoution
MB/s
High Temperature
Timepix2
Pixel oriented
Time frame oriented
?
?

## Slide 16
DIAMONDPix
Higly pixelated diamond detector

## Slide 17: Diamondpix : a radiation hardness detector
Recently two Diamondpix have been tested on
charged and neutron beam for future applications.
Pads on diamond
downward surface
Gold cathode on diamond
upward surface
Timepix3 Pads
Made by Element6 and Fraunhofer IZM

## Slide 18: Diamondpix : a radiation hardness detector
Details on :
Diamondpix: a CVD diamond detector with Timepix3 chip interface TNS 00581-2018-R1
Neutron / Gamma discrimination
Neutrons
Gammas
Beam image
G.Claps, F, Cordella, C.Digiulio, L. Foggetta