## Slide 1
FOOT
Collaboration Meeting
The Magnetic Region Mechanics
6th Dec 2019

## Slide 2
Mechanical Layout

## Slide 3
Mechanical Layout
 | Z [mm]
TARGET | 0
VERTEX | 9.5
PM1 | 85
IT | 165
PM2 | 245
MSD | 330
S. COUNTER | - 440

## Slide 4
PM Dipole: assembly
Two Permanent Magnet Dipoles in one assembly to avoid handling issues (special toolings required for safe handling)
Repulsion force: 2000 N @ 50 mm gap
Weight: 250 kg
Magnetic field aligned at the vendor
Magnetic map to be checked
at LNF after delivery

## Slide 5
PM Dipole: support
Capability to vertically offset the assembly of about 400 mm

## Slide 6
Calibration with straight tracks
Magnet offset compatible with detector cabling

## Slide 7
IT 1/2
Ladder

## Slide 8
IT 2/2

## Slide 9
IT: FEA
P=0.7 W / Sensor
h= 1 W/m^2 K (Natural Convection)
Room Temp= 22 °C
T max= 0.6 °C
L max= 0.8 µm
Results are conservative because:
No radiation
No forced convection
No conduction

## Slide 10
IT INTEGRATION SEQUENCE

## Slide 11
Drift chamber / Start counter
All the components in the box already exist

## Slide 12
MSD: envelope
150x150x10 mm
Cables

## Slide 13
Moving and Lifting System

## Slide 14
1000
MIN
1200
BTF
1200?
CNAO
2000!
GSI
1300
MAX
BEAM LINE: FLOOR HEIGHT
FLOOR
Manual Jacks to match the beam height in different sites