## Slide 1: Design of a novel linear accelerator for carbon ion therapy
Vittorio bencini

## Slide 2
Hadron therapy
Carbon ions:
Higher Radio Biological Effect
Suited to treat radioresistant tumors

## Slide 3
Accelerators for hadron-therapy
Cyclotrons
Features
Small footprint
Drawbacks
Passive energy modulation
Big emittance
Slow energy modulation
Only for protons
Synchrotrons
Features
Active energy modulation
Both protons and carbon ions
Drawbacks
Slow energy change
Big footprint
Big emittance
Features
Active energy modulation
Fast energy modulation
Excellent beam quality
Drawbacks
‘linear’ footprint
Linacs

## Slide 4
Accelerators for hadron-therapy
Cyclotrons
Features
Small footprint
Drawbacks
Passive energy modulation
Big emittance
Slow energy modulation
Only for protons
Synchrotrons
Features
Active energy modulation
Both protons and carbon ions
Drawbacks
Slow energy change
Big footprint
Big emittance
Features
Active energy modulation
Fast energy modulation
Excellent beam quality
Drawbacks
‘linear’ footprint
Linacs

## Slide 5
The bent linac
33 m
Energy modulated section
Bent section
Fixed energy
section
RFQ
LEBT
TwinEBIS
12 m
Parameter | Value
Frequency | 750 MHz/3 GHz
Species | 12C6+
Final energy | 100-430 MeV/u
Repetition rate | 200 (400) Hz

## Slide 6
The bent linac
33 m
12 m
Energy modulated section
Bent section
Fixed energy
section
RFQ
LEBT
TwinEBIS
MEDeGUN commissioning
LEBT beam matching
750 MHz RFQ design
Bent linac design
Parameter | Value
Frequency | 750 MHz/3 GHz
Species | 12C6+
Final energy | 100-430 MeV/u
Repetition rate | 200 (400) Hz

## Slide 7: MEDeGUN commissioning

## Slide 8
MEDeGUN commissioning
Ion Extractor
MEDeGUN
Suppressor
Collector
Drift tubes
Design parameter | Value
Test site | TwinEBIS, CERN
Main magnet | 2 (*5) T
Trap length | 0.25 (*0.5) m
Electron current | 1 A
Current density | 3 kA/cm2
Electron energy | 6.5-8.5 keV
Capacity C6+ | 1·109 Ions per pulse
Repetition rate | 200 (*400) Hz
Pulse length | 5 μs
Solenoid
TwinEBIS

## Slide 9
MEDeGUN commissioning
Ion Extractor
MEDeGUN
Suppressor
Collector
Drift tubes
Commissioning main goals
Extract electrons with nominal parameters
Minimize beam losses
Reduce electron beam energy
Design parameter | Value
Test site | TwinEBIS, CERN
Main magnet | 2 (*5) T
Trap length | 0.25 (*0.5) m
Electron current | 1 A
Current density | 3 kA/cm2
Electron energy | 6.5-8.5 keV
Capacity C6+ | 1·109 Ions per pulse
Repetition rate | 200 (*400) Hz
Pulse length | 5 μs
Solenoid
MEDeGUN

## Slide 10
MEDeGUN commissioning
Current measurements
Stable reproducible operation above nominal current
Energy decreased to the lower theoretical limit
Minimized losses (<1.5 mA)
Better understanding of beam behavior at low energy
Calculation of expected ion current
8 keV
Ion Extractor
U_cathode
Collector
U_dt
Bursian limit
Achievements
Suppressor

## Slide 11: LEBT beam matching

## Slide 12
LEBT beam matching
Collector
Extractor
Adaptor
Rings
Gridded lens
Einzel lens
Switchyard
Deflector

## Slide 13
LEBT beam matching
Main goals
Simulate beam dynamics in the LEBT
Beam matching to the RFQ
Assess flexibility of the system
Collector
Extractor
Adaptor
Rings
Gridded lens
Einzel lens
Switchyard
Deflector
Matching elements

## Slide 14
LEBT beam matching
Telescopic matching
Telescopic optics inspired
Sequential scan of the voltages
Find ,
Gaps
Gridded lens
Adaptor
Gridded lens
Einzel lens
Min emittance
α=0
α=0
Max transm.
Extractor
Matching carried out in two steps:

## Slide 15
LEBT beam matching
Telescopic matching
Telescopic optics inspired
Sequential scan of the voltages
Find ,
Full scan
Start with telescopic matching results
Optimization algorithm to find the maximum transmission
Finer scan on last lens to adjust the matching conditions
Matching carried out in two steps:
Gaps
Gridded lens
Adaptor
Gridded lens
Einzel lens
Min emittance
α=0
α=0
Max transm.
Extractor

## Slide 16
LEBT beam matching
Matching at different currents
0 mA – no space charge case
0.4 mA – nominal current case
3 mA – Maximum theoretical current from TwinEBIS (after upgrade)
For higher current the beam aberrations become more relevant increasing the losses
Combination of space charge and electric field non linearity

## Slide 17
LEBT beam matching
Non linearities
Non linear field can induce aberrations and emittance growth
Introduce a Non Linearity Index to quantify the deviance between linear and real field
Useful to understand if the beam interacts with non linear fields

## Slide 18
LEBT beam matching
Sensitivity study to different beam currents and Twiss parameters

## Slide 19: 750 MHz RFQ

## Slide 20
RFQ design
-
+
-
+
What is a radio frequency quadrupole?
It is an RF cavity where the TE21 mode is excited.
Four electrodes are installed into the cavity
The electrodes are connected to an RF source
They alternate their polarity with the RF frequency

## Slide 21
RFQ design
What is a radio frequency quadrupole?
It is an RF cavity where the TE21 mode is excited.
Four electrodes are installed into the cavity
The electrodes are connected to an RF source
They alternate their polarity with the RF frequency
+
-
+
-
Acceleration
(Bunching)
Focusing

## Slide 22
RFQ design
 | High transmission | Compact
Length m | 4.6 m | 2.7
Emax MV/m | 53 MV/m | 51 MV/m
Vane voltage KV | 50kV | 50kV
r0 | 1.4mm | 1.4 mm
rho | 1.3 mm | 1.3
Transmission | 99% | 54%
Input Nominal tr. emittance rms norm | 0.02 | 0.02
Win/u | 0.015 MeV | 0.015 MeV
Wout/u | 2.5/5 MeV | 2.5/5 MeV
q/A | 1/2 | 1/2
Power consumption | 470 kW | 280 kW
Different designs can be optimized depending on the application and final energies

## Slide 23
RFQ design
 | High transmission | Compact
Length m | 4.6 m | 2.7
Emax MV/m | 53 MV/m | 51 MV/m
Vane voltage KV | 50kV | 50kV
r0 | 1.4mm | 1.4 mm
rho | 1.3 mm | 1.3
Transmission | 99% | 54%
Input Nominal tr. emittance rms norm | 0.02 | 0.02
Win/u | 0.015 MeV | 0.015 MeV
Wout/u | 2.5/5 MeV | 2.5/5 MeV
q/A | 1/2 | 1/2
Power consumption | 470 kW | 280 kW
Different designs can be optimized depending on the application and final energies

## Slide 24
RFQ design
Compact design

## Slide 25
RFQ design
Parameter | IH-structure | DTL-structure
Input energy | 2.5 MeV/u | 5 MeV/u
Accelerating gradient | 5.7 MV/m | 10 MV/m
Sync. Phase | -12 | -30
RF frequency | 750 MHz | 3 GHz
Parameter | IH-structure | DTL-structure
Input energy | 2.5 MeV/u | 5 MeV/u
Accelerating gradient | 5.7 MV/m | 10 MV/m
Sync. Phase |  | 
RF frequency | 750 MHz | 3 GHz
Two structure could follow the RFQ (two different longitudinal acceptances)
1.5

## Slide 26: Bent linac design

## Slide 27
The bent linac
33 m
Energy modulated section
Bent section
Fixed energy
section
RFQ
LEBT
TwinEBIS
12 m
Parameter | Value
Frequency | 750 MHz/3 GHz
Species | 12C6+
Final energy | 100-430 MeV/u
Repetition rate | 200 (400) Hz

## Slide 28
Fixed energy section
Parameter | Value
Frequency | 3 GHz
Energy | 5-30 MeV/u
Length | 5 m

## Slide 29
Fixed energy section
Matching between RFQ and Fixed energy section is very delicate
The jump in frequency reduces the longitudinal acceptance by a factor 4
Redesign the first two tanks (match the phase) to smooth the mismatch

## Slide 30
Bent section
Parameter | Value
Frequency | 3 GHz
Energy | 30-100 MeV/u
Length | 18 m
Dipole field (permanent) | 1 T

## Slide 31
Bent section
Bent section designed to maximize beam stability
Interlaced accelerating cavities and dipoles
Length of the dipoles chosen to keep canstant transverse phase advance
The tank-bend-tank system is described by the matrix:
Ld is changed until the stability condition is matched

## Slide 32
Energy modulated section
Parameter | Value
Frequency | 3 GHz
Energy | 100-430 MeV/u
Length | 26 m
Energy modulation accompished by switching on and off the cavities
The quads are permanent, so the optics cannot be adjusted to the energy
Challange is to find optics configuration that maximize transmission at all energies
Two cases at max and min energy
100 MeV/u
430 MeV/u

## Slide 33
Full linac tracking
100 MeV/u
430 MeV/u

## Slide 34
Conclusions
Successfull MEDeGUN commissioning allowed to calculate amount of ions out of TwinEBIS source
The beam dynamics simulations on the LEBT allowed to assess the flexibility of the system and estimate the current transmitted into the RFQ
Four versions of the 750 MHz RFQ were presented to offer a wide range of options. The compact design at 5 MeV/u was selected
The concept of bent linac was introduced and the beam dynamics was studied
An end to end tracking demontrated the capability of the machine of providing small emittance beams at different energies with a current orders of magnitudes higher than the required one

## Slide 35: Thank you for your attention!

## Slide 36
MEDeGUN commissioning
Dec 2018:
Cathode temperature increases with extracted current Extracted beam should cool cathode due to work function
 Unstable, cathode at risk of overheating

## Slide 37
MEDeGUN commissioning

## Slide 38
LEBT matching
Input distribution
Calculated from electron beam parameters
Tracked to ectraction with TRAK code
Telescopic matching principle

## Slide 39
LEBT matching
Telescopic matching scan results

## Slide 40
RFQ design
Changing the input synchronous phase, the longitudinal emittance of the output beam can be controlled
The losses occur at injection energy preventing activation issues