## Slide 1: CALOCUBE READ-OUT SYSTEM
G. Martinez, J. Casaus, J. Marin
CIEMAT

## Slide 2
Calocube read-out
COMMAND DISTRIBUTION
DATA COLLECTION
PC
T+ROC 1
HIDRA2
FE BOARD
HIDRA2
FE BOARD
HIDRA2
FE BOARD
HIDRA2
FE BOARD
T+ROC 2
T+ROC 2
T+ROC 2
T+ROC2
T+ROC 2
64 FE CH
T+ROC2
T+ROC2
T+ROC2
USB 2.0
Fast serial ad hoc
1 to 1
1 to 1

## Slide 3
Calocube read-out
T+ROC2
T+ROC1
HIDRA2 BOARD
PC

## Slide 4
System Characteristic:
4 ASIC (CSA + CDS + ST) / Hidra2 Front End Board
3 Scalopendra Kaptom cables / Hidra2 FEB
Up to 4 Hidra2 FEB/ T+ROC2.
Up to 8 T+ROC2 / T+ROC1.
LVDS interface between boards.
Common acquisition sequence to all 4 Hidra2 FEB.
Single digital read-out (ADC) output per Hidra2 FEB.
Trigger & calibration masks Daisy-Chained inside each Hidra2 FEB.
Read-out summary

## Slide 5: HiDRA2 Chip
Charge Sensitive Amplifier (CSA)
Correlated Doubled Sampling (CDS)
Self Trigger Stage (ST)
https://drive.google.com/drive/folders/1O9lQHOBpgZ2vuzyTFjxDppKAs4-0ZpYH?usp=sharing

## Slide 6
Hidra ASIC
Hidra ASIC
Hidra ASIC
Hidra ASIC
ADC
Hidra2 Description
T+ROC2 Interface
FE CONN.
FE CONN.
FE CONN.
POWER

## Slide 7
15cm x 17cm.
6 Layers.
PCB layout cross-checked with Hidra2 board design.
XC6S45 Xilinx FPGA.
Fast Serial link connection to T+ROC 1.
LVDS connections to HIDRA2 & T+ROC1.
T+ROC2 Description
XC6S
FPGA
T+ROC 1 INTF.
POWER
HIDRA 2 INTF.
https://drive.google.com/drive/folders/1O9lQHOBpgZ2vuzyTFjxDppKAs4-0ZpYH?usp=sharing

## Slide 8
MUX
MUX
FastLink 750KB/s
FastLink 750KB/s
Dual port RAM
n
FastLink 750KB/s
PL add. counter
MUX
Register
T+ROC2 CONTROL SEQUENCE GENERATION + DATA ADQUISITION
ADC + GAIN Buffer
MUX
FastLink 750KB/s
TRG Buffer
TRG Buffer
MUX
FL up 2 30MB/s
DATA
Buffer
n = 4
n = 4
FPGA functions:
HIDRA control sequence generation
Physical levels of the comunication protocol
Acquisition
4K
16 (12 + 4)
External Trigger
T+ROC 1 INTF.
HIDRA 2 INTF.
FPGA

## Slide 9
20cm x 17cm
6 Layers
Fast Serial link connection to T+ROC 2.
LVDS connections to HIDRA2 & T+ROC2.
XC7S Xilinx FPGA
USB 2.0 Interface (FTDI chip)
T+ROC1 description
XC7S Family
FPGA
USB 2.0
POWER
T-ROC 2
https://drive.google.com/drive/folders/1O9lQHOBpgZ2vuzyTFjxDppKAs4-0ZpYH?usp=sharing

## Slide 10
T-ROC 2 INTERFACE
T-ROC 2 INTERFACE
FastLink 750KB/s
FastLink 750KB/s
FastLink 750KB/s
FastLink 750KB/s
T+ROC1 EVENT BUILDING + CONFIGURATION
ADC + GAIN Buffer 32Kx1B
FastLink 750KB/s
TRG Buffer
8Kx1B
Event builder Buffer 8Kx1B
MUX
USB 2.0
n = 32
n = 8
FastLink 750KB/s
FastLink 750KB/s
FastLink 750KB/s
Time Buffer
Register
Configuration 8Kx1B TX
1Kx1B RX
n = 8
Busy LOGIC
Trigger Logic
EXT. TRG
FPGA functions:
Event builder
Busy managment
Comunication protocol
Trigger logic
Configuration
T+ROC 2 INTERFACE
BUSY
n = 8
TRG
FPGA

## Slide 11
SOFTWARE
LabView programs:
Configuration => Set the working conditions
Data taking => For test debugging purposes.
LINUX:
Data taking => Normal data taking.
https://drive.google.com/drive/folders/1O9lQHOBpgZ2vuzyTFjxDppKAs4-0ZpYH?usp=sharing

## Slide 12
SOFTWARE: CONFIGURATION

## Slide 13
SOFTWARE: DAQ
https://drive.google.com/drive/folders/1O9lQHOBpgZ2vuzyTFjxDppKAs4-0ZpYH?usp=sharing

## Slide 14
https://drive.google.com/drive/folders/1O9lQHOBpgZ2vuzyTFjxDppKAs4-ZpYH?usp=sharing
USEFUL LINK
BEIJING CALOCUBE SET-UP
T+ROC1
T+ROC2
SOFTWARE
TROC1_1B0C.mcs
TROC1_manual.docx
CALOCUBE_ROC_1_01.pdf
T+ROC2_v4.pdf
T+ROC2_v4.docx
T+ROC2_v1A11.mcs
CALOCUBE_ROC_2_01.pdf
THRESHOLD_0.csv
ST_MASK_all.csv
SEQ_LYSO_CsI_N_10us_wo_BUSY.csv
CALL_MASK.csv
CONFIG_9.vi
INSTALL_LINUX.tgz
T+ROC1_v1806_T+ROC2_V1A05_2.vi
HIDRA2
HIDRA2_datasheet.pdf
Cabling.pdf