## Slide 1: Status of the FTMv4t2 foil characterization in Ghent
Christos Roskas

## Slide 2: So far
Linearity of collected current on the Anode wrt to X-ray flux
Effective gain measurement attempts, 2 setups
  Keithley 6487 Pico-ammeter
  High-res power supply CAEN 1471H
Performed simulations with ANSYS & Garfield++

## Slide 3: To re-cap – Prototype design
The prototype right now is a fully resistive μRWELL

## Slide 4: Re-cap
Linearity plot and the first drift scan
Anode
Linearity observed. Proceeded to signal observation
Effective gain measurement.

## Slide 5: Signal observation – Failed
The setup used for this output was
Panasonic-to-LEMO
Preamplifier
ORTEC 142PC
Amplifier
ORTEC 474
scope
Not able to observe rate
Not able to observe spectrum
Not able to justify the bipolar character
Possibly amplified reflections

## Slide 6: Gain measurements
First attempts and measurements failed as the gun was too far away from the prototype ~ 1m
Placed the gun closer
Kept track of the Anode current in the beginning

## Slide 7: Gain measurements
Moved the source as close as possible to the prototype
Compared to previous work i.e. Federica’s work in Bari
We expect a flatter region – an ionization region. Does not seem to be the case…

## Slide 8: Gain Measurements
Keep track of the current collected to all layers
  Drift, FTMTOP (DLC), Anode foil (DLC).
Scanned the amplification voltages 10 – 60 kV/cm
  Made use of the high-res PS as the pico-ammeter measurements were biased

## Slide 9: Gain Measurements

## Slide 10: FTM – Prototype Simulation
Simulate the foil FTMv4t2 created/used
Gas Volume
DLC top
kapton1
kapton2
DLC anode

## Slide 11: Measured collection efficiency and Eff. Gain
Compare the collection efficiency with the data for the Current collected on the layers

## Slide 12: Measured Collection efficiency and Eff. Gain

## Slide 13: Measured Collection efficiency and Eff. Gain
100

## Slide 14: Future plans
I will be at CERN for the RD51 week (present the work there maybe ?)
We still have a Cu cladded WELL foil which was not tested (50μm – 100μm diameters)