## Slide 1: Study of multi-pixel scintillator detector configurations for measuring polarized gamma radiation
Ana Marija Kožuljević*
With D. Bosnar*, Z. Kuncic**, M. Makek*, S. Parashari* and P. Žugec*
*Faculty of Science, University of Zagreb
**School of Physics, University of Sydney
High Precision X-ray Measurements, June 10th 2021

## Slide 2: Motivation
  Medical Imaging
    Additional handle to reduce background in PET
Measure polarization correlations of annihilation quanta
  Fundamental Research
    Test the phenomenon of quantum entanglement in positronium decay

## Slide 3: COMPTON SCATTERING OF LINEARLY POLARIZED single GAMMA PHOTON
Klein-Nishina differential cross-section for scattering of linearly polarized gamma photon

## Slide 4: AZIMUTHAL CORRELATIONS OF ANNIHILATON QUANTA
Maximum at |φ1-φ2|=90°
Double Klein-Nishina differential cross section:​
Polarimetric modulation factor ​
In silico studies (McNamara et al, Proc. of SPIE Vol. 8668 (2013))
  These correlations have potential to reduce background for PET image reconstruction
Max for Θ1= Θ2= 82°: μ = 0.48
Δφ (deg)
a.u.

## Slide 5: PROOF OF CONCEPT MEASUEMENTS
4x4 Lutetium Fine Silicate (LFS) matrices
  3.2 mm pitch​
Coincidence set up, Na-22 source​
Makek et al. , Nucl. Instrum. Methods Phys. Res. A (2019) 16283
Results indicate moderate sensitivity to
azimuthal modulations​
How to get better sensitivity?​
  Improve energy resolution​
  Improve angular resolution​
  Goal of the Silgap project!

## Slide 6
The SiLGaP project Single Layer Gamma-ray Polarimeter
Aim:
Investigate the use of azimuthal correlations of annihilation quanta:
  in Positron Emissison Tomography
  for probing the fundamental concept of quantum entanglement
Methods:
Investigate optimal detector configuration by simulation
Construct and test the modular detector system
http://www.phy.pmf.unizg.hr/~makek/SiLGaP
Detector modules:
Single scintillator matrix read out by a matching SiPM array, processed by fast digital electronics

## Slide 7: AIM
Test the sensitivity of different detector configurations for detecting azimuthal correlations by simulating different:
  Dimensions of pixels in a detector
  Detector material

## Slide 8: GEANT4 SIMULATIONs
Materials: LYSO:Ce and GaGG:Ce
64 pixels in 8x8 matrix
Geant4 toolkit version 10.06.p03
Physics model: G4EmLivermorePolarizedPhysics + PIXE/Auger/AugerCascade
Data Handling and Analysis: Root 6.22/09
  LYSO:Ce : 2.2 mm pitch
    pixel size 2x2x20 mm3
  GaGG:Ce : 3.2 mm pitch
    pixel size 3x3x20 mm3

## Slide 9: why did we choose these materials?
LYSO:Ce :
  Standard in PET
  light yield (33 200 ph/MeV)
  decay time (36 ns)
  Zeff = 66
GaGG:Ce :
  Significantly higher light yield than LYSO (~55 000 ph/MeV)
  No intrinsic radioactivity
  decay time (88 ns)
  Zeff = 54.4

## Slide 10: Geant4 simulation specifications
Two modules 10 cm apart
Source:
  Isotropic point source
  Two 511 keV photons emitted back-to-back
  Orthogonal polarizations
  set by hand
φ[deg]
Simulation
Klein-Nishina
φ[deg]

## Slide 11: SImulated energy spectra
LYSO:Ce: 12% at 511 keV
GaGG:Ce: 10% at 511 keV
Experimentally measured energy resolution at 511 keV:
LYSO:Ce : 12.4 % ± 0.4 %
GaGG:Ce : 9.8 % ± 0.6 %
Makek et al, Crystals 10(12), 2020, 1073
E [MeV]
E [MeV]

## Slide 12: Compton events reconstruction
As applied in measured data analysis
(Makek et al, Condens. Matter 2019, 4(1), 24)
For each module individually
Select pixels with Epx>50 keV
Select events with:
  Only two pixels fired
  Full energy ~511 keV in a module
First pixel - lower energy deposition
ΘRec (deg)
ΘSim (deg)

## Slide 13: Results

## Slide 14
Reconstructed Δφ - Simulation results
LYSO:Ce
Simulation
Fit function: k(1-cos(μ(2Δφ )))
Δφ (deg)
Δφ (deg)
Δφ (deg)
Θ=70°±10°
Δφ (deg)
Δφ (deg)
Δφ (deg)
a.u.
a.u.
a.u.
Θ=82°±10°
1st + 1st diagonal neighbors omitted
1st neighbors omitted
Total selected events
Δφ (deg)
Δφ (deg)
Δφ (deg)
a.u.
a.u.
a.u.

## Slide 15
Total selected events
1st neighbors omitted
1st + 1st diagonal neighbors omitted
E [MeV]
E [MeV]
E [MeV]
E [MeV]
E [MeV]
E [MeV]
Θ=82°±10°
Θ=70°±10°
Simulation
Fit function: k(1-cos(μ(2Δφ )))
Δφ (deg)
Δφ (deg)
Δφ (deg)
Δφ (deg)
Δφ (deg)
Δφ (deg)
a.u.
a.u.
a.u.
a.u.
a.u.
a.u.
Reconstructed Δφ - Simulation results
GaGG:Ce

## Slide 16: Polarimetric azimuthal factors

## Slide 17: STUDY OF ESCAPE X-RAY INFLUENCE OF DETECTOR PERFORMANCE

## Slide 18: Crosstalk contamination from escape X-rays
LYSO:Ce
GaGG:Ce
Escape X-rays: 4,6% of total PE events
Escape X-rays: 2,8% of total PE events
E [keV]
E [keV]
a.u.
a.u.

## Slide 19: 1st neighboring pixels

## Slide 20: 1st neighboring diagonal pixels

## Slide 21: 2nd neighboring pixels

## Slide 22: conclusion
AIM: Test the sensitivity of different detector configurations
  Two materials: LYSO:Ce and GaGG:Ce
  Two crystal sizes: 2x2x20 mm3 and 3x3x20 mm3
GaGG:Ce with 3x3x20 mm3 demonstrates:
  More pronounced polarimetric modulation, increasing with better angular resolution
  Smaller crosstalk due to escape X-ray compared to LYSO:Ce 2x2x20 mm3
  GaGG:Ce 3x3x20 mm3 is the more promising approach for SiLGaP

## Slide 23: THANK YOU!
Acknowledgements
This work was supported by the “Research Cooperability” Program of the Croatian Science Foundation funded by the European Union from the European Social Fund under the Operational Programme Efficient Human Resources 2014–2020, Grant number PZS-2019-02-5829.