## Slide 1
Catalina Curceanu, INFN - LNF
on behalf of the SIDDHARTA-2 collaboration
SIDDHARTA-2 Status Report
7th May 2020
SC-LNF

## Slide 2
Research Center for Electron Photon Science (ELPH), Tohoku University
SIDDHARTA-2
SIlicon Drift Detector for Hadronic Atom Research by Timing Applications

## Slide 3
Papers 2020 2020:
Kaonic Atoms to Investigate Global Symmetry Breaking, Symmetry 12(4) (2020) 547
Kaonic atoms experiment at the DAΦNE collider by SIDDHARTA/SIDDHARTA-2, SciPost Phys.Proc. 3 (2020) 039
Kaonic Deuterium Precision Measurement at DAΦNE: The SIDDHARTA-2 Experiment, Springer Proc.Phys. 238 (2020) 965
Low-Energy K− Nucleon/Multi-nucleon Interaction Studies by AMADEUS, Springer Proc.Phys. 238 (2020) 937
Kaonic Deuterium Measurement with SIDDHARTA-2 on DAΦNE, Acta Phys.Polon. B51 (2020) 251
Recent Experimental Results on the Low-energy K− Interaction with Nucleons by AMADEUS, Acta Phys.Polon. B51 (2020) 121
Revisiting the Charged Kaon Mass, Acta Phys.Polon. B51 (2020) 115

## Slide 4
We are presently in Phase 1 with SIDDHARTINO:
during the commissioning of DAΦNE optimization with the SIDDHARTINO setup
for the K-4He measurement
(with 8 SDD arrays)
This phase should have been realized within
3/9th April but….Coronavirus….rescheduled
(Phase 2: Kd measurement)
SIDDHARTA-2 - present status

## Slide 5
MID-TERM MEETING OF THE LNF SCIENTIFIC COMMITTEE 06/02/2020
During the following two months, first priority should be given to the completion of the DAFNE commissioning steps and to the subsequent delivery of high-quality collisions to SIDDHARTHINO, at the best possible S/B conditions, with the goal to complete the presented SIDDHARTINO programme.

## Slide 6
SIDDHARTINO = SIDDHARTA-2 with 8 SDD’s
DAQ BUS configuration

## Slide 8
Aim: confirm when DAFNE background conditions are similar
to those in SIDDHARTA 2009
SIDDHARTINO apparatus and constraints
work with DAFNE
luminosity monitor
SIDDHARTA-2 luminosity monitor included
setup lifted by ~100 mm w.r.t. nominal position
complete
Veto systems
target filled
with He-4 gas
equipped with
8 SDD (1/6)
arrays
trigger

## Slide 9
Work done:
SDD calibration optimization
Luminosity measurement: SIDDHARTA-2 luminometer and kaon trigger
Procedure for comparison between SIDDHARTA and SIDDHARTA-2 refinement

## Slide 10
Work done:
SDD calibration optimization
Luminosity measurement: SIDDHARTA-2 luminometer and kaon trigger
Procedure for comparison between SIDDHARTA and SIDDHARTA-2 refinement

## Slide 11
Energy [eV]
Ti K
Ti K
Fe K
Fe K
Cu K
W L
W L1
W L2
W L
Counts
Counts
ADC channels
SDD 48 BUS 5
Optimization of calibration of SDD’s in DAFNE
X-ray tube
target materials
Missing lines in the upper region

## Slide 12
Optimization of calibration of SDD’s in DAFNE (window to eliminate W)

## Slide 13
Spectrum SDD 52 (X-ray tube and beam)
Ti Kα
Ti Kβ
Fe Kα
Cu Kα
Br Kα
Sr Kα
Fe Kβ
Cu Kβ
Br Kβ
Sr Kβ
Ti Kα
Ti Kβ
Fe Kα
Fe Kβ
Cu Kα
Cu Kβ
Br Kα
Br Kβ
Sr Kα
Sr Kβ

## Slide 14
Calibration Line SDD 52
Ti Kα
Fe Kα
Cu Kα
Br Kα
Sr Kα

## Slide 15
Residuals SDD 52 – systematics at 7 keV (Kd) within 2 eV
Br Kα
Sr Kα
Cu Kα
Fe Kα
Ti Kα

## Slide 16
Spectrum SDD 53
Ti Kα
Ti Kα
Ti Kβ
Ti Kβ
Fe Kα
Fe Kα
Fe Kβ
Fe Kβ
Cu Kα
Cu Kα
Cu Kβ
Cu Kβ
Br Kα
Br Kα
Br Kβ
Br Kβ
Sr Kα
Sr Kα
Sr Kβ
Sr Kβ

## Slide 17
Calibration Line SDD 53
Ti Kα
Fe Kα
Cu Kα
Br Kα
Sr Kα

## Slide 18
Ti Kα
Fe Kα
Cu Kα
Br Kα
Sr Kα
Residuals SDD 53
We plan to write a technical article – JINST or NIM

## Slide 19
Work done:
SDD calibration optimization
Luminosity measurement: SIDDHARTA-2 luminometer and kaon trigger
Procedure for comparison between SIDDHARTA and SIDDHARTA-2 refinement

## Slide 20
DA NE luminosity monitor
SIDDHARTA-2
luminosity monitor

## Slide 21: Luminometer of SIDDHARTA-2
scintillator: 80x40x2 mm3 Scionix EJ-200 (BC408)
R4998 PMTs (at an angle of 38deg with respect to scintillator axis)
lightguides
aluminum tube + μMetal (0.1mm)
reflective and light proof foil
optical cement
/prepared by Andrzej Heczko/

## Slide 22
● 2 pairs of scintillators: 80x40x2 mm3
Scionix EJ-200
● R4998 PMTs Hamamatsu
● light-guides
● aluminum tube + μMetal (0.1mm)
● reflective and light proof foil
● optical cement
SIDDHARTA-2 Interaction regions
RF/4 structures
SIDDHARTA-2 Luminosity monitor

## Slide 24
Luminosity estimation
MIPS
Kaons
After cut
Projection on diagonal
[channel/100ps]
[channel/100ps]
Kaons

## Slide 25
11/02/2020
1 hour slots

## Slide 26
Measurement
10.02 18:22 - 12.02 9:19
𝛆=5.79+-0.04%
1032 cm-2 s-2=> 𝛔𝛗->e+e-=3.34 𝛍b
334𝛗/s => 167K/s
PRELIMINARY

## Slide 27
Kaon Monitor
Luminometer
L =7.2cm
𝛆=5.79+-0.04%
L =11.0cm
𝛆=4.82+-0.03%
Kaons
MIPS
Kaons
MIPS

## Slide 28
Kaon Monitor
Luminometer
L =7.2cm
𝛆=5.79+-0.04%
L =11.0cm
𝛆=4.82+-0.03%
Projections on diagonal

## Slide 29
Comparison: Kaon Monitor and Luminometer
Good Agreement
PRELIMINARY
date [D/M/Y] | time [s] | N_K | L | L_err
16/02/2020: cycle 1 1384 3696 3.3 0.12
16/02/2020: cycle 2 1404 3634 3.2 0.12
16/02/2020: cycle 3 1317 3324 3.1 0.08
//Luminometer
16/02/2020: cycle 1 1385 4039 3.1 0.07
16/02/2020: cycle 2 1405 3753 2.8 0.07
16/02/2020: cycle 3 1317 3868 3.1 0.08
L [10^31 cm^-2 s^-1]
Plan: paper on cross section phi

## Slide 30
DAFNE
Luminometer
Kaon Monitor
DAFNE: geometric luminosity

## Slide 31
Luminometer
Kaon Monitor
Rate: L_DAFNE/L_SIDDHARTA

## Slide 32
Work done:
SDD calibration optimization
Luminosity measurement: SIDDHARTA-2 luminometer and kaon trigger
Procedure for comparison between SIDDHARTA and SIDDHARTA-2 refinement

## Slide 34
Run with SIDDHARTINO for: optimization of run conditions (backg) verified with the
measurement of K-4He (8 SDD arrays)
3rd April 2020 -> autumn/october 2020 (meet. 16/04/2020 for planning)
(S/B on K-4He better than 100/1)
Phase 1
SIDDHARTINO
SIDDHARTA-2 strategy and requests

## Slide 35
Plan – Phase1:
Work with SIDDHARTINO inside DAFNE during months: June – September – optimization veto, trigger, DAQ, calib….
Refine optimization of luminosity detector and cross check with DAFNE luminometer
Background reduction and optimization together with DAFNE for kaonic atoms measurements
Kaonic Helium measurement with SIDDHARTINO -> background w.r.t. SIDDHARTA and SIDDHARTA-2 for Kd goal
depending on DAFNE’s plans (autumn 2020?)
4) HPGe test run in parallel with SIDDHARTINO

## Slide 36
SIDDHARTINO expected spectrum for ~ 50 pb-1
(one week of data taking in
SIDDHARTA-like conditions)
Energy [keV]
counts
K-4He La
3d -> 2p
4d -> 2p
5d -> 2p
6d -> 2p
SIDDHARTINO – K-4He test measurement
S/B was 10/1 for the K-4He
measurement with ~ 30 pb-1
SIDDHARTA
measurement
About 1000 events in La peak, S/B > 100/1
(ideally should be 300/1)
Position precision :
6.452 +- 0.002 (stat) keV

## Slide 37: HPGe: kaonic lead for kaon mass

## Slide 38: HPGe detector on d=110mm from the Pb target (closest position), 100 pb^-1
X-rays from Pb, in the peak at 291.6 keV there are approx 2.316 X-rays (yield 20%).

## Slide 39
the SC issues the following recommendations:
• During the following two months (i.e. within 3rd April 2020) -> months from October to December 2020, first priority should be given to the completion of the DAFNE commissioning steps and to the subsequent delivery of high-quality collisions to SIDDHARTHINO, at the best possible S/B conditions, with the goal to complete the presented SIDDHARTINO programme.

## Slide 40
Following this plan, the BTF-2 setup and SIDDHARTA-2 operations will happen in late summer/fall-> 2021. A closer look at the progress and this longer-term schedule will be made during the next regular SC meeting in May 2020.

## Slide 41
Phase 2
SIDDHARTA-2
    we will install all the SDDs (48 SDD arrays) in late summer/autumn (?) 2020 -> rescheduled 2021 and start the kaonic deuterium measurement for a run of 800 pb-1
Action plan for Kd measurement:
First run with SIDDHARTA-2 setup as planned
(about 300 pb-1 integrated)
Second run with optimized shielding, readout electronics and other necessary optimizations; (for other 500 pb-1 integrated)
Test runs for other kaonic atoms measurements (HPGE…)
SIDDHARTA-2 strategy and requests

## Slide 42
Phase-2: SIDDHARTA-2 K-d measurement
achievable precision
Kaonic deuterium run in (all) 2021
for S/B as 1/3:
for an integrated luminosity
of 800 pb-1
to perform the first measurement of the strong interaction induced energy shift and width of the kaonic deuterium ground state
(similar precision as K-p) !
Includes:
veto-2 second layer
Optimizations SDD, veto1
Shielding, trigger….
Notes: This window of opportunity should be realized.

## Slide 43
SIDDHARTA-2 kaonic deuterium at DAFNE
shift [eV]
width [eV]

## Slide 44
A very useful instrument to study the chiral and SU(3) symmetries breaking mechanisms is the measurement of X-ray transitions in kaonic hydrogen and kaonic deuterium. These measurements allow to extract the antikaon-nucleon scattering lengths, which are relevant for the calculation of the kaon-nucleon sigma terms,related to the chiral and SU(3) symmetries breaking part of the Hamiltonian…. This will fuel theoretical activities aimed to extract the kaon-nucleon sigma terms and unveil the mechanism at work in the chiral and SU(3) symmetry breaking, on which the mass of (most part) of our visible Universe depends.
Kaonic Atoms to Investigate Global Symmetry Breaking, Symmetry 12(4) (2020) 547

## Slide 45
Many thanks to the DAFNE team
and LNF Management
and to INFN gr 3!