## Slide 1
brief summary of 2020 analysis
2020 analysis summary
  Performance
    All subdetectors have been improved
    SC + Tof Wall (data CNAO+GSI)
  Physics measurements
    CNAO: XSection of 12C fragmentation
    GSI Data: Emulsion chamber
    GSI + CNAO Data:
  Neutron analysis
    evaluate FOOT capability to reconstruct n
Paper published (IEEE Transaction on Radiation and Plasma Medical Science)
Paper circulates in collaboration
Paper circulates in collaboration
Xsection analysis ongoing
Each subdetector is preparing a paper

## Slide 2
Count n° of particles
Initial Trigger
Time start
Discard SC fragmentation
Extrapolate vertex direction
Evaluate beam direction
.......
FOOT
….
. .
. . .
. . .
. .
….
. .
. .
Beam definition: SC + BM
Beam monitor
SC
BM
(BM)
hit efficiency ~ 0.93
Spatial resolution:
  150 ± 10 μm p@228 MeV/u
  300 ± 10 μm p@ 80 MeV/u
Angular resolution:
  1.6 mrad p@228 MeV/u
  2.1 mrad p @ 80 MeV/u
Intrinsic spatial resol
60 - 100 μm
NEW: 53 ps!!
GSI-2020

## Slide 3
VTX
GSI (2019) data taking:
  Track efficiency ~25%
BTF (july 2019)
  Firmware  eff.~ 100%
ITR
MSD
Trento 12/2019
  p energy: 10, 112, 159, 228 MeV
  Comparison OLD/NEW chips
Tracking system: VTX – ITR - MSD
new
Beam ꓕ MSD
Saturation when beam at 5° wrt MSD

## Slide 4
Tof Wall
Data taking at CNAO-GSI (march-april 2019) and CNAO (dec 2019)
Detector is complete
Resolution:
  Energy: 4-6 %
  Time SCN: 40-50 ps for 12C and 150-190 ps for p
  Tof (SC+TofW): 50-75 ps for 12C – 16O
  250 ps for p
  Position: 7 mm for 12C and 15 mm for p
CNAO + GSI
16O @ 400 MeV/u on C
Z resolution 2.5-6%
Energy
Tof
Paper circulates inside collaboration

## Slide 5
Calorimeter, 1
1
4
7
2
3
5
6
8
9
Tyvek
Tyvek
Tyvek
Mylar
White Paint
Test beam overview:
9 crystals
15 µm SiPM arrays
3 reflective wrappings: White Painting, Mylar and Tyvek
Proton Energy: 70, 120, 170, 227 MeV
Carbon Energy: 115, 190, 260, 330, 399 MeV/A
Temperature part:
  For each energy 4 different temperature
Tyvek reflects more light
Better Energy Resolution

## Slide 6
Calorimeter, 2
Signal depends on temperature (max fluctuation ~ 10%)
temperature sensor?
12C @ 330 MeV/A
1
4
7
2
3
5
6
8
9
Tyvek
Tyvek
Tyvek
Mylar
White Paint
Ebeam [MeV]
Sum of 4 histograms after T correction
goal
Slightly worsening resolution, but better than 2% after T correction
Peaks at ≠ T
Crystals: all set
Mechanics: full design
SiPMs: in production
DAQ: integration to global to be started

## Slide 7
Physics measurements 2020
Data taking @CNAO
Data taking @GSI (2019-20)
Data taking @CNAO & GSI (2019)
Experimental Setup (partial)
Emulsion setup:
  April 2019
  February 2020
First Cross Section measurement published by FOOT
Paper circulates in collaboration
Xsect: analysis ongoing
Analysis ongoing

## Slide 8
Differential Cross Section measurements
Detector: scintillators + crystal
p production
d on C, O, H
p on C, O, H
T on C, O, H
Published:
  60° and 90°
Ongoing
  32° and 50°

## Slide 9
Emulsion setup: Tracks and vertices
1 mm
1 mm
Pb layer
C or C2H4
300 μm
Emulsion layer
Section 1
vertexing
Section 2
Charge Id
Section 3
momentum
Emulsion layer
10 cm
Track reconstruction done separately for each section
Merge tracks in two sections: 13026 tracks crossing > 30 layers
BDT multivariate analysis to select good vertexing out of bkg
  MC: 72% of true vertices selected
  DATA: ~ 40% of expected vertices reconstructed
Vertex search to be improved
S1
S2
GSI 2019
MC signal
MC bkg
DATA
Paper circulates inside collaboration

## Slide 10
Emulsion setup: charge measurement
VR1
VR0
Sharp cuts
Principal Components Analysis
Charge assigned to 99.4% of reconstructed tracks
Charge assigned to 91.4% of tracks attached to a vertex
Z | % on total charged reconstructed tracks |  |  | 
 | Result | Systematic err | Gauss Par err | Statistic err
1 | 67.9% | 5.3% | / | 0.5%
2 | 19.8% | 1.2% | 0.02% | 0.4%
3 | 7.0% | 0.6% | 0.03% | 0.2%
≥4 | 5.3% | 0.3% | 0.01% | 0.2%

## Slide 11
Cross section with CNAO-GSI data (2019): electronic setup
Z_MC
Z_rec
Fragments Z identification in SHOE available
Good ZID performances (wrong Z charge assigment < 4.8%)
MC: 16O – 200 MeV/u
MC
DATA
DATA

## Slide 12
Neutron @ FOOT
Investigate the possibility to use SCN & CALO to detect neutrons
En from simulation
No threshold
Th. 5 MeV
Th. 10 MeV
Th. 50 MeV
Kinetic Energy, GeV
Reliable Calorimeter Threshold ~ 20 MeV
ε ~ 25% accettable
γ Bkg contribution negligible
Preliminary studies on 16O+C2H4 @200 MeV/u (MC data)
Neutron detection and energy measurement with TOF method
En from simulation
En from TOF DL 6.7 cm
DL6.7 cm, Dt=100 ps
DL6.7 cm, Dt=1 ns
DL6.7 cm, Dt=2 ns
DL6.7 cm, Dt=4 ns
Kinetic Energy, GeV
Calorimeter Time resolution better 1 ns

## Slide 13
Backup slides

## Slide 14
Detector performance requests
We have to remember:
  tof: 70 ps or better
  p: 4% or better
  Ekin: 1.5% or better
  ΔE: 4% or better
Beam Energy: 200 MeV/u
Beam Energy: 700 MeV/u
Analysis without calorimeter:
  Tof, p, ΔE: more precise
Beam
Emulsion Chamber
Beam monitor
Start counter
Reconstruction of:
  vertex
  p with range
  p with multiple scattering
  Z id: (thermal treatment)
  Ekin: range measurement
.......
FOOT
….
. .
. . .
. . .
. .
….
. .
. .