## Slide 1: EUCARD Emittance discussion
EUCARD – ANAC WP11.4 : Instrumentation for novel accelerator
First Collaboration Meeting
Frascati 8-9 March 2010

## Slide 2: Plasma photoinjector Electron beam parameters
Transverse dimensions =1-2 mm
Divergences =2-3 mrad
Bunch duration =1.5 fsec
Bunch charge =10-100 pC
Energy =50-200 MeV
Energy spread > 1%

## Slide 4
victor.malka@ensta.fr
http://loa.ensta.fr/
UMR 7639
Palaiseau - FRANCE
Frontiers in Intense Laser-Matter Interactions Theory, Garching, Germany – March 1-3 (2010)
On the Control of e-Beam Parameters
with Laser Plasma Accelerators
Partially supported by CARE/FP6-Euroleap/FP6-Accel1/ANR-PARIS/ERC contracts
E. Lefebvre, X. Davoine
CEA/DAM Ile-de-France, France
V. Malka, J. Faure, C. Rechatin, O. Lundh, A. Ben Ismail, J. Lim,
Laboratoire d’Optique Appliquée, ENSTA-Ecole Polytechnique, CNRS, 91761 Palaiseau, France
A. Lifschitz
LPGP, CNRS- University of Orsay, France

## Slide 5
Controlling the injection
E. Esarey et al., PRL 79, 2682 (1997), G. Fubiani et al., PRE 70, 016402 (2004),
H. Kotaki et al., PoP 11 3296 (2004), J. Faure et al., Nature (2006)
Ponderomotive force of beatwave: Fp ~ 2a0a1/λ0 (a0 et a1 can be “weak”)
Boost electrons locally and injects them INJECTION IS LOCAL and IN FIRST BUCKET
A second laser beam is used to heat electrons
Wakefield
Pump beam
Injection
beam
Injection phase
Beatwave
Trapped electrons
Acceleration phase
Acceleration phase

## Slide 6
Experimental set up

## Slide 7
http://loa.ensta.fr/
UMR 7639
Very stable quasi-mono energetic electron beam
Nb: very few electrons at low energy
dE/E=5% limited by the spectrometer

## Slide 8
1% energy spread beams
C. Rechatin et al., PRL, 102, 164801 (2009)

## Slide 9
http://loa.ensta.fr/
UMR 7639
High resolution electron spectrometer
In collaboration with A. Specka, H. Videau
LLR, CNRS, Ecole Polytechnique
LANEX screens
Permanent dipole
quadripoles
Gas jet
transport / focusing
dispersion / imaging
Resolution < 1 % expected
Frontiers in Intense Laser-Matter Interactions Theory, Garching, Germany – March 1-3 (2010)

## Slide 10: Low energy emittance measurements @SPARC

## Slide 11: Low energy emittance measurements @SPARC

## Slide 16
LIFE Temporary Spectrometer (2010)
Magnet
Beam line
detector
Mostly recycled material:
Magnet spare of SPARC
Scintillating fibers from NA62
electronic board borrowed from ISS
Will discuss these points, showing studies for the 2010 preliminary spectrometer for PlasmonX
 Dedicated detector under design

## Slide 17
Lanex vs Scintillating fibers
Pros
  Easy to deploy
  Extremely small position resolution
  Two dimensional
  Works in vacuum
Cons
  Difficult to read for large areas
  Frequent alignment needed
  Sensitive to radiation
  Linearity in charge for high energy particles?
LANEX
PMT
Fibers detector
Pros
  Insensitive to radiation
  Easy to integrate in a DAQ
  Flexible in shape
  Works in vacuum
  Calibration required only once
Cons
  Lot of electronic channels (expensive)
  Low space resolution

## Slide 18
64 channels Prototype

## Slide 19
Test Beam @ Frascati BTF
DHSTB02
DANFYSIK
UPSTREAM position monitor
DOWNSTREAM
Position monitor
(or prototype)

## Slide 20: Projected Emittance Measurement with QSCAN

## Slide 21
Measurement
flag
Evaluation
flag
PTLQUA01-03
vary as a doublet
(|IQUA02|= |IQUA03|)
or
Single quad meas.
Usually set at 0 A
Projected Emittance Measurement with QSCAN

## Slide 22: Quadrupole Scan Technique
Principle
with a well-centered beam, the beam size is measured as a function of the quadrupole field strength
Ldrift0
Ldrift1
Lq2q1
Lq3q2
Each raw corresponds
to a different current
M. Minty, F. Zimmermann
Measurement and Control of Charged Particle Beams

## Slide 23: Typical Beam Parameters
E = 170 MeV
sg = 0.1% (non compressed beam)
sg = 1% (compressed beam)
s ~ 102 mm
s’ ~ 10 mrad

## Slide 24: Limitations
The machine optics changes
Well-centered beam ( alignment of quads)
Overlapping of quadrupole fields
Chromatic effects

## Slide 25: Analysis of Chromatic Effects
In quadrupole scan measurements a monochromatic electron beam,
is assumed to evaluate the projected emittance. However, for a real beam, particles have an energy spread, sg, different from zero.
Being ε0, x0, x′0, the emittance, the position and the divergence just before
the first quadrupole, the geometrical emittance after the quadrupole is
sx is the transverse dimension at the entrance at quadrupole.
from single quad

## Slide 26: Comparison with Measurements
The measured emittance values for the two quadrupoles configuration are systematically higher than those measured in single quadrupole one.
They show the same asymmetry highlighted by simulations, i.e. the emittance results higher in the plane where the first quadrupole is defocusing.
This means that also for uncompressed beams second order effects might affect the measurement.

## Slide 27: Is it possible to cancel echr?
In the two quadrupole emittance measurement, a possibility is to choose the quadrupole setting to cancel the contribution to the emittance increase. In particular assuming that the σx4 term is dominant, one can choose K1=k1l1 and K2=k2l2 such that
Condition for achromatic doublet.

## Slide 28
Second order effects can affect the quad-scan emittance measurement at SPARC especially in case of large energy spread and and large spot size
Is it possible to realize experimentally an achromatic doublet for emittance measurement?
Could the large spot size and divergence affect the two quad measurement (when the first quad is defocusing) giving a non-linear transport?

## Slide 29: Conclusions
We need new emittance measurement set up for plasma generated beam
Possible solution is the use of quads to change the starting condition and measure with multiscreen or pepper pot technique
Or Multislits with long propagation drift